## Version Control
Document name | Electrical Infrastructure Innovation Roadmap
Document Number | PN000201-ANA-001
Issue Number | 1
Issue No: | Date Issued: | Author | Approver | Revision History
1 | 2018-02-28 | K. Stefaniak | J. Flowers | First Issued
Disclaimer Notice
Whilst the information contained in this report has been prepared and collated in good faith. The Offshore Wind Innovation Hub makes no representation or warranty (express or implied) as to the accuracy or completeness of the information contained herein nor shall we be liable for any loss or damage resultant from reliance on same.

## Electrical Infrastructure
Decsription | Type of Entry | Current TRL | Target TRL | Enabler | Beneficiary | Strategic Outcome | Notes | Website | Forecast Start | Forecast Finish | Potential to Reduce LCoE | UK Benefit | Case for Intervention | Potential to Reduce LCoE (comments) | UK Benefit (comments) | Case for Intervention (comments)
Electrical Infrastructure
Component Reliability Improvement
Cables
Representative Accelerated Testing | Strategic Element | TRL 4 - Basic technological components are integrated: Basic technological components are integrated to establish that the pieces will work together. | TRL 9 - Actual application of technology is in its final form: Technology proven through successful operations. | Catapult | Owner Operators | >10MW turbine platforms commercialised | Develop more representative cable testing methodology; Better representation of actual loading conditions with simultaneous electrical and mechanical stress |  | 2018-11-08 08:00 | 2023-01-01 20:00 | H | L | H
Improved Cables Standards | Strategic Element | TRL 7 - Prototype near or at planned operational system: Represents a major step up from TRL 6, requiring demonstration of an actual system prototype in an operational environment. | TRL 9 - Actual application of technology is in its final form: Technology proven through successful operations. | Industry | Owner Operators | >10MW turbine platforms commercialised | Improved Cables Standard for offshore wind cable; Currently using oil and gas standard but requirements differ |  | 2018-08-05 08:00 | 2033-01-01 20:00 | H | L | H
Understanding Loading & Failure | Strategic Element | TRL 5 - Fidelity of breadboard technology improves significantly: The basic technological components are integrated with reasonably realistic supporting elements so it can be tested in a simulated environment. Examples include “high fidelity” laboratory i | TRL 7 - Prototype near or at planned operational system: Represents a major step up from TRL 6, requiring demonstration of an actual system prototype in an operational environment. | Catapult | Owner Operators | >10MW turbine platforms commercialised | Better understanding of loading conditions and failure modes. Initially focussing on dynamic array cables - Current innovation challenge is to identify the loading conditions and failure mode |  | 2018-11-08 08:00 | 2020-01-01 20:00 | H | L | M
Modelling, Optimisation and Design of Conversion for Offshore Renewable Energy (UK-China MOD-CORE) | Ongoing R&D Project | TRL 1 - Scientific research begins translation to applied R&D: Lowest level of technology readiness. Scientific research begins to be translated into applied research and development. Examples might include paper studies of a technology’s basic properties | TRL 1 - Scientific research begins translation to applied R&D: Lowest level of technology readiness. Scientific research begins to be translated into applied research and development. Examples might include paper studies of a technology’s basic properties | Academia | Other Suppliers | Disruptive innovation enabled | This project aims to carry out fundamental modelling and validating work that will lead to the capability of virtual prototyping. Such a capability will significantly accelerate and de-risk the development work in industry. Complementary expertise in the two countries are combined to address the requirements of overall system performance from ORE devices to grid, and focuses on the critical technical aspects that will dictate the design decisions. This will be achieved through multiple scale (dimensional and time-wise) and multiple resolution modelling, taking into account the specifications and utilisation of materials and components in the designed systems subject to optimal control. The modelling will cover the manufacturability of the designs and will consider environmental constraints including impact on sea life in different locations. Note: TRLs for this project have not been updated. | http://gtr.rcuk.ac.uk/projects?ref=EP/R007756/1 | 2018-11-08 08:00 | 2020-01-01 20:00 | n/a | n/a | n/a
Components
Health Monitoring Development | Strategic Element | TRL 4 - Basic technological components are integrated: Basic technological components are integrated to establish that the pieces will work together. | TRL 6 - Model/prototype is tested in relevant environment: Representative model or prototype system, which is well beyond that of TRL 5, is tested in a relevant environment. Represents a major step up in a technology’s demonstrated readiness. Examples inc | RTO | Owner Operators | Disruptive innovation enabled | Integration of Electrical Infrastructure component condition based health monitoring (CBHM) into a single intelligent platform. Development |  | 2018-11-08 08:00 | 2023-01-01 20:00 | M | H | M
Health Monitoring Demonstration | Strategic Element | TRL 5 - Fidelity of breadboard technology improves significantly: The basic technological components are integrated with reasonably realistic supporting elements so it can be tested in a simulated environment. Examples include “high fidelity” laboratory i | TRL 7 - Prototype near or at planned operational system: Represents a major step up from TRL 6, requiring demonstration of an actual system prototype in an operational environment. | Industry | Owner Operators | Maximise operational performance from existing wind turbines | Integration of Electrical Infrastructure CBHM into a single intelligent platform. Product Demonstration and improved Standard for condition based health monitoring of components |  | 2018-11-02 08:00 | 2025-01-31 20:00 | M | H | M
Subsea Connectors | Strategic Element | TRL 5 - Fidelity of breadboard technology improves significantly: The basic technological components are integrated with reasonably realistic supporting elements so it can be tested in a simulated environment. Examples include “high fidelity” laboratory i | TRL 9 - Actual application of technology is in its final form: Technology proven through successful operations. | Industry | OEMs | Disruptive innovation enabled | Subsea connectors for MVDC Cable Connection; Design, develop, and demonstration of solutions for MVDC Cables |  | 2018-11-19 08:00 | 2028-01-01 20:00 | L | M | L
Offshore Substation Optimisation
Optimised Designs
HVAC Standardisation | Strategic Element | TRL 7 - Prototype near or at planned operational system: Represents a major step up from TRL 6, requiring demonstration of an actual system prototype in an operational environment. | TRL 9 - Actual application of technology is in its final form: Technology proven through successful operations. | Industry | Owner Operators | >10MW turbine platforms commercialised | Standardised AC Offshore Substation Designs; Lessons learned from UK and European projects and evolution from ad-hoc designs to modular repetitive solutions. |  | 2018-11-08 08:00 | 2023-02-28 20:00 | H | L | M
HVDC Convertor Platform optimisation | Strategic Element | TRL 6 - Model/prototype is tested in relevant environment: Representative model or prototype system, which is well beyond that of TRL 5, is tested in a relevant environment. Represents a major step up in a technology’s demonstrated readiness. Examples inc | TRL 8 - Technology is proven to work: Actual technology completed and qualified through test and demonstration. | Industry | OEMs | Maximise operational performance from existing wind turbines | HVDC Convertor Platform and overall System Optimisation; lessons learned from other markets into UK future projects |  | 2018-11-08 08:00 | 2023-01-01 20:00 | H | L | M
DC Arrays
MVDC Protection | Strategic Element | TRL 6 - Model/prototype is tested in relevant environment: Representative model or prototype system, which is well beyond that of TRL 5, is tested in a relevant environment. Represents a major step up in a technology’s demonstrated readiness. Examples inc | TRL 9 - Actual application of technology is in its final form: Technology proven through successful operations. | Industry | OEMs | Disruptive innovation enabled | Offshore DC Array Architecture - Protection methods, breakers. Develop designs |  | 2018-11-08 08:00 | 2023-01-28 20:00 | M | M | M
MVDC Interface | Strategic Element | TRL 3 - Active R&D is initiated: Active research and development is initiated. This includes analytical studies and laboratory studies to physically validate analytical predictions of separate elements of the technology. Examples include components that a | TRL 5 - Fidelity of breadboard technology improves significantly: The basic technological components are integrated with reasonably realistic supporting elements so it can be tested in a simulated environment. Examples include “high fidelity” laboratory i | Academia | OEMs | Disruptive innovation enabled | MVDC Interarray Grid (Up to equivalent of 66kV AC grid). Challenge: develop convertor and switchgear within WTG. Goal: to eliminate the AC/DC platform and significantly reduce costs for medium distance wind farms. |  | 2018-11-08 08:00 | 2023-01-29 20:00 | H | L | M
HVDC Interface | Strategic Element | TRL 3 - Active R&D is initiated: Active research and development is initiated. This includes analytical studies and laboratory studies to physically validate analytical predictions of separate elements of the technology. Examples include components that a | TRL 5 - Fidelity of breadboard technology improves significantly: The basic technological components are integrated with reasonably realistic supporting elements so it can be tested in a simulated environment. Examples include “high fidelity” laboratory i | Academia | OEMs | Disruptive innovation enabled | HVDC Interarray Grid (above equivalent of a 66kV AC grid). Challenge: develop convertor and switchgear within WTG. Goal: to eliminate the AC/DC platform for far from shore offshore wind farms to reduce costs and improve reliabilities |  | 2018-11-08 08:00 | 2033-01-01 20:00 | H | L | M
Future Internal Array Systems
Maturing of 66kV market
66kV Components for cost effective 66 kV array solutions | Strategic Element | TRL 6 - Model/prototype is tested in relevant environment: Representative model or prototype system, which is well beyond that of TRL 5, is tested in a relevant environment. Represents a major step up in a technology’s demonstrated readiness. Examples inc | TRL 9 - Actual application of technology is in its final form: Technology proven through successful operations. | Industry | Owner Operators | Disruptive innovation enabled | 66kV Components for cost effective 66 kV array solutions. Including cable, circuit breaker, space saving switchgear (ex 15), and cast resin 66/72 offshore transformer (ex 26) |  | 2018-11-08 08:00 | 2023-01-28 20:00 | M | L | M
Dynamic 66kVAC Cables | Strategic Element | TRL 6 - Model/prototype is tested in relevant environment: Representative model or prototype system, which is well beyond that of TRL 5, is tested in a relevant environment. Represents a major step up in a technology’s demonstrated readiness. Examples inc | TRL 9 - Actual application of technology is in its final form: Technology proven through successful operations. | Industry | Owner Operators | Maximise operational performance from existing wind turbines | New solutions and market entrants to increase product quality and decrease overall costs |  | 2018-12-05 08:00 | 2023-01-28 20:00 | M | M | L
Next Generation Array Systems
Dynamic cables | Strategic Element | TRL 6 - Model/prototype is tested in relevant environment: Representative model or prototype system, which is well beyond that of TRL 5, is tested in a relevant environment. Represents a major step up in a technology’s demonstrated readiness. Examples inc | TRL 9 - Actual application of technology is in its final form: Technology proven through successful operations. | Industry | OEMs | Maximise operational performance from existing wind turbines | Demonstration of dynamic cable technologies for floating wind grid connection as well as wave and tidal grid connection |  | 2018-09-01 08:00 | 2033-01-01 20:00 | M | L | H
66kV+ Cables & Components | Strategic Element | TRL 5 - Fidelity of breadboard technology improves significantly: The basic technological components are integrated with reasonably realistic supporting elements so it can be tested in a simulated environment. Examples include “high fidelity” laboratory i | TRL 7 - Prototype near or at planned operational system: Represents a major step up from TRL 6, requiring demonstration of an actual system prototype in an operational environment. | RTO | OEMs | Maximise operational performance from existing wind turbines | Distribution voltages beyond 66kV Including cable, circuit breaker and switchgear - Demonstration for floating wind (and tidal) and distribution voltages beyond 66kV. This is geared towards the potential future needs for very large far offshore floating wind farms to reduce costs and increase efficiencies |  | 2018-09-01 08:00 | 2023-01-30 20:00 | M | L | H
Flexible Offshore Wind Solutions
New revenue streams and MWh optimisation
Hybrid synchronous compensator | Strategic Element | TRL 6 - Model/prototype is tested in relevant environment: Representative model or prototype system, which is well beyond that of TRL 5, is tested in a relevant environment. Represents a major step up in a technology’s demonstrated readiness. Examples inc | TRL 9 - Actual application of technology is in its final form: Technology proven through successful operations. | Industry | OEMs | Maximise operational performance from existing wind turbines | Demonstration of onshore storage for Offshore Wind Farms. Including demonstration/elimination of onshore STATCOM |  | 2018-11-08 08:00 | 2021-01-31 20:00 | M | M | M
Windfarm co-located energy storage systems | Strategic Element | TRL 5 - Fidelity of breadboard technology improves significantly: The basic technological components are integrated with reasonably realistic supporting elements so it can be tested in a simulated environment. Examples include “high fidelity” laboratory i | TRL 7 - Prototype near or at planned operational system: Represents a major step up from TRL 6, requiring demonstration of an actual system prototype in an operational environment. | SME | OEMs | Maximise operational performance from existing wind turbines | Demonstration of onshore storage for Offshore Wind Farms. Including demonstration/elimination of onshore STATCOM |  | 2018-11-08 08:00 | 2021-01-31 20:00 | H | M | M
Smart Energy Systems | Strategic Element | TRL 6 - Model/prototype is tested in relevant environment: Representative model or prototype system, which is well beyond that of TRL 5, is tested in a relevant environment. Represents a major step up in a technology’s demonstrated readiness. Examples inc | TRL 8 - Technology is proven to work: Actual technology completed and qualified through test and demonstration. | RTO | Owner Operators | Maximise operational performance from existing wind turbines | Cyber Security and Network Automation Solutions for offshore wind. Develop standards, demonstration, etc. - Pre-cursor to smart systems. New business models and commercial arrangements. |  | 2018-11-08 08:00 | 2025-01-31 20:00 | M | M | M
Turbine level storage | Strategic Element | TRL 4 - Basic technological components are integrated: Basic technological components are integrated to establish that the pieces will work together. | TRL 6 - Model/prototype is tested in relevant environment: Representative model or prototype system, which is well beyond that of TRL 5, is tested in a relevant environment. Represents a major step up in a technology’s demonstrated readiness. Examples inc | RTO | OEMs | Maximise operational performance from existing wind turbines | Storage to max life of WTG Components and energy produced. Produce simulation modelling. Solutions applicable into W&T markets |  | 2018-10-01 08:00 | 2023-01-01 20:00 | H | M | L
Alternatives Grid Solutions
Other Alternatives to Grid
Low frequency AC transmssion | Strategic Element | TRL 5 - Fidelity of breadboard technology improves significantly: The basic technological components are integrated with reasonably realistic supporting elements so it can be tested in a simulated environment. Examples include “high fidelity” laboratory i | TRL 7 - Prototype near or at planned operational system: Represents a major step up from TRL 6, requiring demonstration of an actual system prototype in an operational environment. | RTO | Owner Operators | Disruptive innovation enabled | The use of low frequency AC for transmitting offshore wind power from long distances. This includes AC equipment dimensioning, and wind turbine operation in low frequency grids. |  | 2018-01-31 08:00 | 2022-01-31 20:00 | H | M | M | Some reports (112843-UKBR-R-01-F). points out there could be a potential significant cost reduction if low frequency AC is used |  | The outcome of the new offshore HVDC projects currently under development may have a significant impact on the pursue of LFAC transmission
Enabling technologies for HV DC Grids
Offshore DC Circuit Breaker and Protection | Strategic Element | TRL 7 - Prototype near or at planned operational system: Represents a major step up from TRL 6, requiring demonstration of an actual system prototype in an operational environment. | TRL 9 - Actual application of technology is in its final form: Technology proven through successful operations. | Industry | Owner Operators | Disruptive innovation enabled | Offshore HVDC Circuit Breaker and Protection. Protection methods for large HVDC cross wind farm connections. Multi terminal HVDC Grid solutions |  | 2018-11-08 08:00 | 2023-01-31 20:00 | M | M | M
DC-DC HV Transformer | Strategic Element | TRL 4 - Basic technological components are integrated: Basic technological components are integrated to establish that the pieces will work together. | TRL 6 - Model/prototype is tested in relevant environment: Representative model or prototype system, which is well beyond that of TRL 5, is tested in a relevant environment. Represents a major step up in a technology’s demonstrated readiness. Examples inc | RTO | OEMs | Disruptive innovation enabled | Looking into DC [multi-terminal] Grids - Development and demonstration of MV DC:DC Convertor including [possibly] high frequency power transformer |  | 2018-11-08 08:00 | 2028-01-01 20:00 | M | L | M
DC-DC MV Transformer | Strategic Element | TRL 4 - Basic technological components are integrated: Basic technological components are integrated to establish that the pieces will work together. | TRL 6 - Model/prototype is tested in relevant environment: Representative model or prototype system, which is well beyond that of TRL 5, is tested in a relevant environment. Represents a major step up in a technology’s demonstrated readiness. Examples inc | RTO | OEMs | Disruptive innovation enabled | Looking into DC array components - Development and demonstration of MV DC:DC Convertor including [possibly] high frequency power transformer |  | 2018-11-08 08:00 | 2023-01-01 20:00 | M | L | M
500kVdc+ Cable Testing | Strategic Element | TRL 3 - Active R&D is initiated: Active research and development is initiated. This includes analytical studies and laboratory studies to physically validate analytical predictions of separate elements of the technology. Examples include components that a | TRL 5 - Fidelity of breadboard technology improves significantly: The basic technological components are integrated with reasonably realistic supporting elements so it can be tested in a simulated environment. Examples include “high fidelity” laboratory i | Academia | Owner Operators | Disruptive innovation enabled | Beyond 500kV+ HVDC Cable Test Methodology. Currently no representative testing method (currently use Overhead cabling method) |  | 2018-11-08 08:00 | 2033-01-01 20:00 | M | L | M