## Version Control
Document name | Substructures Innovation Roadmap
Document Number | PN000201-ANA-003
Issue Number | 2
Issue No: | Date Issued: | Author | Approver | Revision History
1 | 2018-02-28 | K. Stefaniak | J. Flowers | First Issued
2 | 2018-10-25 | K. Stefaniak | A. Stormonth-Darling | Second Issued
Disclaimer Notice
Whilst the information contained in this report has been prepared and collated in good faith. The Offshore Wind Innovation Hub makes no representation or warranty (express or implied) as to the accuracy or completeness of the information contained herein nor shall we be liable for any loss or damage resultant from reliance on same.

## Substructures
Description | Type of Entry | Start TRL | Target TRL | Enabler | Beneficiary | Strategic Outcome | Notes | Website | Forecast Start | Forecast Finish | Potential to Reduce LCoE | UK Benefit | Case for Intervention | Potential to Reduce LCoE (comments) | UK Benefit (comments) | Case for Intervention (comments)
Substructures
Enabling Research
Digital
Machine learning / deep learning from big data | Innovation Area | TRL 3 | TRL 9 | Academia | Owner Operators | Disruptive innovation enabled | Machine learning and drawing benefit from disparate data sources promises both benefits to optimisation of control and operation strategies towards optimal O&M intervention in addition to better understanding of design and modelling assumptions which should lead to improved design of future structures and machines. Issues to be addressed include the integration of numerical models with sensor data to interpolate within individual machines and across arrays, sensor reliability and algorithm and parameter characterisation. A challenge will always be the confidence in which results can be relied upon and so verification and validation cases/methods will be critical. |  | 2018-06-28 08:00 | 2025-06-21 20:00 | M | H | H |  | Potentially an area where the UK can be a real leader
Internet of things | Innovation Area | TRL 3 | TRL 9 | Industry/SMEs | Owner Operators | Disruptive innovation enabled | Internet of Things involves components and assets communicating between each other and is an evolution of condition and structural health monitoring technologies. This should include the transducers along with signal conditioning and low -level data processing/reduction. Major issues are the reliability of sensors and calibration of sensor systems. It will need coordination between Research Technical Organisations, Academia and Industry. |  | 2018-06-28 08:00 | 2030-06-21 20:00 | M | M | H | This will involve system integration of SCADA and SHM systems | Unlikely to involve protected IP, more likely to result in communications protocols and standards/best practice.
Artificial Intelligence | Innovation Area | TRL 1 | TRL 6 | Academia | Owner Operators | Disruptive innovation enabled | Artificial Intelligence can have multiple applications in all stages of windfarm lifecycle. Taking O&M as an example – AI application involves a supervisory system that utilises conventional design and operation rules combined with Machine Learning/Deep learning from big data from the internet of things. AI could be a decision support system or a complete framework for collecting information and acting upon this without human intervention. Challenges are verification/validation of AI systems and quantitative assessment of confidence in AI performance. Other examples could include design optimisation, turbine control, Turbine Yaw Error and Control, Grid Balancing or Transmission Fault Diagnostics and Prognostics. |  | 2018-06-28 08:00 | 2035-06-30 20:00 | H | M | M
Data
Utilising Data | Innovation Area | TRL 3 | TRL 6 | Research Technical Organisations | Original Equipment Manufacturers | Maximise operational performance from existing wind farms | Data utilisation is an overarching term used to describe a wide range of concepts and techniques aimed at exploiting available information. In this context data utilisation is performed with the aim of data-driven decision making. In the offshore renewables industry, data utilisation techniques can include: post-event analysis, use of current operational data and forecasting of future trends. The level of data utilisation is varied across industry, providing the opportunity for innovation and collaboration between offshore wind stakeholders. |  | 2018-06-28 08:00 | 2030-06-28 20:00 | M | H | H | This depends on the engagement by OOs and the impact their use of data has. | UK has high expertise in this field and can actively engage in data and digital activities. | Although some OOs do actively engage in data utilisation activities, some will need external bodies to help kickstart a culture change within their organisation.
Classifying data, meta-data | Innovation Area | TRL 3 | TRL 7 | Research Technical Organisations | Owner Operators | Maximise operational performance from existing wind farms | Classifying data involves labelling and grouping datasets to provide context. In offshore renewables this could involve the creation of common taxonomies between turbine types or mapping alarms to specific turbine components. This metadata would allow for direct comparison of different technologies, could be used to optimise O&M processes and would provide a means of industry-wide benchmarking. This level of understanding would enable Owner Operators to have a better understanding of the performance of their assets and could be used to optimise operation and maintenance processes. |  | 2018-06-28 08:00 | 2025-06-26 20:00 | L | H | H | Wouldn’t significantly reduce LCoE but in long term it would allow Industry to optimise their operations. | The main driver for this is collaboration between Industry. This could be done in any country but is UK well positioned to do that with an independent moderator such as the Catapult. | An independent body will need to organise Industry to be able to collaborate in this way.
New Materials
Alternative composites | Innovation Area | TRL 2 | TRL 5 | Academia | Original Equipment Manufacturers | Disruptive innovation enabled | Alternative fibres or materials that are better in terms of costs, tensile strength, light weighting, easiness to manufacture, environmental emissions or improved environmental performance. Potential cost reduction from this element are material cost or damage resistance that would decrease maintenance cost. |  | 2018-06-28 08:00 | 2030-06-27 20:00 | M | H | M |  | Supply chain potential
Self-healing materials | Innovation Area | TRL 3 | TRL 5 | Academia | Original Equipment Manufacturers | Disruptive innovation enabled | Development of materials that can maintain their integrity and self-heal when deficiencies occur due to material degradation. Materials could be applicable to any asset that's exposed to weather or environmental conditions: blades, tower, substructures, c |  | 2018-06-28 08:00 | 2035-06-30 20:00 | H | H | M
Design
Product environmental design | Innovation Area | TRL 2 | TRL 4 | Academia | Original Equipment Manufacturers | Disruptive innovation enabled | Resource security is a growing issue for low-carbon infrastructures that depend on a combination of raw materials (rare earth metals, lithium, cobalt), copper and aluminium. All components and materials in a turbine should be designed for durability, recycling and disassembly, in particular composite materials used in blades. A balance must be found between cost, durability, extending the lifetime of components and the ability to recover materials at end-of-use. The unknown long-term ageing behaviour of composites in the offshore environment and the potential for using self-healing is a further challenge. This requires material and component design that enables disassembly, recycling and, following that, the use of recycled materials in low-carbon infrastructures. Design for maintaining the value of components and materials for longer offers opportunity to reduce costs and opens new business opportunities. There exist tools to enable lifetime CO2 cost, but their use in offshore wind has been limited so far. |  | 2018-06-28 08:00 | 2023-01-01 20:00 | L | H | H | Extending the lifetime of components can increase return on investment and material recycling should reduce decommissioning and resource recovery costs and/or open new business opportunities. | Academia excellence in material design and recycling technologies is high. | Under current market conditions of high material recycling costs and underdeveloped markets for secondary resources there is little incentive for Owner Operators to demand components and materials designed for recycling. Regulation and/or incentives are needed to spark demand from operators, and the R&D requires cooperation between OEMs and Academia.
Total system design | Innovation Area | TRL 5 | TRL 9 | Industry/SMEs | Owner Operators | Enabling >10MW turbine platforms commercialised | Offshore wind turbines (fixed or floating) are coupled systems, however to date these have often been designed as two independent systems (a foundation and a wind turbine). This has resulted in suboptimal designs of foundations. A more open relationship between foundation designers and wind turbine OEMs can improve foundation designs, ultimately lowering the LCOE of offshore wind. |  | 2018-06-28 08:00 | 2025-06-25 20:00 | H | H | H |  | Optimised structure in terms of steel, construction, installation, O&M and decommissioning.
Innovation in design concepts | Innovation Area | TRL 1 | TRL 4 | Academia | Owner Operators | Disruptive innovation enabled | Large arrays of far-from-coast wind farms (and also tidal and wave harvesters) might lead to different optimal design concepts than those adopted so far. |  | 2018-06-28 08:00 | 2033-06-30 20:00 | H | H | H |  | Totally new design concept could be developed and UK could export knowhow, R&D and potentially manufacture of new-concept turbines. | Due to the low TRL, this must be driven by academia, but the participation of Industry is critical to assure significance and relevance of the proposed concepts.
Design for marine life and aquaculture | Innovation Area | TRL 2 | TRL 5 | Academia | Owner Operators | Disruptive innovation enabled | Currently, the design process of a turbine, an array and associated infrastructure does not take into account the potential to enhance marine life (biodiversity), contribute to fisheries sustainability or aquaculture production. This process may have conservation value and may provide nursery areas for commercially relevant fish and shellfish, but there is a need to undertake research to assess the potential value of this process. In the longer term, this could contribute to the sustainability of local fishing opportunities. The use of offshore renewable sites for aquaculture has been explored in principle and through some limited trials, but there are likely to be significant logistical, biological and economic challenges to successful, commercial deployment. There is opposition to renewables developments that are perceived or in reality compromise fishing activity. Developing clear and demonstrable pathways to achieving these objectives could potentially help to streamline consenting and licencing processes and perhaps more importantly secure social license. There are potentially significant cost savings in this process. |  | 2020-06-30 08:00 | 2030-06-28 20:00 | L | M | M | This element wouldn’t drive LCOE down but could enable additional revenue generation. Successful design could boost fishing Industry confidence to go back to fishing grounds. | Links to sustaining a strong commercial fishing Industry
Foundations
Other types of fixed foundations
Barge based GBF Fabrication | Innovation Area | TRL 7 | TRL 9 | Industry/SMEs | Other Suppliers | Disruptive innovation enabled | Fabricating GBFs require dry docks with the right dimensions for the fabrication and sail out of the GBF. Currently, there are not many dry docks with the right facilities to fabricate GBF in the UK. Using Barge to fabricate GBFs will open up opportunities because they can be fabricated more versatilely and sailed out. |  | 2019-01-01 08:00 | 2021-12-30 20:00 | M | H | H |  | There are limited sites available for this type of foundation and if successful, will increase UK local content on projects
Novel fixed foundations | Innovation Area | TRL 3 | TRL 5 | Academia | Owner Operators | Disruptive innovation enabled | Current designs for fixed foundations focus on monopile or jacket design concepts. While these are expected to continue to dominate fixed foundations there is space for novel, cost saving designs to still be developed. |  | 2018-06-28 08:00 | 2025-11-30 20:00 | H | H | M
Increased welding automation | Innovation Area | TRL 6 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Enabling >10MW turbine platforms commercialised | Within the manufacturing supply chain, especially for the manufacture of jacket structures where there are complex joints, welding can be a key driver to cost/quality/time for manufacture. Through the increase of automated welding, cost can be reduced by increased speed of welding / reduction in quality concession and rework required due to inconsistencies. Such facilities have large associated CAPEX and therefore require sound business cases in order to influence the decision to invest. |  | 2018-06-28 08:00 | 2022-11-30 20:00 | M | H | M |  | UK fabricators are not currently able to fully utilise modern automated techniques due to lack of certainty around future pipeline. This is a significant driver in costs and productivity. The primary challenge is not with innovation but rather with creating the business case for capital investment in facilities and automation. | Manufacturing cost reductions are required if jackets are to become cost effective, increased automation is unlikely to make sense until nodes are standardised.
Gravity based foundations | Innovation Area | TRL 7 | TRL 9 | Industry/SMEs | Other Suppliers | Disruptive innovation enabled | Gravity Based Foundations constitute for ~10% of all substructures at the moment. In comparison to all other substructures they are made of steel and reinforced concrete. Optimisation work is needed as there has not been a complete design loop whereby operating data is used to improve design which means that a fully optimised design will potentially use less concrete and steel. Most designs start out on a conservative basis and are then improved when operational data becomes available and used to evaluate the design. GBS's can also be manufactured onshore before being launched to sea/slided on to a barge/vessel. Main challenges for GBS fabrication is the required land area, the method for deployment and the fabrication time needed. |  | 2018-06-30 08:00 | 2020-05-31 20:00 | H | M | H |  | Successful outcome will lead to more deployment and more UK content in projects
Industry-wide standardisation of nodes | Innovation Area | TRL 7 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Enabling >10MW turbine platforms commercialised | The standardisation of manufactured parts can reduce cost through a number of channels. By allowing the manufacturing supply chain to produce standard parts, they can optimise manufacturing and reduce cost / lead time of components. It also could reduce design time as 'off the shelf' components can be selected and utilised (no need for bespoke design and analysis each time for each component). The use of standardised nodes (joints) can enable significant cost saving to the production of jacket structures. |  | 2018-06-28 08:00 | 2022-11-30 20:00 | M | M | L | Reduce cost of manufacturing jackets | Medium low as not a huge number of jackets in use and manufacture in UK supply chain. However, could make UK more competitive for jacket supply. | Node standardisation is already something being investigated by various organisations (i.e. Cranfield university)
Real time weld inspection | Innovation Area | TRL 4 | TRL 7 | Research Technical Organisations | Original Equipment Manufacturers | Disruptive innovation enabled | Welds are the mostly prone to damage due to the various inclusions and chemical composition change of the process. Monitoring them remotely can help to improve on the life of the structure and have maintenance deployed only when needed thus saving time, money and also reducing risks of accidents. |  | 2018-06-28 08:00 | 2025-01-01 20:00 | M | M | L | more effective maintenance
Investigation of the novel challenges of an integrated offshore multi-purpose platform | Ongoing R&D project | TRL 1 | TRL 1 | Academia | Owner Operators | Disruptive innovation enabled | The main idea of a Multi-Purpose Platform (MPP), integrating (for example) renewable energy devices and aquaculture facilities, is to find the synergies to share manufacturing, installation, operation and maintenance, and decommissioning costs. MPP development poses cross-disciplinary challenges, since they simultaneously aim to achieve several potentially conflicting objectives: to be techno-economically feasible, environmentally considered, socially beneficial, and compatible with maritime legislations. The proposed solution is to investigate which are the specific challenges arising from the integration of these technologies, and with a multi-disciplinary approach to tackle them, making sure that all the dimensions (technological, economic, social, environmental, legal) are taken into account. Note: TRLs for this project have not been updated. | http://gtr.rcuk.ac.uk/projects?ref=EP/R007497/1 | 2018-06-28 08:00 | 2020-01-01 20:00 | n/a | n/a | n/a
FS Found | Ongoing R&D project | TRL 6 | TRL 7 | Catapult | Original Equipment Manufacturers | Disruptive innovation enabled | We expect this project to be linked to element "GBFs". ORE Catapult is working with Blyth Offshore Wind Demonstration Ltd and BAM Wind Energy JV on the project that will demonstrate and validate float-and-submerge gravity-based foundations (GBF) that have the potential to impact positively upon the development of deep-water offshore wind farms (>35 metres) and lower the cost of offshore wind energy. | https://ore.catapult.org.uk/projects/fs-found/ | 2018-06-30 08:00 | 2019-01-01 20:00 | n/a | n/a | n/a
Monopiles
Standardisation of monopile monitoring + SHM | Innovation Area | TRL 7 | TRL 9 | Industry/SMEs | Owner Operators | Maximise operational performance from existing wind farms | Standarisation of monopile monitoring and Structural Health Monitoring |  | 2018-06-28 08:00 | 2021-11-30 20:00 | H | H | M
Monopile lifetime assessment - establishing methodology | Innovation Area | TRL 4 | TRL 6 | Catapult | Other Suppliers | Maximise operational performance from existing wind farms | With ageing assets offshore, the evaluation of remaining life of the foundations is key. There are currently no standard methods for the assessment of remaining life of monopile foundations in the offshore wind industry. Such a method / assessment would enable a standardised and agreed approach for asset owners to make informed analysis as to the potential remaining operating life of their turbine (hence revenue forecast) and also enable the potential for life extension justification. A number of simple approaches are available which could give substantial value immediately if OEM (who perform the coupled design iterations) are involved form an early stage, some of these have been developed based on the lifetime extension of onshore WTGs. |  | 2018-06-28 08:00 | 2022-07-13 20:00 | H | M | H |  | Intellectual Property potential
Monopile lifetime assessment - establishing technology | Innovation Area | TRL 6 | TRL 9 | Industry/SMEs | Owner Operators | Maximise operational performance from existing wind farms | With ageing assets offshore, the evaluation of remaining life of the foundations is key. There are currently no standard methods for the assessment of remaining life of monopile foundations in the offshore wind industry. Such a method / assessment would enable a standardised and agreed approach for asset owners to make informed analysis as to the potential remaining operating life of their turbine (hence revenue forecast) and also enable the potential for life extension justification. A number of simple approaches are available which could give substantial value immediately if OEM (who perform the coupled design iterations) are involved form an early starge, some of these have been developed based on the lifetime extension of onshore WTGs. |  | 2022-07-22 08:00 | 2025-01-09 20:00 | H | M | M
Monopiles lower fabrication cost | Innovation Area | TRL 7 | TRL 9 | Industry/SMEs | Other Suppliers | Enabling >10MW turbine platforms commercialised | New and advanced manufacturing techniques - removing manual process, increasing production speed. It is expected that some processes could be automatized, especially that learning from other sectors has not been investigated in detail and applied. |  | 2018-06-28 08:00 | 2019-01-01 20:00 | M | M | M
XL monopiles | Innovation Area | TRL 7 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Enabling >10MW turbine platforms commercialised | Monopiles have been increasing in size (diameter and wall thickness) together with the growth of the offshore wind industry. Typically, the limiting factor of the size of MP's is the fabrication facilities available within the supply chain. By growing the diameter and / or wall thickness of MP further, larger loads (i.e. from larger turbines) or increased water depths can be achieved. |  | 2018-06-28 08:00 | 2022-11-30 20:00 | M | L | n/a | Cheaper than researching floating. | Potential for UK supply of XL Monopiles. However current facilities within the UK may not have the capability for XL MP. | Industry is going this direction
EBManPower - Cost effective fabrication of Nuclear Micro-Reactors | Ongoing R&D project | TRL 7 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Enabling >10MW turbine platforms commercialised | Offshore wind demand in the UK requires >1,000 structures (towers and foundations) or 1m tonnes of steel p.a. to be cost-effectively fabricated. The ability to fabricate these thick section structures cost-effectively is (in part) limited by the welding t | https://gtr.ukri.org/projects?ref=104220 | 2018-06-28 08:00 | 2021-08-31 20:00 | n/a | n/a | n/a
Transition Piece
Incorporating TP into foundations | Innovation Area | TRL 4 | TRL 9 | Industry/SMEs | Owner Operators | Enabling >10MW turbine platforms commercialised | Currently TP structures are designed as a separate component from the foundation (i.e. monopile) and are as such manufactured, transported and installed separately. The ability to integrate the transition piece into the foundation design could reduce costs from reducing the number of components to be manufactured, transported and installed offshore. However, one of the functions of the TP is to provide tolerance allowance for the orientation of the foundation in order to provide a level platform for the turbine. An integrated TP must take this into account as well as the installation loading (i.e. pile driving). |  | 2018-06-28 08:00 | 2025-01-01 20:00 | M | M | L | For jackets potential is Low because it is a different issue. This has been achieved at Beatrice (jackets) with tolerances been accommodated at the pin piles. Also, integrating the TP and Foundation would offset the location/method for interface tolerance control. The associated cost will offset to another part of the structure unless something disruptive in this field can be produced. |  | A disruptive concept for this whereby interface tolerances can be managed without offsetting to another part of the structure is required.
Floating Wind
Achieve cost equivalent of fixed
Achieve cost equivalent of fixed | Innovation Area | TRL 7 | TRL 9 | Industry/SMEs | Owner Operators | Disruptive innovation enabled | Currently floating wind is multiple times more expensive than bottom-fixed offshore wind. If floating offshore wind is to become a mainstream technology, it needs to experience a significant cost reduction that would make it cost comparable to bottom-fixed offshore wind. |  | 2018-06-28 08:00 | 2030-07-22 20:00 | H | H | M | With floating wind, we can explore more sites and wider variety will decrease overall costs. |  | Lobby is required, as currently there is no future for floating wind in the UK.
Port facilities for serial production | Innovation Area | TRL 7 | TRL 9 | Industry/SMEs | Owner Operators | Disruptive innovation enabled | One of the major advantages of floating wind turbines over bottom-fixed wind is the ability to assemble these onshore (substructure assembled at quay side, loaded out into water and wind turbine installed atop of it). However, very few ports currently exist that can accommodate construction of a large floating wind farm. An investment in port facilities to increase their soil bearing capacity, installation of large cranes, staging area development and other requirements will be required. |  | 2020-06-30 08:00 | 2030-07-22 20:00 | H | L | L |  | UK benefit can be high if manufacturing will happen in UK
Access and egress for O&M | Innovation Area | TRL 7 | TRL 9 | Industry/SMEs | Owner Operators | Disruptive innovation enabled | O&M access and egress for floating wind turbine will have to be performed in a floating-to-floating configuration. In the case of crew transfer vessel this can lead to large relative motions between the vessel and the floating wind turbine, putting maintenance personnel at risk. Similarly, in the case of service operations vessels these will require modifications to their positioning system to account for the motion of floating wind turbines |  | 2018-06-28 08:00 | 2025-11-30 20:00 | M | L | L
Dynamic Load Reduction and Station Keeping Mooring System for Floating Offshore Wind | Ongoing R&D project | TRL 1 | TRL 1 | Industry/SMEs | Owner Operators | Disruptive innovation enabled | The Intelligent Mooring System (IMS) will result in substantial reductions to LCOE for floating offshore wind generation. The IMS has a unique approach to mooring damping, pressure based active control with no mechanical moving parts. In addition to excellent load reduction performance, it can be tuned dynamically in operation in response to wind and wave conditions, as well as allowing multiple pre-configured responses to loading thresholds. The shape and steepness of the load–extension curve is variable in operation to adjust to the prevailing metocean conditions. This allows a much wider range of response characteristics than would otherwise be available. The controllable nature of the resistance and stroke length in reaction to platform feedback and requirements such as accurate position keeping, tidal range compensation or attitude efficiency for energy harvesting devices is a unique mooring capability and highly desirable for end users. It is an industry project led by Teqniqa Systems in collaboration with the University of Exeter and DNV-GL. Note: TRLs for this project have not been updated. | http://gtr.rcuk.ac.uk/projects?ref=103889 | 2018-06-28 08:00 | 2020-01-01 20:00 | n/a | n/a | n/a
Standardisation of concepts
Optimised/standardised power transmission (dynamic cables and connectors) | Innovation Area | TRL 7 | TRL 9 | Industry/SMEs | Owner Operators | Disruptive innovation enabled | The ability to perform major repairs of floating offshore wind turbines at port depends on the ability to couple/de-couple these electrically (dynamic cables) and mechanically (mooring lines) over their lifetime. Recently performed interviews with supply chain have highlighted an issue in the area. To date, each floating wind concept has used a bespoke dynamic cable and connecter design that makes it more expensive and risky. Optimised and then standardised set of dynamic cables and connectors will allow to lower the cost of energy and reduce risks. |  | 2018-06-28 08:00 | 2025-01-01 20:00 | M | M | M |  | UK has multiple companies specialising in dynamic cables, cable protection and accessories. | Currently bespoke design for each developer. Needs standardisation. Not a priority for the designers.
Consolidation in the number of designs | Innovation Area | TRL 7 | TRL 9 | Industry/SMEs | Owner Operators | Disruptive innovation enabled | Currently there are 30-40 floating wind concepts in development. Such a large number of concepts is a sign of a nascent industry, which does not instil confidence in the investors and makes it harder to bring floating wind to full commercialisation. Through time and natural selection the number of concepts will decrease, however an independent review of technologies needs to be performed to guarantee that the most promising designs are allowed to develop (as oppose to the development of only the most financially savvy). |  | 2020-06-30 08:00 | 2030-07-22 20:00 | H | M | L | Will mean that the industry is maturing, which will lead to increased investor confidence. | A lot of deep-water sites in the UK. | Consolidation of number of designs is somewhat a natural process.
Design
Design standards
Seabed/structure interaction (fluid-structure interaction) | Innovation Area | TRL 6 | TRL 9 | Industry/SMEs | Other Suppliers | Disruptive innovation enabled | Design more efficient substructures to minimise the scour risk. Innovate new, cheaper scour protection methods. Understand scour protection requirements for non-standard shapes (e.g. jackets). The present method of dumping large quantities of rock increases the difficulty in both decommissioning and redevelopment of sites. |  | 2018-06-28 08:00 | 2025-11-30 20:00 | L | M | M | Scour protection is a costly aspect of development. Innovations in scour protection type and therefore cost will reduce LCOE. |  | Encouraging a collaborative approach (UK-based JIP with joint industry and academic funding etc.) could have a good impact
Updated standards review | Innovation Area | TRL 6 | TRL 9 | Industry/SMEs | Other Suppliers | Disruptive innovation enabled | The standards have been conservative as learning from the industry have not yet been fed into designs. Foundation design, and in particular for floating applications, are affected by the applied turbulence model. Further development of the turbulence models defined in the standards have potential to improve foundation design and reduce LCOE. |  | 2018-06-28 08:00 | 2020-11-30 20:00 | L | n/a | L | Could result in less materials and fabrication time | No UK content from this other than lower LCOE
Integration of design
Total integrated design | Innovation Area | TRL 5 | TRL 9 | Industry/SMEs | Owner Operators | Enabling >10MW turbine platforms commercialised | Offshore wind turbines (fixed or floating) are coupled systems, however to date these have often been designed as two independent systems (a foundation and a wind turbine). This has resulted in suboptimal designs of foundations. A more open relationship between foundation designers and wind turbine OEMs can improve foundation designs, ultimately lowering the LCOE of offshore wind. |  | 2018-06-28 08:00 | 2025-11-30 20:00 | H | H | H | Optimised structure in terms of steel, construction, installation, O&M and decommissioning. |  | Currently there exists a barrier between OEMs
Combined WEC/WTG floating foundations | Innovation Area | TRL 5 | TRL 7 | Research Technical Organisations | Owner Operators | Disruptive innovation enabled | Multiple integrated wave and wind energy devices have been proposed. These are an amalgamation of the two technologies that have not been fully-commercialised yet. Floating Power Plant is talking about a 5-8 MW wind turbine and 2-3.6 MW wave power device. An Additional advantage of having a wave device is that the energy can be taken out of waves hence significantly increasing the accessibility (no or very small waves behind the device). With only one prototype installed, multiple engineering challenges are still to be solved. |  | 2018-06-28 08:00 | 2023-01-01 20:00 | M | M | M | It could deliver increased yield but at the cost of increased construction and maintenance costs | A lot of energy in waves in the UK (mainly Scotland). Could benefit from UK's expertise in wave technology. | Would be developed by SME that would require public support
Integrated installation of TP, foundations and tower | Innovation Area | TRL 6 | TRL 9 | Industry/SMEs | Owner Operators | Enabling >10MW turbine platforms commercialised | The current process of wind turbine installation consists of installation of foundation, transition piece, tower and rotor-nacelle assembly. This is a relatively lengthy process. Whilst less applicable to monopiles, an integrated transition piece and foundation assembly could help to shorten the time required to install wind turbines by reducing the number of operations to be performed offshore e.g. telescopic foundations. This would have a knock on effect of decreasing the H&S risk profile and lowering the LCOE of the technology. |  | 2018-06-28 08:00 | 2025-11-30 20:00 | H | M | L | Significantly reduced installation times. | One large structure so would have to be assembled close to the installation site (ie in the UK case using UK ports). | The pressure to reduce LCOE will push designers to innovate.
Extreme wind and wave loads on the next generation of offshore wind turbines | Ongoing R&D project | TRL 1 | TRL 1 | Academia | Original Equipment Manufacturers | Enabling >10MW turbine platforms commercialised | We expect this project to be linked to element "Total Integrated Design". In many areas around the world dominant load on offshore wind turbines is from environmental forces. One example of this is in China where typhoons can do considerable damage to offshore installations. This project builds up from fundamental modelling of the underlying environment and how offshore wind turbines interact with this, to analyzing the structural response and design scenarios. The project will have four themes: The first stage examines the wave environment in areas of moderate depth and complex bathymetry with wind input. The second and third stages of the project will analyse loads from wind and waves on offshore wind structures. The fourth stage will examine the associated structural and geotechnical design. The project will improve our understanding of the underlying physical processes as well as exploring the design and environmental implications. Note: TRLs for this project have not been updated. | http://gtr.rcuk.ac.uk/projects?ref=EP/R007632/1 | 2018-06-28 08:00 | 2020-01-01 20:00 | n/a | n/a | n/a
Tower
New towers constructions
Concrete towers | Innovation Area | TRL 3 | TRL 5 | Academia | Owner Operators | Enabling >10MW turbine platforms commercialised | Concrete towers are common within the civil engineering industry (i.e. bridge structures). Concrete as a material is relatively low cost (in comparison to steel) per unit volume. The use of concrete in place of steel towers could enable cost reduction by simple reduction of material cost, however this must be assessed with the increase in volume likely to be required to ensure the loads can be supported. Concrete has a high compressive strength and can have high tensile strength if reinforced with steel (or other materials). Concrete may also enable alternate manufacturing / assembly approaches for turbine towers (i.e. pouring / curing of concrete in place to reduce the need for heavy lift vessels for assembly) with cost reduction potential. |  | 2018-06-28 08:00 | 2021-11-30 20:00 | L | H | M | Lower cost material. But could mean increased mass of the tower which could result in challenges with control dynamics | Utilisation of UK Supply of concrete but there are concerns about the cost of concrete structures. Substantial increase with working height any logistics involved with pouring concrete more than 100m above sea level will be challenging and probably involve long working time at sea. | Disruptive technology to offshore wind. Evidence of benefits would need to be developed.
Lattice Towers | Innovation Area | TRL 3 | TRL 5 | Academia | Original Equipment Manufacturers | Disruptive innovation enabled | A typical wind turbine tower currently consists of a 'thin walled' steel hollow cylinder, these are cost effective and simple to manufacture and also allow for access/housing of systems within the tower. A lattice tower is one with an array of crossing smaller diameter members, forming a framework to support a load. Such structures can be extremely effective at reacting high loads however are typically more complex to design and manufacture. Structurally a cylindrical column is effective at reacting the weight of the structure and the bending moments applied from environmental loading. However, as turbines increase in size, hence loading from environment also increases, the diameters and/or wall thickness of towers will also increase, as we scale up in turbine and rotor sizes the economic benefit of the simple cylinder shall decrease and a framework tower (lattice) may become competitive. Additionally, a lattice tower may be an enabler to disruptive innovations such as multi-turbine towers where more than one turbine is attached to the same tower / foundation. |  | 2018-06-28 08:00 | 2025-01-01 20:00 | M | M | M | Potential to reduce LCOE with current generation of turbine is low, but lattice tower may be an enabler to disruptive innovations. |  | Disruptive technology to offshore wind. Evidence of benefits would need to be developed.
Reduce mass of towers
Reduce mass of tower | Innovation Area | TRL 4 | TRL 6 | Catapult | Owner Operators | Enabling >10MW turbine platforms commercialised | Natural frequency of a structure is linked to the mass and stiffness of the structure. The natural frequency of the supporting structure for a wind turbine has a direct impact on the turbine operating limits and also the fatigue life of the structure. For a wind turbine structure, it is desirable to have a high natural frequency such that the 1P and 3P operating frequencies of the rotor / turbine are suitably below the natural frequency of the structure. This ensures that resonance in the structure is avoided and excessive loads which can decrease the structures fatigue life are not experienced. Fundamentally, decreasing the mass of the structure while maintaining its stiffness should increase its natural frequency, thus having a positive effect on overall turbine design. In addition to improving turbine design parameters, the reduction in tower mass will also provide cost reduction for manufacturing materials and commissioning costs as lower cost / lower capacity cranage could be used. |  | 2018-06-28 08:00 | 2021-11-30 20:00 | M | H | H | Cost reduction from reduced material, reduced install cost, and also potential for improved control system and structure dynamics. |  | General cost reduction from decreased material can be realised by industry, however wider potential of improvements to turbine control and structure life from improved dynamics may need collaboration across the industry.
Materials Protection
Corrosion Protection | Innovation Area | TRL 6 | TRL 9 | Industry/SMEs | Owner Operators | Maximise operational performance from existing wind farms | Corrosion protection are generally applied on the outside and in some cases in the inner part of the structure. The best technique is yet to be found. Thermal Sprays of aluminium/zinc alloys are being tested and a wide array of coatings have been applied. Also, in the submerged regions, sacrificial anodes are generally used. The best solution is still to be determined as each of the above have advantages and disadvantages. System reliability, operational procedures and requirement for air ventilation/water exchange are all elements that needs to be developed further to de-risk the solution. |  | 2018-06-28 08:00 | 2023-06-30 20:00 | M | H | L |  | IP potential
SACP Gas evolution | Innovation Area | TRL 6 | TRL 9 | Industry/SMEs | Owner Operators | Maximise operational performance from existing wind farms | The chemical composition of both air and water within the monopile is affected by the use of corrosion protection systems. Gas ventilation and/or sea water exchange is required to make the corrosion protection systems work. Due to the high level of corrosion on the inner surfaces of the monopiles, sacrificial anodes were installed to limit that effect. In so doing, hydrogen is produced which is generally absorbed by the water but in that case some of the oxygen escaped and built in the airtight compartment of the structure. This generated a high level of hydrogen gas which ignited in one form or the other can cause potential failure. |  | 2018-06-28 08:00 | 2022-12-31 20:00 | L | M | L | Medium Low
Thermally sprayed aluminium (TSA) as a corrosion protection | Ongoing R&D project | TRL 6 | TRL 9 | Catapult | Owner Operators | Maximise operational performance from existing wind farms | We expect this project to be linked to element "Corrosion Protection". In response to the ongoing issue of monopile corrosion and the mixed results of prevention methods to date, CROWN (Cost Reduction in Offshore Wind Now) has been established to investigate the effectiveness of thermally sprayed aluminium (TSA). Nine partners from the offshore wind industry have collaborated to assess the use of TSA at different stages of monopile construction, including lab and field experiments. We will undertake field experiments in dry dock facility in Blyth, undertaking testing on 16 small-scale piles coated with variants of TSA, as well as conducting lifecycle cost modelling in order to compare with other methods of corrosion protection. | https://ore.catapult.org.uk/projects/crown/ | 2018-06-28 08:00 | 2018-12-01 20:00 | n/a | n/a | n/a