## Version Control
Document name | Turbines Innovation Roadmap
Document Number | PN000201-ANA-004
Issue Number | 2
Issue No: | Date Issued: | Author | Approver | Revision History
1 | 2018-02-28 | K. Stefaniak | J. Flowers | First Issued
2 | 2018-10-25 | K. Stefaniak | A. Stormonth-Darling | Second Issued
Disclaimer Notice
Whilst the information contained in this report has been prepared and collated in good faith. The Offshore Wind Innovation Hub makes no representation or warranty (express or implied) as to the accuracy or completeness of the information contained herein nor shall we be liable for any loss or damage resultant from reliance on same.

## Turbines
Description | Type of Entry | Start TRL | Target TRL | Enabler | Beneficiary | Strategic Outcome | Notes | Website | Forecast Start | Forecast Finish | Potential to Reduce LCoE | UK Benefit | Case for Intervention | Potential to Reduce LCoE (comments) | UK Benefit (comments) | Case for Intervention (comments)
Turbines
Enabling Research
Digital
Machine learning / deep learning from big data | Innovation Area | TRL 3 | TRL 9 | Academia | Owner Operators | Disruptive innovation enabled | Machine learning and drawing benefit from disparate data sources promises both benefits to optimisation of control and operation strategies towards optimal O&M intervention in addition to better understanding of design and modelling assumptions which should lead to improved design of future structures and machines. Issues to be addressed include the integration of numerical models with sensor data to interpolate within individual machines and across arrays, sensor reliability and algorithm and parameter characterisation. A challenge will always be the confidence in which results can be relied upon and so verification and validation cases/methods will be critical. |  | 2018-06-28 08:00 | 2025-06-21 20:00 | M | H | H |  | Potentially an area where the UK can be a real leader
Internet of things | Innovation Area | TRL 3 | TRL 9 | Industry/SMEs | Owner Operators | Disruptive innovation enabled | Internet of Things involves components and assets communicating between each other and is an evolution of condition and structural health monitoring technologies. This should include the transducers along with signal conditioning and low -level data processing/reduction. Major issues are the reliability of sensors and calibration of sensor systems. It will need coordination between RTOs, Academia and Industry. |  | 2018-06-28 08:00 | 2030-06-21 20:00 | M | M | H | This will involve system integration of SCADA and SHM systems | Unlikely to involve protected IP, more likely to result in communications protocols and standards/best practice.
Artificial Intelligence | Innovation Area | TRL 1 | TRL 6 | Academia | Owner Operators | Disruptive innovation enabled | Artificial Intelligence can have multiple applications in all stages of windfarm lifecycle. Taking O&M as an example – AI application involves a supervisory system that utilises conventional design and operation rules combined with Machine Learning/Deep learning from big data from the internet of things. AI could be a decision support system or a complete framework for collecting information and acting upon this without human intervention. Challenges are verification/validation of AI systems and quantitative assessment of confidence in AI performance. Other examples could include design optimisation, turbine control, Turbine Yaw Error and Control, Grid Balancing or Transmission Fault Diagnostics and Prognostics. |  | 2018-06-28 08:00 | 2035-06-30 20:00 | H | M | M
Data
Utilising Data | Innovation Area | TRL 3 | TRL 6 | Research Technical Organisations | Original Equipment Manufacturers | Maximise operational performance from existing wind farms | Data utilisation is an overarching term used to describe a wide range of concepts and techniques aimed at exploiting available information. In this context data utilisation is performed with the aim of data-driven decision making. In the offshore renewables industry, data utilisation techniques can include: post-event analysis, use of current operational data and forecasting of future trends. The level of data utilisation is varied across industry, providing the opportunity for innovation and collaboration between offshore wind stakeholders. |  | 2018-06-28 08:00 | 2030-06-28 20:00 | M | H | H | This depends on the engagement by OOs and the impact their use of data has. | UK has high expertise in this field and can actively engage in data and digital activities. | Although some OOs do actively engage in data utilisation activities, some will need external bodies to help kickstart a culture change within their organisation.
Classifying data, meta-data | Innovation Area | TRL 3 | TRL 7 | Research Technical Organisations | Owner Operators | Maximise operational performance from existing wind farms | Classifying data involves labelling and grouping datasets to provide context. In offshore renewables this could involve the creation of common taxonomies between turbine types or mapping alarms to specific turbine components. This metadata would allow for direct comparison of different technologies, could be used to optimise O&M processes and would provide a means of industry-wide benchmarking. This level of understanding would enable Owner Operators to have a better understanding of the performance of their assets and could be used to optimise operation and maintenance processes. |  | 2018-06-28 08:00 | 2025-06-26 20:00 | L | H | H | Wouldn’t significantly reduce LCoE but in long term it would allow Industry to optimise their operations. | The main driver for this is collaboration between Industry. This could be done in any country but is UK well positioned to do that with an independent moderator such as the Catapult. | An independent body will need to organise Industry to be able to collaborate in this way.
New Materials
Alternative composites | Innovation Area | TRL 2 | TRL 5 | Academia | Original Equipment Manufacturers | Disruptive innovation enabled | Alternative fibres or materials that are better in terms of costs, tensile strength, light weighting, easiness to manufacture, environmental emissions or improved environmental performance. Potential cost reduction from this element are material cost or damage resistance that would decrease maintenance cost. |  | 2018-06-28 08:00 | 2030-06-27 20:00 | M | H | M |  | Supply chain potential
Self-healing materials | Innovation Area | TRL 3 | TRL 5 | Academia | Original Equipment Manufacturers | Disruptive innovation enabled | Development of materials that can maintain their integrity and self-heal when deficiencies occur due to material degradation. Materials could be applicable to any asset that's exposed to weather or environmental conditions: blades, tower, substructures, cables. |  | 2018-06-28 08:00 | 2035-06-30 20:00 | H | H | M
Design
Product environmental design | Innovation Area | TRL 2 | TRL 4 | Academia | Original Equipment Manufacturers | Disruptive innovation enabled | Resource security is a growing issue for low-carbon infrastructures that depend on a combination of raw materials (rare earth metals, lithium, cobalt), copper and aluminium. All components and materials in a turbine should be designed for durability, recycling and disassembly, in particular composite materials used in blades. A balance must be found between cost, durability, extending the lifetime of components and the ability to recover materials at end-of-use. The unknown long-term ageing behaviour of composites in the offshore environment and the potential for using self-healing is a further challenge. This requires material and component design that enables disassembly, recycling and, following that, the use of recycled materials in low-carbon infrastructures. Design for maintaining the value of components and materials for longer offers opportunity to reduce costs and opens new business opportunities. There exist tools to enable lifetime CO2 cost, but their use in offshore wind has been limited so far. |  | 2018-06-28 08:00 | 2023-01-01 20:00 | L | H | H | Extending the lifetime of components can increase return on investment and material recycling should reduce decommissioning and resource recovery costs and/or open new business opportunities. | Academia excellence in material design and recycling technologies is high. | Under current market conditions of high material recycling costs and underdeveloped markets for secondary resources there is little incentive for Owner Operators to demand components and materials designed for recycling. Regulation and/or incentives are needed to spark demand from operators, and the R&D requires cooperation between OEMs and Academia.
Total system design | Innovation Area | TRL 5 | TRL 9 | Industry/SMEs | Owner Operators | Enabling >10MW turbine platforms commercialised | Offshore wind turbines (fixed or floating) are coupled systems, however to date these have often been designed as two independent systems (a foundation and a wind turbine). This has resulted in suboptimal designs of foundations. A more open relationship between foundation designers and wind turbine OEMs can improve foundation designs, ultimately lowering the LCOE of offshore wind. |  | 2018-06-28 08:00 | 2025-06-25 20:00 | H | H | H |  | Optimised structure in terms of steel, construction, installation, O&M and decommissioning.
Innovation in design concepts | Innovation Area | TRL 1 | TRL 4 | Academia | Owner Operators | Disruptive innovation enabled | Large arrays of far-from-coast wind farms (and also tidal and wave harvesters) might lead to different optimal design concepts than those adopted so far. |  | 2018-06-28 08:00 | 2033-06-30 20:00 | H | H | H |  | Totally new design concept could be developed and UK could export knowhow, R&D and potentially manufacture of new-concept turbines. | Due to the low TRL, this must be driven by academia, but the participation of Industry is critical to assure significance and relevance of the proposed concepts.
Design for marine life and aquaculture | Innovation Area | TRL 2 | TRL 5 | Academia | Owner Operators | Disruptive innovation enabled | Currently, the design process of a turbine, an array and associated infrastructure does not take into account the potential to enhance marine life (biodiversity), contribute to fisheries sustainability or aquaculture production. This process may have conservation value and may provide nursery areas for commercially relevant fish and shellfish, but there is a need to undertake research to assess the potential value of this process. In the longer term, this could contribute to the sustainability of local fishing opportunities. The use of offshore renewable sites for aquaculture has been explored in principle and through some limited trials, but there are likely to be significant logistical, biological and economic challenges to successful, commercial deployment. There is opposition to renewables developments that are perceived or in reality compromise fishing activity. Developing clear and demonstrable pathways to achieving these objectives could potentially help to streamline consenting and licencing processes and perhaps more importantly secure social license. There are potentially significant cost savings in this process. |  | 2020-06-30 08:00 | 2030-06-28 20:00 | L | M | M | This element wouldn’t drive LCOE down but could enable additional revenue generation. Successful design could boost fishing Industry confidence to go back to fishing grounds. | Links to sustaining a strong commercial fishing Industry/Industry/SMEss
Rotors
Advanced pitch control
Pitch control for floating wind | Innovation Area | TRL 6 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Disruptive innovation enabled | Pitch control set wind turbine blades at the best angle to the wind to turn the rotor based on real-time wind speed. Purpose is to adjust output power, achieve higher utilization efficiency of wind power and provide protection for rotor blades. Using a floating platform introduces additional motions that must be reflected in the design stage. The control system has to be redesigned and control these motions (structural resonance avoidance, rotor speed regulation and platform pitching). Industry is the actor, but will need help of Academia and RTO) |  | 2018-06-28 08:00 | 2023-01-01 20:00 | M | M | L | Medium-Low. Industry has already developed inhouse pitch control technology for floating wind and focus should be on commercial implementation. Control algorithms will be dependent on foundation type, but benefits for the industry are yet to be clarified. | High-low as possibly few jobs created | Medium-High. Pitch control is responsible of minimizing the loads for the whole structure and key to make deep offshore wind happen
Disruptive blades
Smart blades (flaps, slats, morphing) | Innovation Area | TRL 6 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Enabling >10MW turbine platforms commercialised | Varying blade pitch and rotational speed is the common way to control the load on turbine blades, but in irregular winds, this method is not fast enough to alleviate loads in larger wind turbines. Smart blade technologies offer an alternative. By changing the shape and aerodynamics of individual blades, the latter can adjust lift quickly and attenuate the fatigue loads. Structures that emerged up to date include flaps, slats and morphing. Other advantages include noise and visual aspects. |  | 2018-06-28 08:00 | 2025-10-31 20:00 | L | H | H | Potentially higher in long term
Recyclable thermoplastic blades | Innovation Area | TRL 4 | TRL 7 | Research Technical Organisations | Owner Operators | Enabling >10MW turbine platforms commercialised | Current material used on blade are non-recoverable, non-recyclable and can't be change when it is cured. Thermoplastic blades made with thermoplastic resins could be repeatedly re-melted and re-cured, allowing easy repair of defects, recycling, and bonding of joints. |  | 2018-06-28 08:00 | 2027-10-31 20:00 | M | H | M | If all benefits of the technology, including segmented blades, are developed | If developed in UK
Development of radically different blade structure | Innovation Area | TRL 3 | TRL 5 | Academia | Other Suppliers | Disruptive innovation enabled | As blades are increasing in size, they also increase in weight. With current materials industry will reach a maximum point that it will not pass if additional research is undertaken. This should include new manufacturing techniques, new materials and structural design e.g. use of textiles, structural stiffeners. Currently, not many companies look into that (ACT Blade) and additional support is needed. |  | 2018-06-28 08:00 | 2023-10-31 20:00 | H | M | H |  | if this would be developed in UK to achieve competitive advantage.
Demonstration of radically different blade structure | Innovation Area | TRL 4 | TRL 7 | Research Technical Organisations | Original Equipment Manufacturers | Disruptive innovation enabled | As blades are increasing in size, they also increase in weight. With current materials industry will reach a maximum point that it will not pass if additional research is undertaken. This should include new manufacturing techniques, new materials and structural design e.g. use of textiles, structural stiffeners. Currently, not many companies look into that (ACT Blade) and additional support is needed. |  | 2018-06-28 08:00 | 2025-10-19 20:00 | H | M | H |  | If developed in UK to achieve competitive advantage
Segmented blades | Innovation Area | TRL 7 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Enabling >10MW turbine platforms commercialised | Modular blades for ease of transportation, increased quality control of manufacturing and small cost reduction. |  | 2018-06-28 08:00 | 2021-11-29 20:00 | L | M | M |  | Would allow blade factories to move away from the coast | There is not a huge amount of energy being focussed here by OEMs
Two bladed turbines | Innovation Area | TRL 7 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Disruptive innovation enabled | Two bladed turbines are currently not in use in offshore wind, but industry may consider returning to them once blades get too long or floating wind is enabled. Two blades might have advantage over three blades in terms of substructures (lattice towers), O&M (landing helicopters) and decreased fatigue load when blade reaches tower. This is especially applicable to floating wind as some research point that the concept of the two bladed rotor mounted on a semi-floater is shown to have significant benefits in fatigue load reduction of the sub structure and results in a reduction of LCOE by 7%. |  | 2018-06-28 08:00 | 2025-10-19 20:00 | M | L | H
Aeroelastic tailoring | Innovation Area | TRL 4 | TRL 6 | Research Technical Organisations | Original Equipment Manufacturers | Enabling >10MW turbine platforms commercialised | Blades will be manufactured in the same way, but aeroelastic tailoring will reduce loads allowing larger blades on the same platform. Actor is RTO, but will need help of industry and academia. |  | 2018-06-28 08:00 | 2021-10-19 20:00 | M | L | L |  | Most of this work is undertaken by OEMs, so UK impact would be limited to research | Research in this area is ongoing
Servo-aeroelastic tailoring of wind turbines | Ongoing R&D project | TRL 1 | TRL 1 | Academia | Original Equipment Manufacturers | Enabling >10MW turbine platforms commercialised | Taller wind turbines can operate at higher altitudes and, on average, at greater wind speeds. However, larger blades are heavier, more expensive and increasingly prone to greater aerodynamic and inertial forces. The viability of a novel adaptive blade concept for use with horizontal axis WTs is studied in this project. By suitably tailoring the elastic response of a blade to the aerodynamic pressure it could be possible to improve a turbine's annual energy production, whilst simultaneously alleviating structural loads. These improvements are obtained in a passive adaptive manner, by exploiting the capabilities that structural anisotropy and geometrically induced couplings provide. Note: TRLs for this project have not been updated. | http://gtr.rcuk.ac.uk/projects?ref=EP/N006127/1 | 2018-06-28 08:00 | 2018-01-01 20:00 | n/a | n/a | n/a
Development of a two-bladed turbine | Ongoing R&D project | TRL 1 | TRL 1 | Industry/SMEs | Original Equipment Manufacturers | Disruptive innovation enabled | Development of a two-bladed turbine supported by a full truss steel foundation with full helicopter landing access. BEIS and Scottish government funded project that will allow Dutch 2-B Energy company to develop the concept that “complements the 6MW turbine class and has a rotor diameter of 140 metres”. It is developing a two-bladed turbine supported by a full truss steel foundation that also introduces full helicopter landing access for the first time. Note: TRLs for this project have not been updated. | http://renews.biz/63037/decc-pours-4m-into-offshore-rd/ | 2018-06-28 08:00 | 2018-01-01 20:00 | n/a | n/a | n/a
Advanced testing & validation
Improved full scale testing for 100m+ blade | Innovation Area | TRL 4 | TRL 9 | Catapult | Owner Operators | Enabling >10MW turbine platforms commercialised |  |  | 2018-06-28 08:00 | 2021-10-19 20:00 | M | M | H
Non-destructive testing procedures | Innovation Area | TRL 4 | TRL 9 | Academia | Original Equipment Manufacturers | Enabling >10MW turbine platforms commercialised | Non-destructive testing (NDT) is an analysis technique used to evaluate the properties of a blade material, component or system without causing damage. Because NDT does not permanently alter the article being inspected, it is a highly valuable technique that can save both money and time in product evaluation, troubleshooting, and research. Current NDT techniques need to be improved to suit the need of wind turbine blade requirements e.g. size of blade. |  | 2018-06-28 08:00 | 2027-10-19 20:00 | M | M | M | Difficulties in scanning thick composites
Fracture mechanics & condition monitoring | Innovation Area | TRL 3 | TRL 5 | Academia | Owner Operators | Enabling >10MW turbine platforms commercialised | Better understanding on damage growth in blade and use the information generated via CM to identify and predict the lifetime. Current fracture mechanic model can be used on bond-line but not composite structure. |  | 2018-06-28 08:00 | 2025-10-31 20:00 | H | M | L |  | Dominated by Overseas, but possibly few jobs created | RTOs already on the way of doing this
Blade leading edge erosion programme | Ongoing R&D project | TRL 3 | TRL 4 | Catapult | Owner Operators | Enabling >10MW turbine platforms commercialised | We expect this project to be linked to element "Advanced testing & validation ". The BLEEP programme will assess the impact on aerodynamic performance and structural integrity, with the objective of minimising operation and maintenance activities whilst maximising reliability and availability, thereby cutting the cost of electricity generated from offshore wind. BLEEP is a major new collaborative project between ORE Catapult, wind farm owner/operators, wind turbine manufacturers, and academics at world-leading research institutes. | https://ore.catapult.org.uk/projects/blade-leading-edge-erosion/ | 2018-06-28 08:00 | 2018-01-01 20:00 | n/a | n/a | n/a
Bi-axial blade fatigue testing | Ongoing R&D project | TRL 6 | TRL 9 | Catapult | Owner Operators | Enabling >10MW turbine platforms commercialised | We expect this project to be linked to element "Improved full-scale testing for 100m+ blade". Wind turbine design standards require blades to be tested statically for extreme loads, and fatigue tested to prove that they can survive the design lifetime. The movement towards longer blades for increased power output (5MW and greater), higher capacity factor and/or sites with lower wind speeds presents unique challenges when performing fatigue tests. These tests are usually performed by vibrating the blade at its first resonant frequency, and for large blades this can be very low, resulting in long tests. The project involves developing software for customers to use to facilitate testing and software to optimise and simulate blade tests. The final stage of the project is a full-scale demonstration test. | https://ore.catapult.org.uk/projects/bi-axial-blade-fatigue-testing/ | 2018-06-28 08:00 | 2019-01-01 20:00 | n/a | n/a | n/a
Advanced understanding and prediction of failure
Engineering / Simulation validation of tools for WTG behaviour | Innovation Area | TRL 4 | TRL 7 | Research Technical Organisations | Original Equipment Manufacturers | Enabling >10MW turbine platforms commercialised | These tools allow us to design and certify new wind turbine prototypes. Having an accurate and reliable prediction of their performance, we can optimize these new prototypes at a very early stage minimizing costs. This early optimization will directly benefit the final LCOE of wind energy. Tools for wind turbine generator behaviour are available, but as blades are getting longer they need to be updated and validated. E.g. The 7MW Research platform in Levenmouth allows ORE Catapult to compare and validate these tools (namely Bladed, FAST and HAWC2) against real measurements, giving a unique asset to take the state of the art of wind energy design one step further. |  | 2018-06-28 08:00 | 2021-01-01 20:00 | H | L | H | Permits improvements across the whole design chain. | High-low as possibly few jobs created
Improved blade structure models | Innovation Area | TRL 5 | TRL 7 | Research Technical Organisations | Original Equipment Manufacturers | Enabling >10MW turbine platforms commercialised | Improve existing Shell (blade structure) model to allow calculation through the thickness of the material. Currently designs are based on the material maximum load acceptance limit, but blades seem to fail progressive in real life. |  | 2018-06-28 08:00 | 2023-10-19 20:00 | M | L | H |  | Influences manufacturing so number of jobs can actually drop down | It fits with attempts to create improved blade testing methods
Disruptive architecture
Kites - development | Innovation Area | TRL 3 | TRL 7 | Industry/SMEs | Other Suppliers | Disruptive innovation enabled | Kites or Airborne Wind Energy Systems are tethered devices that access higher altitudes than conventional wind by flying lightweight kites autonomously. Developers will need to demonstrate prototype devices before moving into commercialisation. |  | 2018-06-28 08:00 | 2032-01-01 20:00 | H | M | H | CAPEX is significantly smaller ( ~80-90% smaller) in comparison to standard turbines
High Altitude Aerofoil | Innovation Area | TRL 3 | TRL 5 | Academia | Owner Operators | Disruptive innovation enabled | No aviation authority certification has yet been granted for any vehicle long-term operation at very high altitudes (~20km plus above commercial airspace) and there are potential questions to be answered about ownership. There are also potentially some technology issues to overcome with helium, power, communications. Expect the certification to take at least 5 years, hence the proposed timeline is long-term (15-20 years). It needs partnership between academia, RTO and industry. |  | 2019-11-01 08:00 | 2035-11-08 20:00 | H | M | M
Kites - commercialisation | Innovation Area | TRL 7 | TRL 9 | Industry/SMEs | Owner Operators | Disruptive innovation enabled | Assuming proof of concept, large scale (multi MW) kites would be competitive with conventional offshore wind if bolstered into commercialisation |  | 2031-01-31 08:00 | 2036-02-01 20:00 | H | M | M
Multi rotor turbines | Innovation Area | TRL 4 | TRL 7 | Research Technical Organisations | Owner Operators | Disruptive innovation enabled | Multi rotor turbines replace large turbines blades with multiple smaller scale rotors on one tower, thus potentially reducing the associated costs of large blades (e.g. testing, transport and assembly). They didn’t dominate initially because of blow effects from wind turbines next to each other and ability to capture energy from the flow, but if they span far enough the effect of interference can be minimised. Big advantage of multi-rotor turbines is decrease of costs of maintenance as big jack up vessels are not needed to transport. Also, manufacturing process for smaller blades would be easier and less costly. Forecast finish spans from 15 to 30 years. It needs cooperation between RTO, Industry and Academia. |  | 2018-06-28 08:00 | 2035-11-30 20:00 | M | L | M | Medium-High, but smaller than kites | Not a target for UK market and not much research attention in UK academics
Kite power technology | Ongoing R&D project | TRL 1 | TRL 1 | Industry/SMEs | Owner Operators | Disruptive innovation enabled | UK clean energy company Kite Power Solutions has embarked on a BEIS funding round to support the commercial development of its kite power technology for deployment in offshore wind farms. It aims to deploy its first 3MW power system in offshore waters. The KPS power system has two kites that are flown on a man-made fibre tether between 500 metres to 750 metres in length, the tether is attached to a winch system that generates electricity as it spools out. By achieving flight speeds of up to 100mph in 20mph winds, tether tension causes the line to be rapidly spool out from a drum, which is connected to an electricity generator. KPS’s kite and cable system reduces the amount of steel required by over 75%, and the anchor system to hold the KPS installation is equipment routinely used in the offshore oil industry to install Floating Production Storage & Offloading vessels and other large ships. Note: TRLs for this project have not been updated. | http://renews.biz/92922/kite-power-targets-50mwh/ | 2018-06-28 08:00 | 2019-01-01 20:00 | n/a | n/a | n/a
Higher efficiency composite manufacturing
Advanced composite manufacture (automation/quality improvement) | Innovation Area | TRL 6 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Enabling >10MW turbine platforms commercialised | New and advanced manufacturing techniques - removing manual process, increasing production speed. It is expected that some processes could be automatized, especially that learning from other sectors has not been investigated in detail and applied. |  | 2018-06-28 08:00 | 2022-10-31 20:00 | H | L | M | Removing manual process, increasing production speed. However, small part of lifetime cost overall. Blade cost and TAKT time is a large cost driver
Development of advanced materials
Blade leading edge erosion solutions | Innovation Area | TRL 5 | TRL 9 | Industry/SMEs | Owner Operators | Maximise operational performance from existing wind farms | Leading Edge Erosion is known to occur when precipitation in the atmosphere and other airborne particulates impinge on wind turbine blades rotating at high velocities. When the smoothness of a blade surface is degraded its aerodynamic performance is known to reduce; this restricts power and revenue generation. LEE increases surface roughness at the outer section of the blade, where the majority of lift, and hence power, is generated. Moreover, if severe enough, LEE can expose the blade materials to damaging levels of UV light exposure and moisture ingress, which can reduce structural integrity. Developing coating that protect blade LE from rain/sand erosion for blade lifetime and allow higher tip-speed would be highly beneficial to extend blades lifetime. Current solutions are based on tape and coating solutions, which can last for 1-16yrs with limiting at 85m/s. Research needs cooperation between Industry and RTO. |  | 2018-06-28 08:00 | 2025-10-19 20:00 | H | M | H | Repairs significantly boost O&M costs. Best case if improved solutions applied before blades are installed. | Few companies that could deliver this solution exist in UK | There is a need for coordination and step change vision
New blade adhesive bonding solutions | Innovation Area | TRL 4 | TRL 7 | Research Technical Organisations | Original Equipment Manufacturers | Enabling >10MW turbine platforms commercialised | New types of adhesive and new ways of application. Bonding breakdown and de-lamination. Adhesive is one of the weakest links that needs improvement. |  | 2018-06-28 08:00 | 2023-10-31 20:00 | M | M | H | Medium-High | As UK has SME capabilities that can develop these solutions
Multifunctional systems AI + LDS + EMI | Innovation Area | TRL 3 | TRL 5 | Academia | Original Equipment Manufacturers | Enabling >10MW turbine platforms commercialised | Combined anti-icing, lightning, and/or electromagnetic interference protection systems. |  | 2018-06-28 08:00 | 2023-10-19 20:00 | L | L | H
Offshore Demonstration Blade | Ongoing R&D project | TRL 5 | TRL 8 | Catapult | Original Equipment Manufacturers | Maximise operational performance from existing wind farms | We expect this project to be linked to element "Blade LE Erosion Solutions". A major, international €4 million research collaboration between 10 European partners is leading the development of seven novel offshore wind turbine blade technologies, which collectively could lower the levelised cost of energy (LCOE) of offshore wind by as much as 4.7%. The Offshore Demonstration Blade (ODB) project is supporting the research, development and demonstration of wind turbine blade innovations, including aerodynamic and structural enhancements, blade monitoring systems and blade erosion protection solutions. These products will be developed and retrofitted to 7MW Levenmouth Demonstration Turbine in Scotland for demonstration purposes. The innovations will then be ready for deployment on existing or new offshore turbines. | http://odb-project.com/ | 2018-06-28 08:00 | 2018-01-01 20:00 | n/a | n/a | n/a
Erosion and Ice Resistant composite for severe operating conditions | Ongoing R&D project | TRL 1 | TRL 1 | Research Technical Organisations | Owner Operators | Disruptive innovation enabled | In the wind power generation, aerospace and other industry sectors there is an emerging need to operate in the low temperature and highly erosive environments of extreme weather conditions. Such conditions mean current materials either have a very short operational lifetime or demand such significant maintenance as to render many applications either very expensive to operate. EIROS will develop self-renewing, erosion resistant and anti-icing materials for composite aerofoils and composite structures that can be adapted by different industrial applications: wind turbine blades, aerospace wing leading edges and cryogenic tanks. The addition of novel multi-functional additives to the bulk resin of fibre reinforced composites will allow the achievement of these advanced functionalities. Note: TRLs for this project have not been updated. | https://cordis.europa.eu/project/rcn/200814_en.html | 2018-06-28 08:00 | 2019-01-01 20:00 | n/a | n/a | n/a
Durable ice-repellent coating process for aerospace and energy industries (ICEMART) | Ongoing R&D project | TRL 1 | TRL 1 | Industry/SMEs | Owner Operators | Disruptive innovation enabled | We expect this project to be linked to element "Blade LE Erosion Solutions". A major, international €4 million research collaboration between 10 European partners is leading the development of seven novel offshore wind turbine blade technologies, which collectively could lower the levelised cost of energy (LCOE) of offshore wind by as much as 4.7%. The Offshore Demonstration Blade (ODB) project is supporting the research, development and demonstration of wind turbine blade innovations, including aerodynamic and structural enhancements, blade monitoring systems and blade erosion protection solutions. These products will be developed and retrofitted to 7MW Levenmouth Demonstration Turbine in Scotland for demonstration purposes. The innovations will then be ready for deployment on existing or new offshore turbines. | http://gtr.rcuk.ac.uk/projects?ref=102776 | 2018-06-28 08:00 | 2019-01-01 20:00 | n/a | n/a | n/a
Leading Edge for Turbines (LEFT) | Ongoing R&D project | TRL 1 | TRL 1 | Industry/SMEs | Owner Operators | Disruptive innovation enabled | This project aims at maturing to TRL 5 a game changing erosion protection solution for large offshore wind turbine blades utilising a technology currently produced for the aerospace industry, namely that of the metallic lifetime erosion protection shield. In order to integration this solution in large 80m+ 30ton+, highly flexible wind turbine blades with 30 year design lifetime, the following key challenges are addressed in the proposal: - modulating the erosion shield material for this demanding application, - modelling and validating the attachment solution between the metallic shield and the blade up to TRL 5 (adhesive characterisation, subcomponent test, leading edge component test) | https://gtr.ukri.org/projects?ref=104216 | 2018-06-28 08:00 | 2020-03-31 20:00 | n/a | n/a | n/a
Next generation of lightweight composites | Ongoing R&D project | TRL 1 | TRL 1 | Academia | Original Equipment Manufacturers | Disruptive innovation enabled | We expect this project to be linked to element "Lightweight Composite Materials". Breakthroughs in the development of new materials have historically been achieved largely by trial and error. Our vision is that there is a new generation of advanced hierarchical materials that has never been addressed and can be achieved by design. This new generation draws inspiration both from recent experimental observations in existing materials and from biomimetics and is made possible by recent advances in modelling and manufacturing. The main challenges faced by today's composites industry include (i) damage tolerance, (ii) manufacturability and (iii) sustainability. This project will define these hierarchical micro-structures by design and to then develop suitable manufacturing methods to realise them in practice. Note: TRLs for this project have not been updated. | http://gtr.rcuk.ac.uk/projects?ref=EP%2FM002500%2F1 | 2019-11-30 08:00 | 2019-11-29 20:00 | n/a | n/a | n/a
Powertrain
Development of next generation convertors
Multiple sub-converters | Innovation Area | TRL 7 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Maximise operational performance from existing wind farms | Multiple sub-converters are an attractive design for multi-megawatt wind turbine, in which multiple sub converter modules are connected in parallel, providing redundancy and higher fault tolerance. Once a fault happens, the turbine could be still available and operating at derated level by bypassing the faulty module. A maintenance could be arranged immediately thereafter or integrated with routine maintenance plan, which provides great flexibility to maintenance planning especially for bad weather periods and saves O&M cost. Otherwise, the whole turbine would be switched off until the completion of corrective maintenance. |  | 2018-06-28 08:00 | 2021-01-31 20:00 | L | M | M | Extra cost of circuit breaker and circuit complexity would increase the CAPEX. |  | This technology would be well integrated with current O&M plan, reducing wind farm OPEX.
Parallel powertrains | Innovation Area | TRL 4 | TRL 6 | Academia | Original Equipment Manufacturers | Disruptive innovation enabled | Multiple generator modules and/or power converter modules are connected in parallel, providing redundancy and higher fault tolerance. Parallel powertrain modules can improve availability if: (a) smaller units have lower failure rates, (b) they are quicker to repair and replace and (c) if they are slightly over-rated at 1/(N-1) of the rated power and the powertrain and turbine is able to adapt their torque speed curve for failure states. UK market would not be the biggest beneficiary from this technology as wind resources are sufficient and not intermittent. There is an export potential to e.g. Baltic countries. There is a strong hesitance from the industry and more lower TRL research is needed due to failed concept development in the past. |  | 2018-06-28 08:00 | 2022-01-01 20:00 | L | L | M
Silicon carbide switches in convertors | Innovation Area | TRL 4 | TRL 7 | Research Technical Organisations | Original Equipment Manufacturers | Disruptive innovation enabled | High temperature semiconductor makes the converter operating in more energy condense way and high voltage mode. Some commercial application already exists, but challenge is testing and proving the technology to convertor manufactures to allow current topology used to operate existing topology convertors at 10kV+. Actor is tier 2 supplier. |  | 2018-06-28 08:00 | 2023-01-31 20:00 | H | L | L | Potential for reduced cost and volume of control | UK could compete in research with other countries as manufacturing is dominated by overseas entities
Increased number of steps in MV convertor | Innovation Area | TRL 5 | TRL 7 | Research Technical Organisations | Original Equipment Manufacturers | Disruptive innovation enabled | High voltage converter is designed by increasing number of voltage steps in order to accommodate the high voltage output from next 10MW generator. Required for either the 10kV generator or Silicon Carbide switches |  | 2018-06-28 08:00 | 2020-01-01 20:00 | H | L | L
Development of next generation generators
Non-rare earth PM magnets | Innovation Area | TRL 6 | TRL 8 | Research Technical Organisations | Original Equipment Manufacturers | Disruptive innovation enabled | New PM magnet generator, less dependent on rare earth magnetic material due to cost volatility in raw material. As turbines get bigger, the torque rating and hence permanent magnet content of the generator will tend to increase. Anxiety about use of NdFeB type magnet material due to ~90+% of supply from single country (China) and supply/price volatility. Again, element consists of different types of research: materials might be RTO/academia, machine design is likely academia/industry, testing is RTO. |  | 2018-06-28 08:00 | 2020-01-01 20:00 | M | H | H | Potential can be high if it allows direct drive and lowers weight, but unlikely |  | Longer term exposure for whole industry; opportunity to address an international issue; important aspect for decommissioning.
15MW+ Generator | Innovation Area | TRL 4 | TRL 7 | Industry/SMEs | Original Equipment Manufacturers | Enabling >10MW turbine platforms commercialised | Direct drive and medium-speed geared turbine solutions in ratings up to 9.5MW dominate the market, but 10-12MW size wind turbine are already under development and are expected to be available in the market from 2021. It is expected that turbines can growth further and 15+MW turbine will be the next mainstream size. To develop a turbine in this range, integration of drivetrain with light weight generator is one of key area [TPWind in the EWI], which only can be achievable with integration of mechanical and electrical components in both theoretical and practical validation. As a result, evaluation of +15MW drivetrain design-combined system test will be a strong requirement between 2020 and 2022. |  | 2020-10-24 08:00 | 2024-01-31 20:00 | H | M | H | Next generation of offshore wind turbine to boost power generation |  | High cost to upgrade current 15MW test facility for 20MW one
10MW+ Generator | Innovation Area | TRL 6 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Enabling >10MW turbine platforms commercialised | Development of 10MW+ single wind turbine direct drive generator for offshore wind farm. Medium and high-speed generators are still popular, but easier to reach with existing technology because of the lower torque rating. Current c9MW platforms use the same power train as the c5MW turbines and industry are at the point where they need to develop the next power train concept that will be suitable for 10-15MW, and higher voltage generators become important for this. Challenges here include: choice and design of different electrical machine types, electrical/magnetic/thermal optimisation, structural/mechanical design, material choice and development, design for reliability, maintenance and replacement. |  | 2018-06-28 08:00 | 2021-01-01 20:00 | H | M | L | Next generation of offshore wind turbine to boost power generation | UK is the largest offshore wind market. Benefit to UK if machines are manufactured in UK
Axial flux permanent magnet generator | Innovation Area | TRL 5 | TRL 7 | Research Technical Organisations | Original Equipment Manufacturers | Disruptive innovation enabled | Development of easy-scalable axial flux PM generator for wind industry. This type of design makes it easy to scale up the capacity by axially adding generator sets along the shaft. |  | 2018-06-28 08:00 | 2022-12-12 20:00 | L | M | L | High if it allows direct drive and lowers weight, but unlikely | Could be High if developed by UK-based manufacturer
Superconducting wind turbine generator | Innovation Area | TRL 5 | TRL 7 | Research Technical Organisations | Original Equipment Manufacturers | Disruptive innovation enabled | The ability to produce higher shear stress and hence torque density through low loss excitation. Alternative path to the higher MW turbines without using permanent magnet materials. More compact generators. |  | 2018-06-28 08:00 | 2024-12-12 20:00 | M | L | M |  | Overseas universities and manufacturers are leading in this area | Some work being done by academia and industry through EU; probably needs further support. Needs even bigger support to take it through to scale, demonstration, testing and validation
Compact High Efficiency Generator (CHEG) | Ongoing R&D project | TRL 5 | TRL 6 | Catapult | Original Equipment Manufacturers | Enabling >10MW turbine platforms commercialised | We expect this project to be linked to element "Development of next generation generators". The Compact High-Efficiency Generator (CHEG) project aims to advance the state of the art in wind turbine generator technology by reducing the cost of the turbine and increasing the efficiency of the generator to reduce the cost of energy. The generator and gearbox are major turbine components and constitute a major part of the cost, complexity and failure modes of wind turbines. The use of the innovative pseudo direct drive (PDD) generator within wind turbines will reduce the capital cost of such installations and subsequent decommissioning, and have a positive impact on operation and maintenance costs. | http://cheg.eu/ | 2018-06-28 08:00 | 2019-01-01 20:00 | n/a | n/a | n/a
Direct Drive Permanent Magnet Generator | Ongoing R&D project | TRL 5 | TRL 8 | Industry/SMEs | Original Equipment Manufacturers | Disruptive innovation enabled | We expect this project to be linked to element "Non Rare Earth PM Magnets". Direct drive (DD) permanent magnet generators (PMG) are becoming increasingly important for large-scale wind turbines as they remove the need for a gearbox and the high maintenance costs associated with using them. Today, however, all existing large-scale DD PMGs use scarce and expensive rare earth magnets that are sourced almost exclusively from China. The Greenspur DD PMG uses ordinary ferrite magnets which, although less powerful, are 1/30th of the cost by mass of rare earth magnets and can deliver substantial cost savings. Following smaller-scale trials, patent filings and positive feedback from industry, this project will enable to specify, build and test a 250kW generator in collaborative R&D partnerships with the ORE Catapult and Warwick University. The company’s ultimate objective is to licence its technology for the manufacture of multi MW units for use in the rapidly expanding global offshore wind market. | http://gtr.rcuk.ac.uk/projects?ref=102830 | 2018-06-28 08:00 | 2020-01-01 20:00 | n/a | n/a | n/a
Advanced testing & validation
Representative bearing testing for 10MW+ (BAT) | Innovation Area | TRL 4 | TRL 8 | Catapult | Original Equipment Manufacturers | Disruptive innovation enabled | Bearing accelerated reliability test (BAT) methodology in line with new life and damage assessment procedure. In the current development practice, the reliability of wind turbine large size bearings is normally confirmed by on-ground drive train test with input torque only condition and then, very long turbine prototype commissioning operation is required for certification. This practice is considered to be unrepresentative and impractical. In order to improve this development practice and increase bearing reliability in early development stage, the development of accelerated bearing reliability test methodology in line with new bearing life and damage assessment procedure is suggested. |  | 2018-06-28 08:00 | 2021-12-22 20:00 | H | M | H | Good bearing testing procedure development will be able to allow early design assessment in more reliable way. It is going to affect production/O&M cost reduction by lowering its failure rate and increase efficiency. |  | High cost of large-scale test
Whole system modelling | Innovation Area | TRL 5 | TRL 7 | Research Technical Organisations | Owner Operators | Enabling >10MW turbine platforms commercialised | Whole systems modelling should integrate the Powertrain with the blades, tower and supporting structure and across the entire wind farm. This becomes imperative as larger machines are deployed into deeper waters and fundamental for floating machines. Key challenges are non-technical but related to confidentiality between OEMs and structural designers and owners/operators. |  | 2018-01-01 08:00 | 2023-01-01 20:00 | M | M | H | Commercial innovation is a key in this element
Powertrain highly accelerated life time test (HALT) | Innovation Area | TRL 5 | TRL 7 | Catapult | Original Equipment Manufacturers | Enabling >10MW turbine platforms commercialised | On-ground HALT is key procedure in development stage to shorten the long commissioning period in field and improve the reliability of wind turbine. The current state of art in drive train test is limited by time and methodology which results to conduct only functionality test. New methodology of On-ground HALT including 6 DOF and high frequency loading is needed. Needs some lower TRL level work to work out accelerated testing based on stressors including mechanical, electrical and thermal. These have different timescales which can compete against each other in accelerating by magnitude or frequency. The required research includes; 1. Stress based life estimation model 2. Damage calculation with 6DOF loading 3. HALT with torsional resonance 4. Representative test load profile for selected failure modes |  | 2018-01-01 08:00 | 2022-01-01 20:00 | H | M | H | With this test, reliability of wind turbine will be increased which will reduce the cost of Maintenance. Should focus on testing facilities - high frequency testing and 6 DOF loading is already industry standard. Test methodology of high frequency with 6DOF loading needs to be extended to test mechanical and electrical components together. | Improving reliability of wind turbine will reduce the LCOE from wind turbine which will bring benefit to UK | Knowledge and IP from this development with 15MW test facility will makes Catapult be at strong position
Powertrain design
Magnetic gearing | Innovation Area | TRL 5 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Maximise operational performance from existing wind farms | Use of magnetic and hence non-contact torque-speed converter alternatives to mechanical gearboxes. Avoids gearbox failures and facilitates use of existing scale generators. In floating wind turbine, the maximum acceleration caused by structural movement can reach around 0.3G which can cause severe churning effect on the conventional gearbox oil and results reduced reliability of gearbox. Magnetic gearing fundamentally doesn't need to use oil-based lubrication because no metal to metal contact is required to transmit the energy from rotor to generator. So, if this technology can prove efficiency and reliability with competitive cost, it can be disruptive innovation to increase the reliability of floating wind and decrease the LCOE. |  | 2018-06-28 08:00 | 2023-01-19 20:00 | M | H | H |  | Thought leadership in UK | This technology is ideal for floating wind turbine which will has major market share after 2030.
Powertrain design for improved reliability | Innovation Area | TRL 5 | TRL 7 | Research Technical Organisations | Owner Operators | Enabling >10MW turbine platforms commercialised | Moving from powertrain mechanical/electromagnetic/electric focused design with capital cost/efficiency/mass optimisation paradigm to one which gives increased emphasis on design for techniques that increases availability and decreases O&M costs. Design should be inspired from other manufacturing industries. A range of generic, relatively high TRL design pieces, that make it quicker and cheaper to repair powertrain components and reduce failure rates. |  | 2018-06-28 08:00 | 2020-01-01 20:00 | M | M | H |  | Lots of equipment installed in UK; lots designed outside of UK | Co-ordination of industry standards and best practice could make a big difference in the future
Journal bearing development for wind turbine drivetrain | Innovation Area | TRL 3 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Disruptive innovation enabled | Rolling element bearing failures have plagued the wind industry from its infancy onshore to the currently rapidly advancing offshore wind industry. Although the severity and frequency of bearing failures have reduced, challenges remain for bearing and wind industry is still suffering from high O&M cost and huge loss of energy production associated with the premature bearing failures. Journal bearings have been successfully used in marine and other industrial sectors however, it is seldom used for wind turbine system. Successful journal bearing development, by incorporating advantages of matured journal bearing technology from other industrial sectors into a new design and material solution specifically for hostile wind turbine application, will be able to tackle current distressing bearing premature failures, increase the system reliability and deliver significant OPEX reduction. |  | 2020-10-01 08:00 | 2030-01-31 20:00 | M | M | H | Especially O&M cost reduction by increase of bearing reliability | Journal bearing manufacturers with supply chain exist in UK | There would be a need in supporting financially large-scale demonstration test
Disruptive powertrain design | Innovation Area | TRL 3 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Disruptive innovation enabled | The powertrain is the critical component in wind turbines that convert the aerodynamic loads on the rotor to useful energy in the form of electricity. Over the years, the design of commercial offshore wind turbines has converted to a few popular configurations. Several non-conventional powertrain designs are being researched to address specific shortcomings of the conventional design. Issues such as reliability can be addressed by modularisation and innovative designs for components such as bearings. It will need coordination between RTOs, Academia and Industry |  | 2018-06-28 08:00 | 2030-01-01 20:00 | M | M | M | Technologies such as multiple generators or Ricardo Mulitlife will improve reliability | Potential IP owned by UK companies but parts manufacturing most likely to happen outside of UK
Hydraulic gearing | Innovation Area | TRL 3 | TRL 5 | Academia | Original Equipment Manufacturers | Maximise operational performance from existing wind farms | Use of hydraulic torque-speed converter alternatives to mechanical gearboxes. Avoids gearbox failures and facilitates use of existing scale generators |  | 2018-06-28 08:00 | 2023-01-19 20:00 | M | M | M |  | UK based design team
Advanced understanding and prediction of failure
Condition monitoring in direct-drive generators | Innovation Area | TRL 5 | TRL 8 | Industry/SMEs | Original Equipment Manufacturers | Maximise operational performance from existing wind farms | Bulk of powertrain condition monitoring to date has concentrated on gearbox and induction generators. Some different failure modes in direct-drive and not much operating experience. Bespoke condition monitoring systems for these very large generators. For example, larger direct drive generators have large forces with potential to deform rotor and stator and close airgaps. Monitoring of these airgaps to diagnose issues. Using this information to change generator operation and eventually (lower TRL) flux weaken/strengthen to limit peak forces. Prognostic condition monitoring system development for both of wind turbine and wind farm which can reduce the O&M cost by using early detection and predicting remaining asset life. Wind industry has lesson to be learned from 30 years history of operation which has identified the critical failure mods. The current condition monitoring systems are unable to detect these failure modes after these happen and support corrective maintenance. To improve the availability of wind turbine and lower the LCOE, wind industry should keep developing prognostic condition monitoring system which can detect the early failure signals which can help operators to plan required maintenance with minimum cost. |  | 2018-06-28 08:00 | 2021-01-01 20:00 | M | H | H | Many new direct drive machines going into UK waters |  | Seems like a significant market opportunity and helps with a potential future threat
Prognostic condition monitoring for powertrain | Innovation Area | TRL 4 | TRL 7 | Research Technical Organisations | Owner Operators | Maximise operational performance from existing wind farms | Prognostic condition monitoring system development for both of wind turbine and wind farm which can reduce the O&M cost by using early detection and predicting remaining useful life. Wind industry has a lesson learned from 30 years history of operation which has identified the critical failure mods. The current condition monitoring systems are enabled to detect these failure modes after these happen and support corrective maintenance. To improve the availability of wind turbine and lower the LCOE, wind industry keeps developing prognostic condition monitoring system which can detect the early failure signals which can help operators to plan required maintenance with minimum cost. |  | 2018-06-28 08:00 | 2021-10-20 20:00 | H | H | M | One of Key function to meet LCOE target | UK has biggest offshore wind capacity, and this technology can lower the LCOE of wind | Limited by the reliability of sensing technology
Disruptive acoustic emissions condition monitoring analysis | Innovation Area | TRL 3 | TRL 5 | Academia | Owner Operators | Maximise operational performance from existing wind farms | Reduction of O&M costs can be achieved through optimised O&M strategies based in planned maintenance and condition-based maintenance. Condition monitoring has been effectively used to aid the optimisation of O&M activities and increase operational availability in the offshore wind industry and other industries. One of the condition monitoring techniques that is increasingly being used in wind turbine powertrain analysis is Acoustic Emission (AE). AE monitoring has been around for decades but its potential for detecting incipient failures including subsurface damage remains to be realised for wide spread use. The development of versatile and effective algorithms for data interpretation, diagnostics and prognostics is still the subject of ongoing research. AE condition monitoring has several advantages over conventional techniques due to its ability to detect incipient bearing failures far before conventional techniques like vibration monitoring. In addition, AE sensors are less sensitive to some background noise which effect vibration sensors. For slow moving powertrain components such as pitch and main bearings, disruptive AE monitoring could detect incipient failures far more effectively than vibration methods which are currently commonplace in the offshore wind industry. |  | 2018-01-01 08:00 | 2027-05-03 20:00 | M | H | L | Condition monitoring has been effectively used to aid the optimisation of O&M activities and increase operational availability in many industries, including offshore wind, which led to O&M cost reduction. | Many UK Research institutions are involved with AE technology
Acoustic emissions condition monitoring analysis | Innovation Area | TRL 5 | TRL 9 | Industry/SMEs | Owner Operators | Maximise operational performance from existing wind farms | One of the condition monitoring techniques that is increasingly being used in wind turbine powertrain analysis is Acoustic Emission (AE). AE monitoring has been around for decades but its potential for detecting incipient failures including subsurface damage remains to be realised for wide spread use. The development of versatile and effective algorithms for data interpretation, diagnostics and prognostics is still the subject of ongoing research. AE condition monitoring has several advantages over conventional techniques due to its ability to detect incipient bearing failures far before conventional techniques like vibration monitoring. In addition, AE sensors are less sensitive to some background noise which effect vibration sensors. |  | 2018-06-28 08:00 | 2020-01-01 20:00 | M | M | M | The technique does not actively prevent failure but will reduce O&M cost by early detection |  | AE is able to detect incipient (subsurface) failures before conventional techniques and easier to install compared to ultrasonic techniques.
In-depth investigation of IGBT failure mechanism | Innovation Area | TRL 5 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Disruptive innovation enabled | The failure mechanism of IGBT, the key component for power conversion, has been well examined across academic study. However, there is very limited successful application in industry. In-depth investigation will provide industry a solution of IGBT on-line condition monitoring. Then the IGBT loading will be controlled according to the monitored health condition. The converter lifetime will be also optimised by balancing the lifetime usage across all IGBTs in a converter. Moreover, the condition monitoring information could be considered to make preventative maintenance plan for converter and wind turbine, which will help reduce O&M cost. |  | 2018-06-28 08:00 | 2021-01-01 20:00 | L | M | L | Extra cost of condition monitoring circuit might increase the cost of IGBT modules. |  | At this moment, the main activity comes from academic involvement. Need more input from industrial partner.
Condition monitoring of wind turbine drive-trains via non-contact acoustic sensors | Ongoing R&D project | TRL 1 | TRL 1 | Industry/SMEs | Original Equipment Manufacturers | Enabling >10MW turbine platforms commercialised | We expect this project to be linked to element "Acoustic Emission Condition Monitoring Analysis". Current CM systems are intrusive, and hence revoke the initial OEM warranty of drive-train components. The combination of industrial and legislative factors is the key driver behind the production of CMDrive: a bespoke and non-intrusive acoustic-analysis CM system, having a POD for drive-train defects of 90-98% within the range of operating powers. This work will validate and enhance the system and initiate the commercialisation process. The first generation of CMDrive shall be produced for wind turbines of 2.5MW or less; a next generation product, to handle larger turbines, has already been envisioned. Note: TRLs for this project have not been updated. | https://cordis.europa.eu/project/rcn/200428_en.html | 2018-06-28 08:00 | 2019-01-01 20:00 | n/a | n/a | n/a