## Version Control
Document name | O&M and Windfarm Lifecycle Innovation Roadmap
Document Number | PN000201-ANA-002
Issue Number | 3
Issue No: | Date Issued: | Author | Approver | Revision History
1 | 2018-02-28 | K. Stefaniak | J. Flowers | First Issued
2 | 2018-10-25 | K. Stefaniak | A. Stormonth-Darling | Second Issued
3 | 2019-04-05 | K. Stefaniak | A. Stormonth-Darling | Third Issued
Disclaimer Notice
Whilst the information contained in this report has been prepared and collated in good faith. The Offshore Wind Innovation Hub makes no representation or warranty (express or implied) as to the accuracy or completeness of the information contained herein nor shall we be liable for any loss or damage resultant from reliance on same.

## OandM and Windfarm Lifecycle
Description | Type of Entry | Start TRL | Target TRL | Enabler | Beneficiary | Strategic Outcome | Notes | Website | Forecast Start | Forecast Finish | Potential to Reduce LCoE | UK Benefit | Case for Intervention | HSE Impact | Potential to Reduce LCoE (comments) | UK Benefit (comments) | Case for Intervention (comments) | HSE impact (comments)
O&M and Windfarm Lifecycle
Project Development
Project Development
Climatic resource measurement modelling | Innovation Area | TRL 5 | TRL 9 | Research Technical Organisations | Owner Operators | Commercialising >15MW turbine platforms | An accurate short-term prediction (few hours - one day) of the power output is needed both to bid at energy auctions (where energy companies sell power) and to plan maintenance of the energy harvesters. The power output is due to a combination of the weather forecast and the control system of the farm. It requires advanced integrated modelling of the whole weather-farm system. |  | 2019 | 2028 | L | L | M | n/a | Existing models are critically inaccurate for extreme rare events, hence there would be LCOE saving over a year but low | Area led by the US where areas of wind farms are bigger and hence this issue is more critical | The control of the wind farm is typically developed by industry while specialist expertise on weather forecast (statistics) and advanced control theory is in academia. Hence intervention can facilitate joint project. Given the intermediate TRL, Catapult is in a good position to lead. | Mostly a cost concern
Lifetime common data and information platform | Innovation Area | TRL 4 | TRL 9 | Other | Other Suppliers | Maximising operational performance of existing wind farms | Over the lifetime of an offshore wind farm, data and information is passed between the different phase of the project lifecycle, from design and construction through to operations and maintenance, lifetime extension and eventually, decommissioning. The responsibility for each stage can also pass between the Developer, Turbine OEM, Owner/Operator and Independent Service Provider. These stages are often developed in silos, using separate software and information management systems; they rarely interoperate and do not allow seamless data and information flows between the partners leading to significant process inefficiencies and wastes. Thus, knowledge of the stock of materials and components in current low-carbon infrastructures is limited. There is significant scope to apply principles of Building Information Modelling (BIM), proven to reduce costs in the construction of buildings, to the development and management of offshore wind farms. Digital tools which enable seamless flows of data and information between the different project stages and parties, and enable traceable data-driven decision making, are required. Research should be aligned with broader initiatives such as the new National Materials Database to develop an inventory system. |  | 2019 | 2030 | L | M | H | L | The added value of better data on material flows within low-carbon infrastructures is primarily in unlocking investment, formulating better business models and improving policy and regulation. | There are economy wide efforts to improve material flow tracking and the low-carbon infrastructure inventory would be mutually beneficial. The benefits for UK industry and government are of strategic value regarding resource security underpinning clean growth ambitions. | For viable low-carbon infrastructure sectors and the economy as a whole it is necessary to be proactive in maintaining access to (near) critical materials and to limit impacts on the environment through resource exploitation and waste generation. These aspects emerge at a system level and the challenges are complicated, making it unlikely that this element would be addressed by industry actors in isolation. | Insignificant impact on waste reduction
Multivariable windfarm design tool | Innovation Area | TRL 5 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | The optimisation of a layout for a windfarm in development is dependent on many variables. These include wake interactions from turbine spacing and layout, cable routes and sizing, substations, geology and seabed conditions, navigation routes and other environmental constraints. At present the layout of a site in development will seek to optimise the design by iteration in a rather manual process. In future, a truly multivariable software solution which enables a layout optimised automatically for either lowest lifetime cost, maximum yield, longest life or some combination of these attributes. Rapid developments aided by advances in ICT and machine learning are anticipated to drive developments at pace in this area. |  | 2019 | 2025 | M | M | L | L |  |  |  | HSE will be of low priority for this tool
Social and economic impact
Generating & standardising social and economic impact methodology | Innovation Area | TRL 4 | TRL 7 | Academia | Other Suppliers | Commercialising >15MW turbine platforms | Difficulties with identifying, assessing, mitigating and managing potential cumulative social and economic impacts from offshore marine energy developments and changes to existing activities. Developers and supply chain should be engaged to provide predictions of the number and type of workers that will be required to support planned developments. This should include indicative timescales, consider project phasing etc. It will become crucial if offshore wind is to become a dominating energy generation source. |  | 2019 | 2025 | n/a | M | H | n/a | This element does not relate directly to the LCoE, rather delays and risk to gaining consent. | No direct benefits to the UK, but understanding the economic and social benefits that will accrue to the UK | This element requires significant conceptual thinking which is likely to demand input from outside industry. Thus support is needed to ensure the industry gets the relevant technical input to improve assessments
Mitigating an impact on shipping, navigation and commercial fisheries | Innovation Area | TRL 4 | TRL 7 | Academia | Other Suppliers | Commercialising >15MW turbine platforms | Difficulties with assessing and mitigating the potential cumulative impacts on shipping and navigation due to uncertainty around risks that may arise from OSW projects. There is also a lack of standardised approach to assessing the availability of alternative fishing grounds (outside development areas) and their ability to sustain existing /displaced commercial fishing levels. It will need a cooperation of Academia and Industry. |  | 2019 | 2025 | L | H | H | L | This element wouldn’t drive LCOE down but could enable additional revenue generation. Successful development of methodology could boost fishing industry confidence to go back to fishing grounds. | Links to sustaining a strong commercial fishing industry | Growth of offshore wind (particularly floating wind) will exacerbate the negative impacts on shipping, navigation and commercial fisheries
Reducing ecological impact uncertainty
Coordinated environmental monitoring | Innovation Area | TRL 2 | TRL 9 | Academia | Owner Operators | Commercialising >15MW turbine platforms | There is a need for different types of models (individual behaviour, population level and ecosystem level), real data for whole range of spatial scales: near device (behaviour change of animals), near array (population changes due to construction and O&M) and cumulative effects of multiple arrays and industries (wind, wave and tidal on ecosystem functioning). After agreeing on high risk issues, coordinated environmental monitoring would standardise methods of collection and use of spatial scales to coordinate data collection at different scales. Next step would be collation of data into an open data base and a clear roadmap to the use of data in population level models to prevent 'sample everything'. This element is desirable to enable high deployment of OSW. Enabler would include academia, SNCBs, NGOs and industry. |  | 2019 | 2028 | L | M | H | H | Generation cost not impacted, rather delays and risk to gaining consent. |  | Without funding work on this element can slip over and it will take more time than the forecast. The desire is strong across management, developers and groups that manufacture equipment, but needs funding and coordination body.
Ecological monitoring using remote, autonomous platforms | Innovation Area | TRL 6 | TRL 9 | Industry/SMEs | Owner Operators | Commercialising >15MW turbine platforms | Ecological monitoring using remote, autonomous platforms would allow efficient gathering of data on abundance, distribution and behavioural consequences of construction activity at offshore wind farms. Main aim would be detecting, locating and identifying cetaceans and pinnipeds to species level. It would then feed back into impact assessments undertaken by developers and strategic planning undertaken by government. |  | 2019 | 2022 | L | H | M | H | Generation cost not impacted, rather delays and risk to gaining consent. | Very significant expertise exists in the UK. Of relevance to wide range of industries beyond renewables, and UK and international obligations. Potential to export expertise and methods overseas to existing and emerging marine renewables markets. | It will require a tight cooperation of academia and industry. A significant constraint on collection of these data is cost, health and safety.
Ecological survey techniques | Innovation Area | TRL 3 | TRL 6 | Academia | Owner Operators | Commercialising >15MW turbine platforms | New ecological survey techniques that would result in better data collection and more accurate modelling impact to environment. Surveys and sampling of ecological issues (i.e. use of boats and airplanes for targeted areas and/or making use of national data collection - such as fisheries or seabird surveys). Tagging of mobile animals for offshore site use and knowledge of genetic connectivity. Also use of autonomous platforms, gliders, buoys, attachments to monopiles. There is a need for clear roadmap to use of data in population level models. Actor would include academia, Catapult, SME and industry. |  | 2019 | 2040 | L | M | M | H | Generation cost not impacted, rather delays and risk to gaining consent. | Very significant expertise exists in the UK. Of relevance to wide range of industries beyond renewables, and UK and international obligations. Potential to export expertise and methods overseas to existing and emerging marine renewables markets. | It will require a tight cooperation of academia and industry. A significant constraint on collection of these data is cost, health and safety.
Marine life monitoring | Innovation Area | TRL 5 | TRL 9 | Research Technical Organisations | Owner Operators | Commercialising >15MW turbine platforms | Understanding multiple and cumulative effects between species and across trophic levels by understanding indirect effects on ecosystem functioning. Example: change in water column mixing from extraction of energy changes the level of primary production which influences the food chain. Potential collaboration with national data collection for MSFD GES descriptors. Academia would need to collaborate with RTOs and industry. Only delivery of few large projects would enable delivery in timescales provided. |  | 2019 | 2022 | L | M | M | H | Generation cost not impacted, rather delays and risk to gaining consent. | Very significant expertise exists in the UK. Of relevance to wide range of industries beyond renewables, and UK and international obligations. Potential to export expertise and methods overseas to existing and emerging marine renewables markets. | Risk to future offshore renewables will only increase as cumulative assessments have increasing likelihood of identifying impacts on marine populations as not acceptable
Ornithology monitoring | Innovation Area | TRL 5 | TRL 9 | Research Technical Organisations | Owner Operators | Commercialising >15MW turbine platforms | There is limited robust data available for the quantification of collision or displacement rates, and no empirical data on the consequences of displacement/ barrier effects on individual seabirds or populations. These are key constraints on marine renewable developments, resulting in the application of overly precautionary approaches, delays, increased costs, or the refusal of consents. Quantifying the avoidance and displacement responses of seabirds to marine renewables could ease those constraints. The element would need buy in from industry, government and academia to maximise likelihood of success. Only delivery of few large projects would enable delivery in timescales provided. |  | 2019 | 2022 | L | H | M | H | Generation cost not impacted, rather delays and risk to gaining consent. | Very significant expertise exists in the UK. Ornithology a prime ecological concern/ constraint on offshore renewables in UK, and this will only increase as cumulative effects across all constructed/ consented windfarms increases, risking future marine renewables development. Huge potential to export expertise and methods overseas to existing and emerging marine renewables markets (financial and 'soft power' potential). | Risk to future offshore renewables will only increase as cumulative assessments have increasing likelihood of identifying impacts on seabird populations as not acceptable
Reducing ecological impact uncertainty | Innovation Area | TRL 4 | TRL 9 | Academia | Owner Operators | Enabling disruptive innovation | Quantify and express uncertainty around estimated effects and consequences from marine renewables (and other sectors). Prioritise the risks: Collision, Barrier effects, Daily displacement, Construction and O&M Noise). Develop approaches to better express uncertainties around estimated effects and identify how they can be reduced. Where possible, facilitate access to and use existing data (beyond expert opinion) as models lowering uncertainty would shorten project development phase. Enabler would include academia, RTOs and industry. |  | 2019 | 2040 | L | M | H | H | Generation cost not impacted, rather delays and mitigating risk of not gaining consent. | Generation cost not impacted, rather delays and mitigating risk of not gaining consent. Based on amount of UK waters and existing windfarms, we have a significant amount of data that can be collected. There is an export potential and many SMEs are operating in this area. | Data access will be a considerable constraint and may need a coordination body. Improved methods used for expressing uncertainty and confidence in estimates of ecological effects would be of relevance for all wind farms in the World. There is a reluctance from industry and there is a need for education facilitator.
Installation
Turbines
Advanced lifting | Innovation Area | TRL 4 | TRL 9 | Industry/SMEs | Owner Operators | Commercialising >15MW turbine platforms | Lifting of larger components at higher heights offshore. Especially needed for the development of turbines >15MW and floating wind turbines. This includes the advancement of floating lifting solutions, similar to Heavy lift vessels but more manoeuvrable and cheaper to charter |  | 2018 | 2040 | M | M | L | L | By creating innovative lifting solutions the need to hire costly heavy lift vessels is reduced, reducing operating costs. | The UK has a history of ship building and engineering innovation. By creating lifting solutions in the UK the vessels port of home will be UK, increasing jobs and income in the area | It is likely that industry will create these technologies without an intervention as there is strong market push. Intervention may help SMEs take more of a leading role, instead of solely the large companies. | increased lifting capabilities may reduce incidents surrounding lifting
Optimised offshore assembly | Innovation Area | TRL 3 | TRL 7 | Industry/SMEs | Owner Operators | Commercialising >15MW turbine platforms | Novel techniques for assembling WTG components and substructures offshore. Optimised assembly will reduce construction times and reduce costs. |  | 2018 | 2035 | L | M | L | n/a | By optimising WTG assembly costs will be stripped during the construction phase, this may also lead to optimisations in the operations phase. | Utilising the existing UK infrastructure and expertise will see this technology bring more learning to the UK. The UK is already well suited to accommodate the advancement of this technology. | It is likely that industry will create these technologies without an intervention as there is strong market push. Intervention may help SMEs take more of a leading role, instead of solely the large companies.
Foundations
Transportation of foundations | Innovation Area | TRL 6 | TRL 9 | Industry/SMEs | Owner Operators | Commercialising >15MW turbine platforms | Reducing installation costs by doing more work in less time by reducing transit times of relatively slow and costly installation vessels does offer potential to reduce costs, if an installation vessel can spend more of its time conducting installations and less time shuttling to/from port then savings could result. Larger installations may be the answer to this, and may emerge if there is market demand, but it is also possible that more novel approaches will offer a solution. Note that due to level of investment required to design, build and commercialise new vessels and/or lifting solutions the barriers to entry in this area are relatively high. |  | 2018 | 2040 | M | L | L | M | If a new approach is developed which requires less equipment/less capable vessels/less time then this may also be a means to reduce LCOE. Could be increased to Medium, if significant | There are a small number of UK installation contractors, but the majority of this work is conducted by large European players, it looks relatively unlikely that new UK flagged installation vessels would result | Barrier to entry for new installation concepts is high. Many people can generate concept designs, but securing investment to build a new type of vessel will be extremely challenging and likely beyond the scope of typical R&D funding calls. | If people are removed from the point of work by a new approach then HSE risks reduced considerably.
Noise effects (including piling) | Innovation Area | TRL 3 | TRL 6 | Academia | Owner Operators | Enabling disruptive innovation | The noise of ORE is due to the pile driving during the installation, and to the aero/hydrodynamics of the blades during the operation. Noise is a concern for both people and animals. The main challenges are to develop technology that mitigates noise, and to understand the ecological impact of noise. The main barrier to the development of technology is that the complex physics involved often requires complex analysis and highly specialised knowledge. The barrier to understanding the ecological impact is that comprehensive biological data is difficult to be gathered from offshore sites. Involvement of industry, government and academia likely to be required. Alternatives to pilling are under development (e.g. vibration pilling, bluepilling & Adbm). |  | 2018 | 2040 | L | M | M | H | This element is a project enabling activity. It may increase LCOE but it is needed to make large-scale deployments environmentally viable. | Very significant expertise exists in the UK. The benefit of developing new technology for noise mitigation include export potential, jobs created, intellectual property, etc. The benefit of understanding the environmental impact is providing global leadership on sustainable innovation. | Risk to future marine renewables will only increase as cumulative assessments have increasing likelihood of identifying effects of pile driving noise on marine mammals as not acceptable. Environmental study requires collaboration between industry and academia and intervention can enable this collaboration.
Cables
Improved quality of cables installation | Innovation Area | TRL 3 | TRL 9 | Industry/SMEs | Owner Operators | Commercialising >15MW turbine platforms | Improving the quality of cables installation that would reduce the repairs needed in later stage of lifecycle. Currently installation can lead to problems with bending and fatigue. |  | 2018 | 2030 | M | M | M | n/a | Cables are costly to install and even more costly to repair. By optimising this process to reduce damage to the cable's costs could be vastly cut. | By developing this installation techniques not only will the UK benefit from this learning and jobs created but will also aid windfarms in UK waters. | Although industry know this is an issue it is likely that little will be done to aid the clean installation. Intervention will be needed to push industry in the right direction.
Faster cables installation | Innovation Area | TRL 3 | TRL 7 | Industry/SMEs | Owner Operators | Commercialising >15MW turbine platforms | Optimising the installation process, allowing for more cables to be laid per day. |  | 2018 | 2030 | H | M | L | n/a | Cables are costly to install, by optimising this process we will see reduction to CAPEX of wind farms. The installation vessels used are expensive to charter, so reducing this chartering time will reduce costs. | By keeping this learning in-house (within UK) the vessels used will be UK vessels and the impact will benefit UK wind farms. | Owner Operators are constantly looking to reduce costs of installation and se they will be looking at optimising the installation process.
Logistics and novel technology
Optimised dispatching | Innovation Area | TRL 5 | TRL 9 | Research Technical Organisations | Owner Operators | Commercialising >15MW turbine platforms |  |  | 2018 | 2030 | L | M | L | L
Port logistics | Innovation Area | TRL 4 | TRL 9 | Industry/SMEs | Owner Operators | Commercialising >15MW turbine platforms | Total number of installations may significantly increase in forthcoming years as the industry's ambition is to develop at least 30GW by 2030. This will require an installation of ~2GW per year and a significant workload for ports that will have to service installation vessels. Port logistics issue must be addressed in order to installation run smoothly. It will require cooperation with RTOs. |  | 2018 | 2030 | L | M | M | M
Disruptive installation techniques | Innovation Area | TRL 2 | TRL 9 | Industry/SMEs | Owner Operators | Enabling disruptive innovation | Novel installation techniques for cables (duct or tunnel), turbines and substructures. |  | 2020 | 2040 | M | L | L | L | Uncertain of how much overall cost this would reduce, cheaper cables could be used but how much extra cost does the ducting work add? | There is some cable manufacturing in the UK, but unlikely if they will benefit if ducts open market to wider supply of less specialist/cheaper cables | Further research will be required to determine whether this is actually a good idea or not, perhaps some funding for feasibility type work | Some potential to reduce work in hazardous environment.
Operations
Commercial & Strategy
Trade & Yield Optimisation
Grid notification tools | Innovation Area | TRL 7 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | The drive for cost reduction will push operational wind farms into a new paradigm where marginal gains are vital to commercial success. In this scenario it will be important to incorporate the price of electricity into day to day operational decisions at wind farm sites. Tools will be required to provide accurate information and forecasts of expected prices of electricity. |  | 2019 | 2022 | M | L | L | L
Improved accuracy of existing day ahead weather & power forecasting | Innovation Area | TRL 7 | TRL 9 | Research Technical Organisations | Owner Operators | Maximising operational performance of existing wind farms | The profitability of an operational offshore wind farm could likely be increased if there were more accurate forecasts of weather conditions ahead of time. Weather is a key driver of both power production and maintenance activities. It is suggested that a better understanding and prediction of the relationships involved could lead to more efficiently executed maintenance activities. This would result in reduced cost of downtime, increased availability, increased energy production or an increase in production at times of high demand/market price. Before developing new generation of tools there is still a space for improvement in existing ones. |  | 2019 | 2021 | M | M | M | H |  |  |  | HSE scored as high because of the potential to reduce wasted trips on CTV, particularly in times of marginal conditions.
Disruptive technologies for day ahead weather & power forecasting | Innovation Area | TRL 4 | TRL 6 | Academia | Owner Operators | Maximising operational performance of existing wind farms | The profitability of an operational offshore wind farm could likely be increased if there were more accurate forecasts of weather conditions ahead of time. Weather is a key driver of both power production and maintenance activities. It is suggested that a better understanding and prediction of the relationships involved could lead to more efficiently executed maintenance activities. Development of new generation tools would result in reduced cost of downtime, increased availability, increased energy production or an increase in production at times of high demand/market price. |  | 2019 | 2024 | M | M | M | H |  |  |  | HSE scored as high because of the potential to reduce wasted trips on CTV, particularly in times of marginal conditions.
Optimising control for atmospheric conditions | Innovation Area | TRL 4 | TRL 6 | Academia | Owner Operators | Maximising operational performance of existing wind farms | Control is critical to minimise load peaks and prevent dynamic and fatigue failures. It can also be used to minimise environmental impact (e.g. noise reduction). Control strategies should depend on the atmospheric conditions, as well as on specific technologies for mitigating load fluctuations and environmental impact. |  | 2019 | 2028 | L | L | M | n/a | Control is most likely to increase energy efficiency, the lifetime of the harvester and its environmental impact. | Control is likely to be specific to the technology for which it is developed, so it might be difficult to sell to other operators
Coordination & People
Vessels & Access
Autonomous vehicles | Innovation Area | TRL 5 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Airborne, sea surface or subsea remote vehicles are finding commercial applications, including in offshore wind. There remains an opportunity to further reduce the cost and human risk of these activities by increasing the amount of 'intelligence' in the devices themselves. For example, a vehicle which can navigate and carry out tasks without a human actively controlling it at all times would mean a single operator could control multiple vehicles or perhaps that no operator is required at all. |  | 2019 | 2040 | M | H | M | H |  |  |  | This innovation could improve safety by reducing exposure to hazards, by displacing manned offshore activity. There will also be a strong safety case element to the development of intelligence and automation, e.g. how to ensure that intelligent systems will always make the best decision?
Disruptive access forecasting tools | Innovation Area | TRL 4 | TRL 7 | Research Technical Organisations | Owner Operators | Maximising operational performance of existing wind farms | Tools are required to accurately forecast the likelihood of access across a wind farm site that makes account for met ocean conditions at specific turbine locations and vessel limitations. Existing tools exist as commercial offerings, but further research on disruptive, next generation tools is worthwhile. |  | 2019 | 2030 | M | H | H | H |  |  |  | HSE scored as high because of the potential to reduce wasted trips on CTV, particularly in times of marginal conditions.
Evolution of existing access forecasting tools | Innovation Area | TRL 7 | TRL 9 | Research Technical Organisations | Owner Operators | Maximising operational performance of existing wind farms | Tools are required to accurately forecast the likelihood of access across a wind farm site that makes account for met ocean conditions at specific turbine locations and vessel limitations. Existing tools give a good indication of access windows, but further development or improvement is worthwhile. |  | 2019 | 2025 | L | H | H | H |  |  |  | HSE scored as high because of the potential to reduce wasted trips on CTV, particularly in times of marginal conditions.
Improved access systems | Innovation Area | TRL 7 | TRL 9 | Industry/SMEs | Other Suppliers | Maximising operational performance of existing wind farms | Availability of offshore wind turbines is driven by the ability (or not) of the maintenance team to access to the turbine to carry out reactive or planned maintenance tasks. If an access system could be improved to enable technicians to gain access across a wider range of weather (wave height is usually the limiting factor) conditions safely then in theory turbine availability and hence production could be increased. A key challenge for innovations in access systems remains ensuring that they are cost efficient when offering only marginal gains over traditional systems. Safety of personnel should also be a strong theme here. |  | 2019 | 2022 | M | M | L | H |  |  | Considered low because high technology access systems have sometimes been perceived to be expensive whilst offering marginal improvements, and that new solutions need to balance cost and benefit rather than being developed simply to be technically better (whilst coming at prohibitively high cost).
Low cost helicopter transfer | Innovation Area | TRL 7 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Transit of technicians by helicopter is a method with a different set of benefits compared to vessels. When vessels struggle to transit and access in high waves, this is usually a time when wind speeds are also high and visibility is good - perfect conditions for helicopters. Helicopters also are less likely to be weathered off for as many consecutive days than vessels - a real benefit in maintaining WTG availability. While helicopter use can bring about upsides, the cost of helicopter use is often prohibitive. Costs per flying hour are already high but yearly standby rates are extremely difficult to justify if a helicopter is not used most time of the year. As such, methods to reduce flying costs (for example sharing of assets across multiple sites) or increasing their performance in terms of weather restrictions and payload, would have a positive effect on costs of O&M and hence LCOE. |  | 2019 | 2023 | M | M | L | M |  | Strong, existing UK supply chain
Offshore crew accommodation | Innovation Area | TRL 6 | TRL 9 | Industry/SMEs | Owner Operators | Enabling disruptive innovation | As wind farms are deployed in locations further form shore, it will soon become extremely expensive and inefficient to send technicians out in small CTVs on a daily basis. The next logical step is for large motherships or SOVs that will be stationed at a site for several weeks as smaller vessels enable transfer from the mothership to the turbines. Once a wind farm is of a sufficient size that there is sufficient work to be carried out at site that demands continuous attention, it will become appealing to build a fixed offshore base to house accommodation and O&M materials. |  | 2019 | 2030 | M | L | L | M | This is very dependent on ratio of far to near shore projects |  |  | This innovation area is not H&S driven but will decrease transit times and operations from boat to ladders
Reducing crew transfer vessels costs | Innovation Area | TRL 6 | TRL 9 | Other | Other Suppliers | Maximising operational performance of existing wind farms | Even as wind turbines grow in scale, they will continue to be accessed by Crew Transfer Vessels. Current technical CTV limitations are restricting inspections, service and maintenance and hence leading to downtime. CTVs will need to increase access heights, speed of transit, comfort of transit. Barriers for this element to be taken forward are cost benefit analysis and value proposition. |  | 2019 | 2040 | H | M | M | L |  |  |  | Small H&S potential if it improves access to farms
Blade Access System and working Environment (BASE) | Ongoing R&D project | TRL 4 | TRL 7 | Catapult | Owner Operators | Maximising operational performance of existing wind farms | We expect this project to be linked to element "Improved access systems". Regular blade maintenance interventions are necessary to avoid catastrophic failures and significant loss of revenue generation. Repair of blade damage and/or installation of aerodynamic upgrades is currently performed using rope access technicians and access platforms suspended from the turbine nacelle. The length of turbine downtime, and hence lost energy production, using this approach is high and the quality of repairs are often difficult to manage in highly variable weather and working conditions. This project will develop an innovative tower-mounted blade access system and habitat to provide a stable working environment for technicians undertaking blade maintenance. This approach will reduce downtime and increase the quality of blade repairs and upgrades. | https://ore.catapult.org.uk/projects/blade-access-system-and-working-environment-base/ | 2019 | 2019
Marine coordination
Advanced communication infrastructure & hardware | Innovation Area | TRL 6 | TRL 9 | Research Technical Organisations | Owner Operators | Maximising operational performance of existing wind farms | As wind turbines increase in size and complexity, there will be a relentless increase in the volume of data generated by each asset. This will create significant demands on the communication infrastructure and hardware necessary for signals to be shared throughout a wind farm and transmitted back to base for monitoring, control and analysis. |  | 2019 | 2028 | L | H | L | L |  |  |  | Limited HSE impact
Advanced crew & vessel optimisation tools | Innovation Area | TRL 5 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Ensuring that vessels (primarily CTV at present) are utilised most efficiently could either reduce operating costs for a windfarm operator or potentially increase the productivity of maintenance teams. For example, is a CTV has 18 seats and technicians work in teams of 2 per turbine, which is most efficient; 1 vessel with 9 teams making multiple drop off/pick up stops, or 2 vessels with 3 - 4 teams making many fewer stops and hence spending less time in transit? As with many marine operations there is likely not a single best fit for all sites, and hence tools to aid optimisation and efficiency could add value. There are some commercial providers who would offer to do this now, but research is needed in terms of next level tools that will use AI and machine learning. |  | 2019 | 2025 | M | M | M | M
Inventory management
Integrated inventory/logistic management systems | Innovation Area | TRL 7 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Once tools, materials, parts and spares have been digitised, it is critical to develop, improve and apply integrated systems to ensure the materials strategy is optimised. |  | 2019 | 2025 | M | M | L | M |  |  |  | Potential to reduce exposure to hazard through more productive operations. Safety will be an important consideration in the development of intelligent systems
Smart spares & equipment tracking | Innovation Area | TRL 6 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | The digitisation of tools, parts, spares and equipment tracking. Increasing the efficiency of warehousing and logistics operations could reduce operating costs and increase the productivity of maintenance teams. This would trigger more rounded, data driven and 21st century approach than at present. |  | 2019 | 2027 | L | M | L | L
Human factors
Augmented reality applications | Innovation Area | TRL 4 | TRL 7 | Research Technical Organisations | Owner Operators | Enabling disruptive innovation | Offshore technicians perform a wide range of scheduled and unscheduled maintenance. Understanding the layout, requirements and condition of every system is an increasingly challenging task. The application of augmented reality (AR) technology – overlaying digital content onto the real world – provides a means to achieve this. AR headsets or devices with AR capability can be used as a support tool for onsite technicians; providing specialist advice, reducing risk and increasing the efficiency of offshore operations. Enabler will be RTOs with a help from Industry. | 0 | 2019 | 2023 | L | M | M | M | Will not significantly affect LCoE as AR technology will primarily be used to increase efficiency and reduce risk. | UK has developed VR technology for offshore wind and has some capability in this area. | AR technology will need to be tested/verified by technology providers first, prior to adoption by Owner Operators. | Can bring significant improvements in training technicians and minimise number of O&M trips
Decision making tools to reduce impact on H&S | Innovation Area | TRL 5 | TRL 7 | Research Technical Organisations | Owner Operators | Maximising operational performance of existing wind farms | Creating tools that primarily consider health & safety when making operational and maintenance decisions. Examples include personnel transfer, blade lift and rope access. |  | 2019 | 2025 | M | H | H | H
Human - Robot interface technologies | Innovation Area | TRL 4 | TRL 8 | Academia | Owner Operators | Enabling disruptive innovation | In order to support an increasing penetration of robotics and autonomous systems interfaces which aid the interface between these systems will be required. This may involve natural language translation or interfacing of autonomous systems with existing workflows such as marine control. |  | 2019 | 2035 | L | H | L | L |  |  |  | This does not directly have an HSE effect but aids in the development of technologies that could have a very high HSE impact
Robotic hubs and swarms | Innovation Area | TRL 4 | TRL 9 | Catapult | Owner Operators | Enabling disruptive innovation | Reducing the time spent offshore by manned vessels and technicians is a main cost driver for offshore wind farm operations and maintenance. Deploying robots and autonomous systems, such as drones, underwater vehicles and climbing robots to perform inspection, maintenance and repair (IMR) tasks has potential to reduce costs. Incremental cost reduction is possible whereby these robots are deployed, recharged and recovered by manned vessels i.e. semi-autonomous. However, significant cost reduction is possible when these tasks are fully-automated. One option is to use unmanned vehicle hubs that can autonomously transport, deploy, recover and recharge multiple robots for conducting IMR tasks. Further efficiencies are possible through the simultaneous deployment of different robots from the hub, working together in teams or swarms to deliver tasks both topside and subsea. |  | 2019 | 2030 | M | H | M | H |  |  |  | Significant potential to reduce personnel time at sea
Robotics & autonomous systems to total replacement of human working - development | Innovation Area | TRL 3 | TRL 5 | Academia | Owner Operators | Enabling disruptive innovation | The displacement of humans from repetitive and/or high-risk tasks by deployment of entirely autonomous robotic systems. Example repetitive bolt check or inspection tasks, where a human operator is only informed in event of an anomaly or event requiring their attention. |  | 2019 | 2025 | M | H | H | H
Robotics & autonomous systems to total replacement of human working - demonstration | Innovation Area | TRL 4 | TRL 7 | Research Technical Organisations | Owner Operators | Enabling disruptive innovation | The displacement of humans from repetitive and/or high-risk tasks by deployment of entirely autonomous robotic systems. Example repetitive bolt check or inspection tasks, where a human operator is only informed in event of an anomaly or event requiring their attention. |  | 2022 | 2031 | H | H | M | H
Robotics & autonomous systems to total replacement of human working - commercialisation | Innovation Area | TRL 6 | TRL 9 | Industry/SMEs | Owner Operators | Enabling disruptive innovation | The displacement of humans from repetitive and/or high-risk tasks by deployment of entirely autonomous robotic systems. Example repetitive bolt check or inspection tasks, where a human operator is only informed in event of an anomaly or event requiring their attention. |  | 2029 | 2040 | H | H | L | H
G+ Safe by Design workshops | Ongoing R&D project | TRL 5 | TRL 7 | Catapult | Owner Operators | Maximising operational performance of existing wind farms | We expect this project to be linked to element "Decision making tools to reduce impact on H&S". The aim of this project is to hold a series of workshops, to explore the current industry design on a various topic/risk areas and to investigate improvements in the design phase of an offshore wind farm project that will lead to a reduction in the number of incidents and to improvements and efficiencies in Health and Safety performance. | https://ore.catapult.org.uk/projects/g-safe-design-workshops/ | 2019 | 2020
HOME-Offshore: Holistic Operation and Maintenance for Energy from Offshore Wind Farms | Ongoing R&D project | TRL 3 | TRL 6 | Academia | Owner Operators | Maximising operational performance of existing wind farms | We expect this project to be linked to element "Decision making tools to reduce impact on H&S". Remote monitoring through advanced sensing, robotics, data-mining and physics-of-failure models has significant potential to improve safety and reduce costs. Typically, 80-90% of the cost of offshore O&M is a function of accessibility during inspection - the need to get engineers and technicians to remote sites to evaluate a problem and decide what remedial action to undertake. Minimising the need for human intervention offshore is a key route to maximising the potential, and minimising the cost, for offshore low-carbon generation. This will also ensure potential problems are picked up early, when the intervention required is minimal, before major damage has occurred and when maintenance can be scheduled during a good weather window. This project will undertake the research necessary for the remote inspection and asset management of offshore wind farms and their connection to shore. At present most O&M is still undertaken manually onsite. Note: TRLs for this project have not been updated. | http://gtr.rcuk.ac.uk/projects?ref=EP/P009743/1 | 2019 | 2020
SPOWTT - Improving the Safety and Productivity of Technician Transfer | Ongoing R&D project | TRL 3 | TRL 6 | Catapult | Owner Operators | Maximising operational performance of existing wind farms | We expect this project to be linked to element "Decision making tools to reduce impact on H&S". Offshore technicians perform essential scheduled servicing and unscheduled maintenance of offshore wind turbines. Planning O&M activity is challenging because it is difficult to predict whether sea conditions will allow turbine technician transfer via crew transfer vessels (CTVs). An added challenge is ensuring the safety and wellbeing of the technicians as they are transported in what can be very rough sea conditions. This project takes a novel approach by using digital technology to create a decision-making tool that will allow marine coordinators to make a more informed approach to crew transfers. This project will, for the first time, measure in parallel the motion of crew transfer vessels in certain weather conditions and sea states, as well as the psychological and physiological well-being of the technicians onboard. Optimising how CTVs make use of the ‘weather window’ to deliver technicians will reduce O&M costs by as much as 2%, leading to increased turbine availability. | https://ore.catapult.org.uk/projects/spowtt/ | 2019 | 2019
UK Robotics and Artificial Intelligence Hub for Offshore Energy Asset Integrity Management | Ongoing R&D project | TRL 3 | TRL 5 | Academia | Owner Operators | Enabling disruptive innovation | We expect this project to be linked to element "Robotics & autonomous systems to total replacement of human working". The Hub will provide game-changing, remote solutions using robotics and AI that are readily integratable with existing and future assets and sensors, and that can operate and interact safely in autonomous or semi-autonomous modes in complex and cluttered environments. We will develop robotics solutions enabling accurate mapping of, navigation around and interaction with offshore assets that support the deployment of sensors networks for asset monitoring. Human-machine systems will be able to co-operate with remotely located human operators through an intelligent interface that manages the cognitive load of users in these complex, high-risk situations. Robots and sensors will be integrated into a broad asset integrity information and planning platform that supports self-certification of the assets and robots. | http://gtr.rcuk.ac.uk:80/projects?ref=EP/R026173/1 | 2019 | 2021
Windfarm Autonomous Ships Project (WASP) | Ongoing R&D project | TRL 3 | TRL 5 | Industry/SMEs | Owner Operators | Enabling disruptive innovation | For offshore wind, Robotics and Artificial Intelligence (RAI) offers the opportunities to minimise the need to send personnel offshore, reduce health & safety risks, improve offshore wind turbine availability and potentially significantly reduce OPEX costs by c2.8% and reduce turbine downtime by c13%. A consortium will carry out industrial research to establish the baseline for autonomous vessel operations in offshore wind and verify the timeframe for their introduction. Windfarm Autonomous Support vessels Project (WASP) will undertake an 18-month industrial research project to benchmark the technological challenges facing the sector transition to autonomous support operations and chart a roadmap for the phased introduction of RAI systems for spares supply, asset surveillance, security patrol and crew transfer. The project will also create design specifications for new offshore command & control infrastructure and an innovative. Note: TRLs for this project have not been updated. | https://gtr.ukri.org/projects?ref=104072 | 2019 | 2019
Assets & Technical
Survey & Inspection
Automated survey and inspection data processing | Innovation Area | TRL 4 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Windfarms like most industrial plant generate significant data as part of their day to day operation. It is likely that additional insight and hence improved operational behaviour could be enabled by machine data analysis (AI). It will facilitate the processing of SCADA data and CMS data in an automated manner removing the need for technician/engineer involvement. |  | 2020 | 2040 | L | M | H | M |  |  |  | Survey is not a high-risk activity, but less manned vessel time will reduce exposure to risk
BVLOS autonomous systems | Innovation Area | TRL 4 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Beyond Visual Line of Sight autonomous systems. Example is a blade inspection drone where the pilot does not need to be able to see the vehicle at all times. This has significant technical challenges but would enable much more efficient use of drones by avoiding the limitation of getting people to within relatively close distance to turbines. |  | 2019 | 2031 | H | H | M | M
Non-diver based substructure inspection | Innovation Area | TRL 5 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Substructure inspection systems that do not require a human to drive or make real time decisions e.g. through the use of advanced camera systems or unmanned subsurface vessels. |  | 2019 | 2035 | M | H | H | H |  |  |  | One of the highest H&S priorities in the sector
Non-visual and non-contact sensing | Innovation Area | TRL 6 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Performing Non-Destructive Testing (NDT) on wind turbine blades to inspect for defects/damage below the surface is heavily dependent on the use of rope access technicians, which is both costly and a health and safety risk. The innovation challenge is to develop techniques for performing non-visual, NDT inspections of composite wind turbine blades remotely and without the need to deploy rope access technicians on blades. |  | 2020 | 2026 | L | H | L | H |  |  |  | This will directly lead to less technician on turbine hours
Subsurface inspection techinques | Innovation Area | TRL 5 | TRL 7 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Wind turbine blades are complex composite structures which are subject to complex loading. It is therefore potentially valuable to be able to conduct non-destructive inspections which will highlight defects not visible on either inner or outer surface of the blades. |  | 2019 | 2025 | M | M | L | H | Improved inspection techniques become most interesting when combined with autonomous inspection |  |  | Opportunity to reduce rope access activity, which whilst not a large source of accidents does involve exposure to significant risks
VLOS autonomous systems | Innovation Area | TRL 7 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Visual line of sight autonomous systems. Example blade inspection drone which will fly a programmed route under its own control but where an operator must still be present to launch/recover and be able to see the vehicle at all times. |  | 2019 | 2030 | L | H | M | M
Autonomous Aquatic Inspection and Intervention (A2I2) | Ongoing R&D project | TRL 5 | TRL 5 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | We expect this project to be linked to element "Non-diver based substructure inspection". Underwater robots are increasingly utilised for commercial and scientific applications to make measurements and interact with the underwater environment. The A2I2 (Autonomous Aquatic Inspection and Intervention) robots will operate in hazardous underwater environments, for offshore renewables, oil and gas, and nuclear applications. Two specific intervention use-cases will be addressed through demonstrators; offshore coring, and wet nuclear storage pond inspections and interactions. These demonstrators are significantly different and therefore enable the project to address multiple market opportunities. This project will address the need for new approaches that are required to permit operation near to critical infrastructure. These will include increased intelligence on the underwater robots to enable them to position themselves and navigate avoiding collision with the surrounding environment. Note: TRLs for this project have not been updated. | https://gtr.ukri.org/projects?ref=104822 | 2019 | 2021
Autonomous Offshore Wind Farm Inspection | Ongoing R&D project | TRL 5 | TRL 7 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Building on an existing capability for the inspection of onshore wind turbines, project aims to integrate this with an autonomous surface boat provided by ASV, creating a system which will automatically deploy and recover the inspection drone without the need for human interaction. The long-term vision of this project is to enable fully autonomous inspection for OWT - working from an autonomous boat whilst being monitored remotely from land. Key challenges associated with this project include mechanical deployment, robust operations, multi vehicle cooperation, communications and the handling and processing of large datasets. A fully autonomous system for offshore turbine inspection will not only significantly reduce the costs associated with ongoing inspection but will also improve the quality and quantity of the inspection data. This in turn will offer the potential for accurate condition monitoring and possible lifetime extensions. Note: TRLs for this project have not been updated. | https://gtr.ukri.org/projects?ref=104067 | 2019 | 2020
CleanWinTur – An ultrasonic system for anti-fouling and condition monitoring of offshore wind turbines | Ongoing R&D project | TRL 5 | TRL 7 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | We expect this project to be linked to element "Non-diver based substructure inspection". Increasing depth and distance from the shore continue to drive maintenance costs up, particularly those associated to the substructure, limiting the sector's growth potential. In particular, dealing with marine growth and corrosion through traditional means (i.e. divers) becomes increasingly costly, challenging, dangerous, and ineffective. CleanWintur will automate this process with a permanently installed system that uses ultrasound to prevent marine growth on the substructure while periodically monitoring the integrity of the structure. This way manual inspection and maintenance will be cut to half, reducing respective costs and dangers. Note: TRLs for this project have not been updated. | https://gtr.ukri.org/projects?ref=104218 | 2019 | 2021
Palantir - Real time inspection and assessment of wind turbine blade health | Ongoing R&D project | TRL 5 | TRL 7 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | The Palantir project will address the cost, environmental and health risks associated with carrying out inspections of wind turbine blades. The Palantir project will develop a remote sensing electronic package consisting of visual and acoustic sensors and will utilize advanced machine vision and machine learning analytics to continuously and automatically monitor the state of wind turbine blades. Note: TRLs for this project have not been updated. | https://gtr.ukri.org/projects?ref=103990 | 2019 | 2020
Project Anemoi | Ongoing R&D project | TRL 5 | TRL 7 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | The Anemoi project will create a technology step change in the system operability and functionality of Remotely Operated Vehicles (ROVs) in extreme offshore environments. Under this project SMD will undertake world leading industrial research with key partners Magnomatics and the ORE Catapult to improve the component level design and performance of their next generation ROV systems. This will look at new system enhancements to improve manoeuvrability in extreme offshore wind farm environments, plus the development and testing of novel sensing technology to improve the speed of operations and substantially reduce OPEX costs in relation to the deployment of offshore wind farm infrastructure. Note: TRLs for this project have not been updated. | https://gtr.ukri.org/projects?ref=104075 | 2019 | 2019
Control Optimisation
Disruptive wind farm wide control | Innovation Area | TRL 3 | TRL 5 | Academia | Owner Operators | Maximising operational performance of existing wind farms | Wind turbine controllers are designed by the OEM to optimise their chosen balance of production, loading and design life. There is limited/no consideration made to how individual turbines operate within an array or whole farm, for example how the wake of one machine may influence another. It is likely that advantages in both energy production (operator concern) loading (OEM concern) as well as the provision of services to the grid (grid operator concern) could be enabled by adopting a control strategy which optimises the operation of the whole farm as a single entity. A holistic view of this nature may also help to describe potentially more efficient maintenance behaviours. Provision of power system requirements should be integrated with the provision of O&M requirements by wind farm control. Thus, would then provide a systems level solution where the system is a large wind farm that can be extended to clusters and beyond to provide the flexible operation required to meet future scenarios. It will require cooperation between academia, through development of tools and optimisation of algorithms (these may need to be adaptive), and Industry through O&M data etc. |  | 2023 | 2028 | M | H | M | L |  | The UK is at the leading edge of development of wind farm controllers and is developing the most advanced analysis and design tools.
Evolution of current wind farm wide control | Innovation Area | TRL 6 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Wind turbine controllers are designed by the OEM to optimise their chosen balance of production, loading and design life. There is limited/no consideration made to how individual turbines operate within an array or whole farm, for example how the wake of one machine may influence another. It is likely that advantages in both energy production (operator concern) loading (OEM concern) as well as the provision of services to the grid (grid operator concern) could be enabled by adopting a control strategy which optimises the operation of the whole farm as a single entity. A holistic view of this nature may also help to describe potentially more efficient maintenance behaviours. The inputs to these controllers would include site information (site lay-out, wind and atmospheric conditions, time of year),turbine health information (maintenance schedules, SCADA data, CM data, failure log data and repair schedules), power generation supply and demand. It will require cooperation between academia, through development of tools and optimisation of algorithms (these may need to be adaptive), and industry, through O&M data etc. |  | 2019 | 2024 | M | M | L | n/a |  | The UK is at the leading edge of development of wind farm controllers and is developing the most advanced analysis and design tools.
Proactive turbine control | Innovation Area | TRL 4 | TRL 6 | Academia | Original Equipment Manufacturers | Maximising operational performance of existing wind farms | Currently wind turbines are controlled to achieve a strategy that depends on the wind speed. In addition to the wind farm wide control, an individual turbine could introduce the health of the turbine as an input. This would give the operator another lever to use in the long-term management of the wind farm. Many of the basic building blocks are at TRL3+ with others still at TRL1. These need to be combined into a single holistic system. |  | 2019 | 2023 | M | M | M | L | In long term potential might be High |  |  | Limited HSE impact
Lifetime Management
Holistic wind farm CMS and SHM | Innovation Area | TRL 5 | TRL 7 | Research Technical Organisations | Owner Operators | Maximising operational performance of existing wind farms | A significant challenge for wind farm owners and operators is to accurately calculate the remaining useful life of the assets. The data required for such analyses is generated by condition monitoring systems (CMS) and structural health monitoring (SHM) systems. Towards the end of life, this data will be critical to make the business case for life extension. |  | 2020 | 2030 | M | M | M | M | Potential to reduce LCOE is only Medium as developers are more willing to replace turbines and install bigger equivalent instead of extending life of existing ones. This procedure may stop once the nominal power of turbines will reach maximum. |  |  | This could result in safer assets, although risk associated with retrofit of systems is significant
Windfarm lifetime management tool | Innovation Area | TRL 5 | TRL 7 | Catapult | Owner Operators | Maximising operational performance of existing wind farms | Related to the point on whole wind farm control. Once in operation the design and actual operational lifetime of the plant will be a key concern for the operator and will influence, among other things the financial performance of the asset. If a tool could be provided which would give an operator an understanding of the asset lifetime implications of certain behaviours it may help them to adjust their strategies, and potential operate more efficiently/or more profitably over the entire life of the asset. It may also enable life extension of existing assets. Having a reliable evidence base upon which to base predictions of actual and remaining life will be the key challenge here. |  | 2019 | 2024 | n/a | M | M | L
Autonomous ice protection combining guided ultrasonic waves and electrothermal systems | Ongoing R&D project | TRL 5 | TRL 7 | Industry/SMEs | Original Equipment Manufacturers | Maximising operational performance of existing wind farms | Ice protection is essential for the operation of wind turbines operating in cold climates. Ice accretion on the blades of turbines can significantly increase operational costs, lower energy output, and decrease turbine lifetime. This project will develop WIN-D-ICE, a new system which provides automatic ice protection by combining existing state-of-the-art anti- and de- icing technologies. The system will achieve maximum performance at minimum costs and energy use by using sensors to detect ice on the blades and specialised software to automatically control system operation. Note: TRLs for this project have not been updated. | http://gtr.rcuk.ac.uk/projects?ref=102822 | 2019 | 2019
Intelligent Real-time Corrosion Monitoring and Detection on Wind Turbines (iWindCr) | Ongoing R&D project | TRL 5 | TRL 7 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | The Intelligent Real-time Corrosion Monitoring and Detection on offshore Wind Turbines (iWindCr) project will develop cost-effective and innovative technology comprising sensors and advanced software plus end-user applications for detection and monitoring of corrosion and surface damage on vulnerable parts of wind turbine installations. The outcome of the project is expected to improve turbine lifespan, output and reliability by reducing the O&M costs from unplanned or unscheduled maintenance caused by corrosion and surface damage to key turbine internal and external components. Note: TRLs for this project have not been updated. | http://gtr.rcuk.ac.uk/projects?ref=103504 | 2019 | 2019
Monitoring
Condition monitoring systems of balance of plant | Innovation Area | TRL 6 | TRL 9 | Catapult | Owner Operators | Maximising operational performance of existing wind farms | Balance of plant covers any part of the wind farm that is not the wind turbine system. The main components are substructures and cables. These components require good condition monitoring systems (CMS) to ensure the healthy operation of the wind farm. In the longer term, the data form these CMS will be critical for making the case for life extension. |  | 2020 | 2028 | M | H | H | M |  |  |  | This could result in safer assets, although risk associated with retrofit of systems is significant
Low cost metocean measurement infrastructure | Innovation Area | TRL 6 | TRL 8 | Research Technical Organisations | Owner Operators | Maximising operational performance of existing wind farms | Accurate forecasting of site met conditions and consequent plans and decisions about work at site are typically based on a small number of in site devices coupled with algorithms to extrapolate across the site. With a reduction in cost, many more sensors could be deployed leading to much better information about the conditions at site (e.g. wind speed, wind direction, wave height, wave period etc.). Potential benefits would be optimising the offshore logistics and improving power forecasting. It could be also used for improving access forecasting, lifetime extension or improving conservative design assumptions. |  | 2019 | 2027 | M | H | M | M
Satellite remote monitoring | Innovation Area | TRL 5 | TRL 7 | Research Technical Organisations | Owner Operators | Maximising operational performance of existing wind farms | It is considered likely that data with value to the optimisation of wind farm operations is being collected or could be available from satellite platforms. Examples include visual imaging, sea state monitoring, ground conditions and vessel movements and communications. |  | 2019 | 2024 | L | M | M | L |  |  |  | Could provide better wave height forecasting which minimised unsafe CTV transfer risks.
Adaptable design for low cost LIDAR | Ongoing R&D project | TRL 8 | TRL 8 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | We expect this project to be linked to element "Low cost met ocean measurement infrastructure". This project seeks to reduce the costs of offshore wind by targeting the wind monitoring infrastructure used at multiple stages of wind energy projects. By developing a factory adaptable laser wind sensor design the costs of such remote sensor systems can be reduced - by using a modular approach to the subsystem design, maintenance and down time costs can be reduced. The outputs from this project will include field demonstrators of different wind profilers set up for different applications. These wind profilers are based on LIDAR - (LIght Detection And Ranging) and the project brings together wind LIDAR developers, optical product designers, ruggedised optical instrumentation engineers as well as the wind industry end user. The project will make use of wind energy test sites in the UK and also in Germany - where a parallel project - looking at wind LIDAR vertical profiling and validation methods is being set up. Note: TRLs for this project have not been updated. | https://gtr.ukri.org/projects?ref=103895 | 2019 | 2022
Digital twins for improved dynamic design | Ongoing R&D project | TRL 5 | TRL 7 | Academia | Owner Operators | Maximising operational performance of existing wind farms | The aim of this project is to create a robustly-validated virtual prediction tool called a "digital twin". This is urgently needed to overcome limitations in current industrial practice that increasingly rely on large computer-based models to make critical design and operational decisions for systems such as wind farms, nuclear power stations and aircraft. The digital twin is much more than just a numerical model: It is a "virtualised" proxy version of the physical system built from a fusion of data with models of differing fidelity, using novel techniques in uncertainty analysis, model reduction, and experimental validation. In this project, we will deliver the transformative new science required to generate digital twin technology for key sectors of UK Industry: specifically power generation, automotive and aerospace. The results from the project will empower Industry with the ability to create digital twins as predictive tools for real-world problems that (i) radically improve design methodology leading to significant cost savings, and (ii) transform uncertainty management of key industrial assets, enabling a step change reduction in the associated operation and management costs. Ultimately, we envisage that the scientific advancements proposed here will revolutionise the engineering design-to-decommission cycle for a wide range of engineering applications of value to the UK. | https://gtr.ukri.org/projects?ref=EP%2FS00081X%2F1 | 2019 | 2023
WindTwin - Digital Twin of Wind Turbines for real time continuous monitoring and inspection | Ongoing R&D project | TRL 5 | TRL 7 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Project aims to revolutionise the monitoring and maintenance of wind turbines both onshore and offshore by developing an innovative digital platform that will virtualise with a digital twin the wind turbine behaviour and operation. These virtual models or twins will combine the mathematical models describing the physics of the turbine's operation, with sensor data collected and processed from real assets during real world operations. These virtual models will allow wind farm operators to predict failure and plan maintenance thus reducing both maintenance costs and downtime. | https://gtr.ukri.org/projects?ref=103387 | 2019 | 2019
Maintenance
Service
Statutory inspections
Decrease variations in between countries | Innovation Area | TRL 7 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Offshore wind is a Europe-centric Industry, with much of the workforce at least semi-transient across the continent. Despite this training, certification, legislation, best practices and safety behaviours amongst other things are understood to vary significantly between countries and individual projects. If these could be streamlined it would result in increased efficiency and/or reduced overheads. |  | 2019 | 2022 | M | M | M | M |  |  |  | Significant potential to ensure that highest standards from various areas are universally adopted
Planning
Smart maintenance planning tools | Innovation Area | TRL 7 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Dispatching maintenance teams and scheduling of maintenance activities is at present not optimised and will commonly rely on human judgement. Making planned tasks more systematic and also helping a site management team to understand what the implications of individual actions will be could enable more productive or efficient maintenance activities. This could be a software tool which optimises the planning of activities based on the anticipated outcomes and available resources. |  | 2019 | 2022 | L | M | L | L |  |  | There is already competition in the market for organisations offering such systems. | Slightly reduced H&S impact by minimising human judgment
Servicing
Automated Servicing | Innovation Area | TRL 4 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Wind Farm scheduled maintenance (aka servicing) involved every single turbine receiving the same checks, top ups, tightenings etc every year. It can take a long time and involves the same tasks annually. There is a very big opportunity to automate many of these tasks to minimise H&S risks by avoiding people transiting and visiting turbines, furthermore, the technicians can then spend more time troubleshooting and optimising performance. |  | 2020 | 2031 | M | H | L | H |  |  |  | Reduces requirement for personnel in offshore environment
Remote Inspection Technology Evaluation (RITE) | Ongoing R&D project | TRL 5 | TRL 7 | Catapult | Owner Operators | Maximising operational performance of existing wind farms | We expect this project to be linked to element "Automated Servicing". The Remote Inspection Technology Evaluation (RITE) service is an integrated range of services to support test, demonstration and assessment of remote turbine inspection technologies. Using the Levenmouth 7MW offshore wind demonstration turbine, ORE Catapult provides an open access facility for the evaluation of remote turbine inspection technologies. Experts from ORE catapult will work with technology developers to provide bespoke test plans addressing their specific testing needs. This may include research, demonstration and validation, benchmarking against established methods (e.g. rope access techniques), and training. RITE is designed to de-risk the use of remote inspection technologies and provide confidence in the quality of their outputs. | https://ore.catapult.org.uk/projects/simulation-to-enable-asset-life-extension-of-wind-turbines-sale/ | 2019 | 2019
Amphibious robot for inspection and predictive maintenance of offshore wind assets-IFROG | Ongoing R&D project | TRL 5 | TRL 7 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Foundation maintenance alone accounts for ~65% of O&M costs. InnoTecUK (robotic and automation solution provider) is partnering with two renowned research & technology organizations and end-user to develop and demonstrate an automated system (iFROG) for inspecting and streamlining maintenance of offshore wind assets. The new system will reduce maintenance costs by 50%, saving £150k p.a. per turbine. This will improve the cost-effectiveness and sustainability of offshore wind; encouraging future investment and benefiting energy security and the environment. | https://gtr.ukri.org/projects?ref=103991 | 2019 | 2020
Planned Corrective
Advanced coatings for substructures | Innovation Area | TRL 4 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | The development of coatings for (steel) substructures in the marine environment to reduce/eliminate maintenance tasks associated with the inspection for or remediation of damage, primarily corrosion. Perhaps self-healing coatings. As well as reducing maintenance overhead these could also increase operational life to improve cost of energy. |  | 2020 | 2035 | M | M | M | H | Existing standards only allow 20 year lifetime so extension needed for 25-30 year wind farm lifetime |  |  | Reduces requirement for personnel in offshore environment, which may include divers
Autonomous intervention systems | Innovation Area | TRL 3 | TRL 9 | Other | Owner Operators | Enabling disruptive innovation | Robotics and autonomous systems (RAS) applied to offshore wind farm surveys and inspections are gaining traction in the Industry, however using RAS for interventions, including maintenance and repair, is still in the R&D phase. There is significant potential for reduction in costs and health and safety risks by mitigating the need to send humans offshore to conduct maintenance and repairs on wind turbines and balance of plant. Developing autonomous intervention systems is one option. Example areas that would benefit from this innovation are (but not limited to): repair of wind turbine blades; testing of blade lightening protection systems; tightening of wind turbine bolts; removal of guano from foundations and transition pieces; removal of marine growth from substructures. |  | 2022 | 2040 | M | H | M | H |  |  |  | Will lead to many health and safety benefits: less time on turbines, safer working conditions and more
Novel aerodynamics improvements | Innovation Area | TRL 7 | TRL 9 | Research Technical Organisations | Owner Operators | Enabling disruptive innovation | The aerodynamic performance of a wind turbine rotor is one of the most important factors influencing the amount of energy converted from the wind into useful energy (i.e. as electricity). There is therefore a significant opportunity to improve wind farm performance by optimising the aerodynamic performance of the rotor. This includes improved blade design and aerodynamic add-ons (i.e. vortex generators). |  | 2019 | 2038 | L | L | L | L | Too expensive as retrofit.
Robotics repair technologies | Innovation Area | TRL 3 | TRL 9 | Research Technical Organisations | Owner Operators | Enabling disruptive innovation | A logical progression from robotics and autonomous systems which perform observations or inspections will be robotic systems capable of conducting physical repairs. As with other industries these are most likely to see applications in challenging environments first. Examples could include robotic systems to intervene in cable reburial, scour remediation or in situ cable repair. In situ remediation of damage to surface coatings where access is challenged by confined spaces or rope access. Further into the future robotic systems deployed from unmanned surface vessels are a possibility. |  | 2020 | 2040 | M | H | M | H |  |  |  | Reduces requirement for personnel in offshore environment
Major Repairs
Blade habitat systems | Innovation Area | TRL 7 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Wind turbine blades will require repair, including to their outer surface through their operational life. Enclosing the working environment to protect technicians and materials from environmental conditions, including control of temperature and humidity can increase the available working windows for repair activities. It may also enable higher quality of repairs. Alongside a habitat to enclose the working environment also consider whether/if an access system is also involved/required. Some systems have been used in full scale commercial work (e.g. GEV habitat and Rotos 360 repair bubble), but technology is not yet at full scale maturity. |  | 2019 | 2025 | L | H | M | L |  |  |  | May improve containment of environmental contaminants during repair process
CMS and machine learning for component prognosis | Innovation Area | TRL 5 | TRL 7 | Research Technical Organisations | Owner Operators | Maximising operational performance of existing wind farms | Condition monitoring systems (CMS) are designed to collect data for a project owner to assess how their asset is performing. How the owner should actually use the data generated by a CMS system is emerging as a significant challenge across the offshore industry and for many different wind farm components. One of the most promising areas is the application of machine learning and artificial intelligence (e.g. Neural networks, SVMs, Logistic recession, GP etc). These algorithms allow the identification of sub-optimal performance and the advanced notice of failures and issues (predictive maintenance). |  | 2019 | 2023 | L | M | M | L |  |  |  | A critical step in predictive maintenance that reduces personnel at site.
Novel heavy lift systems | Innovation Area | TRL 4 | TRL 6 | Research Technical Organisations | Owner Operators | Enabling disruptive innovation | One pinch point in the end to end process of getting a turbine component from the factory to an operational site is the lack of access to the necessary heavy-lifting tools to manipulate the major components. With more transparency and better lifting tools, a market could be developed around this process which would ultimately reduce the time taken and cost of installation and major component O&M. |  | 2019 | 2022 | M | L | L | L
Advanced structural health monitoring system for offshore cranes (CraneScan) | Ongoing R&D project | TRL 1 | TRL 1 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | We expect this project to be linked to element "Novel heavy lift systems". While cranes are used offshore they face heavy load operations up to 10,000t and environmental challenges (e.g. wind,vessel motion)that increase the risk of structural failures. A structural failure of a large crane unavoidably leads to serious damages or total collapses. Current inspections, performed once/twice a year are dangerous, time consuming and expensive. The CraneScan project will address 4 key needs: enhanced safety, downtime reduction, capital cost reduction and insurance cost reduction. CraneScan will demonstrate an innovative, reliable, cost-effective structural health monitoring system (SHM) that will continuously monitor the crane remotely and automatically detect structural integrity failures before they lead to failures. Note: TRLs for this project have not been updated. | http://gtr.rcuk.ac.uk/projects?ref=103613 | 2019 | 2019
Structural Health Monitoring of Systems: Populations, Networks and Communities | Ongoing R&D project | TRL 1 | TRL 1 | Academia | Original Equipment Manufacturers | Enabling disruptive innovation | The complexity of modern structures and their challenging operating environments make it difficult to develop algorithms that can detect and identify early damage. The relevant discipline - structural health monitoring (SHM) - suffers from problems that have prevented uptake of the technology by Industry. Although structural complexity makes analysis difficult, one variant of SHM - the data-based approach - shows great promise. In this case one uses machine learning techniques to diagnose damage from measured data. Data-based SHM faces a number of challenges; the first is that most data-based approaches to SHM require measured data from the structure in all possible states of damage. For a structure like an 5 MW wind turbine - it is simply not conceivable that one should damage a single one for data collection purposes, let alone many. Fortunately, if one is only interested in whether damage is present or not, this is possible using only data from the healthy condition. One builds a picture of the healthy state of the structure and then monitors for deviations. This raises a second issue with data-based SHM; if one is monitoring the structure for changes, one does not wish to be deceived by a benign change in its environmental/operational conditions - so-called 'confounding influences'. Note: TRLs for this project have not been updated. | https://gtr.ukri.org/projects?ref=EP%2FR003645%2F1 | 2019 | 2021
Decommissioning
Foundations extraction and decommissioning equipment | Innovation Area | TRL 2 | TRL 6 | Academia | Owner Operators | Maximising operational performance of existing wind farms | New equipment needs to be developed to enable decommissioning and resource recovery. Dismantling and transporting installations can be costly and current techniques require expensive, short in supply, vessels to facilitate the work. New vessels need to be developed to facilitate transport of decommissioned components. Research into operating without cranes would provide useful technical export expertise. Cables present a further challenge as currently it is assumed that they will be left in the seabed, regardless their value. Suitable locations for storage and deconstruction/remanufacturing of components is another pressing issue. This is exemplified by some areas of the Humber which lack quays and port facilities able to accept larger vessels and heavier turbine materials, yet it is at the heart of the largest installation developments. The latter requires mobile plants (cranes, vessels, temporary processing facilities ahead of land-transport) to transform components ready for transport to further reuse, remanufacturing and recovery infrastructure. |  | 2019 | 2024 | M | M | H | H | Progress on this element is most urgently needed because current decommissioning and initial processing equipment ahead of reuse, remanufacturing and recovery is either absent or expensive. | There is potential in the UK to create space in deep-water ports for receipt and initial processing of decommissioned components with, for as far as it has been developed already, sites where further processing can take place in the hinterland. | This is an urgent issue that needs to be addressed till 2023 and in a coordinated manner, while currently there is a lack of joined up thinking on where to locate these activities considering economical viability (closely related to transport costs), embedding in existing industrial structures and skilled labour, and environmental impacts.
Resource recovery, reuse and remanufacturing | Innovation Area | TRL 2 | TRL 5 | Academia | Owner Operators | Maximising operational performance of existing wind farms | There are a number of options for components when windfarms have been decommissioned. At end-of-use a component would ideally be reused or remanufactured, if this is not possible then materials should be recycled and, as last resort, the energy value could be recovered. This introduces circular economy technologies and business models into the low-carbon sector. However, infrastructures to process turbine components are underdeveloped. Solutions for direct reuse need to be developed from concept stage upwards. Remanufacturing is in early development and challenging due to new and better designs entering the market. Material recycling solutions for composites in blades are technically available but too costly in practice and generally not yet deployed at a large scale. This results in capacity issues and higher transport costs; towers could be melted and recycled; solutions for nacelles have not been commercially deployed in the UK meaning (near) critical materials are lost for direct use domestically and add to dependence on raw material imports. Markets need to be developed for recycled materials. |  | 2019 | 2023 | M | M | H | H | Reuse, remanufacturing and material recycling potentially generates additional value, thereby reducing overall decommissioning and resource recovery costs. This is important because these costs are likely to be strongly underestimated. | UK is well-placed to build on its existing infrastructure for e.g. vehicle recycling, steel recycling, ports; new infrastructure could be co-located with these and extend low-carbon infrastucture supply chains generating more jobs and added value. | Regulation must increase robustness of decommissioning plans and inclusion of more realistic cost estimates for decommissioning and resource recovery. This will drive demand to reduce costs and explore circular economy opportunities (and associated infrastructures) to generate more economic value, jobs, and resource security.
Site repowering | Innovation Area | TRL 4 | TRL 8 | Research Technical Organisations | Owner Operators | Maximising operational performance of existing wind farms | After 25-30 years of wind farm lifetime a site can be either fully decommissioned or partially/fully repowered. Partial repowering involves extending the operational life of some turbine and array components by reconditioning or replacing other less durable components of the turbine (e.g. retaining foundations, sub-sea cabling, towers and replacing nacelle and/or blades). With the growth in turbine size and consequent capacity, full repowering can involve a reduction in the total original number of turbines whilst still retaining the farm’s operational capacity, or an increase in the capacity of the array with a complete replacement of all turbines. More work is needed on the limits to attaching a higher capacity nacelle to a tower and to a foundation designed for older, smaller capacity components. Similar work is needed in respect of the safety and long-term operational efficiency limitations of placing larger rotors onto older drives, particularly geared models. Given that most farms are placed in what were deemed at the time to be the windiest and most accessible areas, and the rapid advances in turbine technologies and LCOE, there is also work needed on the environmental and revenue benefits and costs of early partial or full repowering of current farms. |  | 2019 | 2023 | M | M | M | M | There is the potential to uprate the complete array or sections of array to achieve same power generation capacity with less turbines. | UK is lagging behind in repowering compared to other countries in Europe where demand for repowering may emerge sooner. | There is still potential for UK companies to enter the repowering market. Expertise in offshore repowering is generally underdeveloped and there is an early mover opportunity.
Site restoration | Innovation Area | TRL 3 | TRL 6 | Academia | Owner Operators | Maximising operational performance of existing wind farms | If a windfarm at end-of-use will not be repowered, then the complete site needs to be decommissioned and the site restored to its “natural” state. Assessments need to be carried out to analyse impacts of decommissioning scenarios on the established ecosystems on the windfarm e.g. the extent to which substructures and cables in the seabed will be removed. Studies should be undertaken early on, especially with regard to ground conditions both technical (e.g. the amount of overburden to be removed) and ecological (e.g. assessing what the pre-installation ecology is, so that one has a baseline for a ‘return to natural state’). The benefits of site restoration, such as the economic and functional value of recovered materials, restored environment must be compared to the costs, such as damage to newly established flora and fauna on the windfarm. |  | 2019 | 2021 | L | H | M | H | Assuming site restoration starts from the point where wind turbines and other components of the windfarm aside from the bases and cables have been removed, there is less potential to generate economic value from the remaining materials that can be recovered. | Given the regulatory frameworks in place and the high level of consultancy services, the UK is well place to realise the benefits. | The anticipated benefits are low and offer little incentive to fully restore sites. Academia must collaborate with consultancies to develop transparant, evidenced assessments of the most optimal site restoration scenario from a whole system perspective. This initiative must be backed by regulation.
Enabling Research
Digital
Artificial Intelligence | Innovation Area | TRL 1 | TRL 6 | Academia | Owner Operators | Enabling disruptive innovation | Artificial Intelligence can have multiple applications in all stages of windfarm lifecycle. Taking O&M as an example – AI application involves a supervisory system that utilises conventional design and operation rules combined with Machine Learning/Deep learning from big data from the internet of things. AI could be a decision support system or a complete framework for collecting information and acting upon this without human intervention. Challenges are verification/validation of AI systems and quantitative assessment of confidence in AI performance. Other examples could include design optimisation, turbine control, Turbine Yaw Error and Control, Grid Balancing or Transmission Fault Diagnostics and Prognostics. |  | 2019 | 2036 | H | M | M | H
Cybersecurity | Innovation Area | TRL 6 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Cybersecurity is a crucial component of digitalisation. Protecting data (such as asset designs, operational information and company IP) from attack is of interest across the supply chain. A proactive approach to cybersecurity is required to be able to respond to the ever-increasing threat of digital attack. These threats appear in forms such as theft of company IP and data or the ‘hijacking’ of operational assets. As the renewables industry increases its reliance on digital technology, the requirement for robust cybersecurity measures will become ever more prevalent. This will require coordination between Industry and Academia. |  | 2019 | 2025 | L | H | L | M |  |  | May be forced to do this from a data breach or asset ‘hijacking’. Operators will have to be proactive to make sure they have the necessary protections in place. | Not in the conventional sense of ‘safety’, but cybersecurity will protect against theft of personnel IP and, more importantly, asset hijacking
Internet of things | Innovation Area | TRL 3 | TRL 9 | Industry/SMEs | Owner Operators | Enabling disruptive innovation | Internet of Things involves components and assets communicating between each other and is an evolution of condition and structural health monitoring technologies. This should include the transducers along with signal conditioning and low -level data processing/reduction. Major issues are the reliability of sensors and calibration of sensor systems. It will need coordination between RTOs, Academia and Industry/SMEs. |  | 2019 | 2030 | M | M | H | L | This will involve system integration of SCADA and SHM systems | Unlikely to involve protected IP, more likely to result in communications protocols and standards/best practice.
Machine learning / deep learning from big data | Innovation Area | TRL 3 | TRL 9 | Academia | Owner Operators | Enabling disruptive innovation | Machine learning and drawing benefit from disparate data sources promises both benefits to optimisation of control and operation strategies towards optimal O&M intervention in addition to better understanding of design and modelling assumptions which should lead to improved design of future structures and machines. Issues to be addressed include the integration of numerical models with sensor data to interpolate within individual machines and across arrays, sensor reliability and algorithm and parameter characterisation. A challenge will always be the confidence in which results can be relied upon and so verification and validation cases/methods will be critical. |  | 2019 | 2025 | M | H | H | M |  | Potentially an area where the UK can be a real leader |  | Optimised O&M operations
Advancing Underwater Vision for 3D Phase 2 | Ongoing R&D project | TRL 1 | TRL 1 | Industry/SMEs | Owner Operators | Enabling disruptive innovation | Safe and efficient construction, operation and decommissioning of subsea assets is critically important to UK and worldwide energy production. From construction to decommissioning, underwater survey provides the data to monitor condition, predict asset life and ensure the environment is protected. We aim to deliver a step change in efficiency and safety by delivering live, dense, 3D point cloud data from small, Remotely Operated Underwater Vehicles. This will enable smaller vessels to be used with fewer crew, no divers, and removing the need to put people at risk. Compared to traditional visual survey, 3D data allows accurate measurement and repeatable, reliable metrics for asset condition monitoring and automatic monitoring from autonomous underwater vehicles (AUVs). Ultimately, live 3D enables accurate navigation for fully autonomous inspection AUVs reducing manpower and increasing efficiency yet further. Currently, AUVs do not possess the detailed mapping and localisation required for visual inspection work. Quality 3D visual data is also a prerequisite to applying artificial intelligence and deep learning solutions to 3D images thereby enabling greater autonomy and reliably repeatable measurements. Note: TRLs for this project have not been updated. | https://gtr.ukri.org/projects?ref=104828 | 2019 | 2020
Design
Design for marine life and aquaculture | Innovation Area | TRL 2 | TRL 5 | Academia | Owner Operators | Enabling disruptive innovation | Currently, the design process of a turbine, an array and associated infrastructure does not take into account the potential to enhance marine life (biodiversity), contribute to fisheries sustainability or aquaculture production. This process may have conservation value and may provide nursery areas for commercially relevant fish and shellfish, but there is a need to undertake research to assess the potential value of this process. In the longer term, this could contribute to the sustainability of local fishing opportunities. The use of offshore renewable sites for aquaculture has been explored in principle and through some limited trials, but there are likely to be significant logistical, biological and economic challenges to successful, commercial deployment. There is opposition to renewables developments that are perceived or in reality compromise fishing activity. Developing clear and demonstrable pathways to achieving these objectives could potentially help to streamline consenting and licencing processes and perhaps more importantly secure social license. There are potentially significant cost savings in this process. |  | 2020 | 2030 | L | M | M | H | This element wouldn’t drive LCOE down but could enable additional revenue generation. Successful design could boost fishing industry confidence to go back to fishing grounds. | Links to sustaining a strong commercial fishing industry
Product environmental design | Innovation Area | TRL 2 | TRL 4 | Academia | Original Equipment Manufacturers | Enabling disruptive innovation | Resource security is a growing issue for low-carbon infrastructures that depend on a combination of raw materials (rare earth metals, lithium, cobalt), copper and aluminium. All components and materials in a turbine should be designed for durability, recycling and disassembly, in particular composite materials used in blades. A balance must be found between cost, durability, extending the lifetime of components and the ability to recover materials at end-of-use. The unknown long-term ageing behaviour of composites in the offshore environment and the potential for using self-healing is a further challenge. This requires material and component design that enables disassembly, recycling and, following that, the use of recycled materials in low-carbon infrastructures. Design for maintaining the value of components and materials for longer offers opportunity to reduce costs and opens new business opportunities. There exist tools to enable lifetime CO2 cost, but their use in offshore wind has been limited so far. |  | 2019 | 2023 | L | H | H | H | Extending the lifetime of components can increase return on investment and material recycling should reduce decommissioning and resource recovery costs and/or open new business opportunities. | Academic excellence in material design and recycling technologies is high. | Under current market conditions of high material recycling costs and underdeveloped markets for secondary resources there is little incentive for Owner Operators to demand components and materials designed for recycling. Regulation and/or incentives are needed to spark demand from operators, and the R&D requires cooperation between OEMs and Academia. | High impact on environmental issues and it is yet to become a mainstream approach to design process.
Data
Classifying data, meta-data | Innovation Area | TRL 3 | TRL 7 | Research Technical Organisations | Owner Operators | Maximising operational performance of existing wind farms | Classifying data involves labelling and grouping datasets to provide context. In offshore renewables this could involve the creation of common taxonomies between turbine types or mapping alarms to specific turbine components. This metadata would allow for direct comparison of different technologies, could be used to optimise O&M processes and would provide a means of industry-wide benchmarking. This level of understanding would enable Owner Operators to have a better understanding of the performance of their assets and could be used to optimise operation and maintenance processes. |  | 2019 | 2025 | L | H | H | L | Wouldn’t significantly reduce LCoE but in long term it would allow industry to optimise their operations. | The main driver for this is collaboration between industry. This could be done in any country but is UK well positioned to do that with an independent moderator such as the Catapult. | An independent body will need to organise industry to be able to collaborate in this way.
Utilising data | Innovation Area | TRL 3 | TRL 6 | Research Technical Organisations | Original Equipment Manufacturers | Maximising operational performance of existing wind farms | Data utilisation is an overarching term used to describe a wide range of concepts and techniques aimed at exploiting available information. In this context data utilisation is performed with the aim of data-driven decision making. In the offshore renewables industry, data utilisation techniques can include: post-event analysis, use of current operational data and forecasting of future trends. The level of data utilisation is varied across industry, providing the opportunity for innovation and collaboration between offshore wind stakeholders. |  | 2019 | 2031 | M | H | H | L | This depends on the engagement by OOs and the impact their use of data has. | UK has high expertise in this field and can actively engage in data and digital activities. | Although some OOs do actively engage in data utilisation activities, some will need external bodies to help kickstart a culture change within their organisation. | Optimised O&M operations