## Version Control
Document name | Turbines Innovation Roadmap
Document Number | PN000384-ANA-004
Issue Number | 5
Issue No: | Date Issued: | Author | Approver | Revision History
1 | 2018-02-28 | K. Stefaniak | J. Flowers | First Issued
2 | 2018-10-25 | K. Stefaniak | A. Stormonth-Darling | Second Issued
3 | 2019-04-05 | K. Stefaniak | A. Stormonth-Darling | Third Issued
4 | 2020-01-31 | K. Stefaniak | A. Stormonth-Darling | Fourth Issued
5 | 2020-09-30 | K. Stefaniak | A. Stormonth-Darling | Fifth Issued
Disclaimer Notice
Whilst the information contained in this report has been prepared and collated in good faith. The Offshore Wind Innovation Hub makes no representation or warranty (express or implied) as to the accuracy or completeness of the information contained herein nor shall we be liable for any loss or damage resultant from reliance on same.

## Turbines
Description | Type of Entry | Requires implementation offshore | Start TRL | Target TRL | Enabler | Beneficiary | Strategic Outcome | Notes | Website | Forecast Start | Forecast Finish | Potential to Reduce LCoE | UK Benefit | Case for Intervention | HSE Impact | Potential to Reduce LCoE (comments) | UK Benefit (comments) | Case for Intervention (comments) | HSE impact (comments)
Turbines
Rotors
Floating wind
Pitch control for floating wind | Innovation Area | no | TRL 6 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Enabling disruptive innovation | Background: Pitch control set wind turbine blades at the best angle to the wind to turn the rotor based on real-time wind speed. Purpose is to adjust output power, achieve higher utilization efficiency of wind power and provide protection for rotor blades. Innovation: Using a floating platform introduces additional motions that must be reflected in the design stage. The control system has to be redesigned and control these motions (structural resonance avoidance, rotor speed regulation and platform pitching). Industry is the actor, but will need help of Academia and RTO. |  | 2020 | 2023 | M | M | M | n/a | Medium-Low. Industry has already developed inhouse pitch control technology for floating wind and focus should be on commercial implementation. Control algorithms will be dependent on foundation type, but benefits for the industry are yet to be clarified. |  | Pitch control is responsible of minimising the loads for the whole structure and key to make offshore wind in deep waters to happen | May actually increase H&S risks
New floating WTG configurations | Innovation Area | yes | TRL 5 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Enabling disruptive innovation | Background: Current commercially produced offshore wind turbines are three-bladed, horizontal axis, pitch-regulated and upwind, mounted on a tubular tower and with yaw system designed to keep the turbine facing the wind during operation. Current aero-elastic codes such as Bladed by DNV-GL and HAWC2 by DTU are restricted to horizontal axis wind turbines. No commercial or open source aero-elastic code exists for vertical axis, and as obtaining loads using aero-elastic tools is the first step in the design chain this is a serious stumbling block for vertical axis. Innovation: A wider range of turbine configurations is potentially feasible. Longer-term, there are possibilities to implement 2-bladed, down-wind, multi-rotor turbine or vertical-axis solutions. Such innovations generally aim to improve energy production without significantly increasing CAPEX and OPEX. The vertical-axis options are the new turbine configurations that could benefit most from a floating application, but most likely to be investigated after a successful ramp up of floating wind with currently available WTG configuration. |  | 2025 | 2040 | H | M | M | L | Floating wind specific systems, as opposed to legacy systems should unlock costs savings. These however, will only come into force once the design has been mass produced and industry adopted. | UK, particularly Scotland, is expected to be a key market for the UK. As such new fabrication shops for new floating WTG configurations could potentially be set up in the UK (as opposed to conventional WTG with already well-established supply chain). | In early stages of development, these designs are expected to be developed using research funds (public and private). Once they reach a higher TRL, existing WTG OEMs will look into them and if promising develop into a final product. Medium-High | Design dependent but could be reduced material requirements (optimised for FOW) or reduced inspections (improved H&S).
Testing methodologies for floating wind components (blades) | Innovation Area | no | TRL 2 | TRL 8 | Industry/SMEs | Original Equipment Manufacturers | Enabling disruptive innovation | Background: All blade components are tested before use. The quality of this testing has increased in recent years, but design is still suboptimal. Holistic multi-objective design processes balance the aerodynamic and structural requirements of blades. Innovation: Further progress via the use of more advanced tools and modelling techniques will continue to improve aerodynamic performance and effectively increasing blades reliability and CAPEX. Test results will enable improvements in blade design standards and optimise processes. |  | 2030 | 2035 | M | M | H | L | Reduced risk which should results in lower insurance costs and project financing, reduced OPEX costs, but could lead to increased CAPEX. | ORE Catapult facilities in Blyth are uniquely placed to develop and perform HALT for blade to be installed on floating wind turbines. | It is expected that the development will be spearheaded by testing facilities. | Reduced human intervention by reducing probability of equipment failure. Fewer blades, leading to reduced environmental impact as blades are currently not recycled.
Disruptive blades
Smart blades (flaps, slats, morphing) | Innovation Area | yes | TRL 6 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Commercialising >15MW turbine platforms | Background: Varying blade pitch and rotational speed is the common way to control the load on turbine blades, but in irregular winds, this method is not fast enough to alleviate loads in larger wind turbines. Innovation: Smart blade technologies offer an alternative. By changing the shape and aerodynamics of individual blades, the latter can adjust lift quickly and attenuate the fatigue loads. Structures that emerged up to date include flaps, slats and morphing. Other advantages include noise and visual aspects. Most probably will be demonstrated onshore first. |  | 2020 | 2026 | L | H | H | L | Potentially higher in long term |  |  | Overall weight of blade will be reduced, but n/a in H&S and it may actually increase number of inspections
Aeroelastic tailoring | Innovation Area | no | TRL 4 | TRL 6 | Research Technical Organisations | Original Equipment Manufacturers | Commercialising >15MW turbine platforms | Background: The aerodynamic performance of a wind turbine rotor is one of the most important factors influencing the amount of energy converted from the wind into useful energy (i.e. as electricity). There is therefore a significant opportunity to improve wind farm performance by optimising the aerodynamic performance of the rotor. Aeroelastic tailoring is the embodiment of directional stiffness into a structural design. Blades will be manufactured in the same way, but aeroelastic tailoring will reduce loads allowing larger blades on the same platform. Innovation: Aero-elastic tailoring optimisation software (such as ATOM by Bristol University) involves combining blade cross section analysis tools, aero-elastic tools and blade failure analysis tools into one holistic piece of software, so that the effect of changing the angle of the fibres is reflected in reduced stresses or lighter weight blades. ORE Catapult is investigating this through the WBRH. Enabler is RTO but will need help of industry and academia. |  | 2020 | 2022 | M | L | L | n/a |  | Most of this work is undertaken by OEMs, so UK impact would be limited to research | Research in this area is ongoing | Insignificant materials savings that would improve environmental impact
Segmented blades | Innovation Area | yes | TRL 7 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Commercialising >15MW turbine platforms | Background: Over the last years, blades increased in size from ~60m to beyond 100m. Splitting blades into two pieces is emerging as a potential solution to overcome logistical challenges posed by the rise of giant turbines. The process of so-called blade segmentation would allow companies to save on transport costs while reducing the need for expensive factory expansions. Innovation: It is not quantified how much production costs would rise and what could be logistical savings. Optimisation work is essential as it’s understood that segmented blades are less of a technical challenge and more a financial challenge. |  | 2020 | 2023 | L | M | M | L |  | Would allow blade factories to move away from the coast | Not a focus area for OEMs | It would lead to handling smaller parts within factories which would slightly increase safety
Recyclable thermoplastic blades | Innovation Area | yes | TRL 6 | TRL 7 | Research Technical Organisations | Owner Operators | Commercialising >15MW turbine platforms | Background: Current materials used on blades are difficult and costly to separate and currently have minimal recoverable value preventing their re-use. Industry is developing thermoplastic variants with direct substitution for the current thermosets which have been demonstrated at a small scale. Innovation: Maximise the potential of thermoplastic blade materials by considering alternative design and manufacturing processes. Enabler is RTOs but they will have to cooperate with the Industry. |  | 2020 | 2025 | M | H | M | H | If all benefits of the technology, including segmented blades, are developed | If developed in UK |  | Huge impact on environmental issues due to large reduction in landfill
Two bladed turbines | Innovation Area | yes | TRL 7 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Enabling disruptive innovation | Background: Two bladed turbines are currently not in use in offshore wind, but industry may consider returning to them once blades get too long or floating wind is enabled. Two blades might have advantage over three blades in terms of substructures (lattice towers), O&M (landing helicopters) but increase fatigue loads if no changes are made to the pitch control. This is especially applicable to floating wind as some research point that the concept of the two bladed rotor mounted on a semi-floater is shown to have significant benefits in fatigue load reduction of the sub structure and results in a reduction of LCOE by 7%. Innovation: The transport, installation and O&M benefits are immediately clear but there are doubts relating to the competitiveness with three bladed turbines. Two-bladed specific controller strategies demonstrated with aero-elastic codes and blade/tower/sub-structure finite element modelling are required to demonstrate conclusively that a two-bladed turbine can be competitive. No new products are required to do this work as the tools exist already. |  | 2020 | 2025 | M | L | H | L |  |  |  | Two bladed turbines could be mounted onshore
Development of radically different blade structure | Innovation Area | yes | TRL 3 | TRL 5 | Academia | Other Suppliers | Enabling disruptive innovation | Background: As blades are increasing in size, they also increase in weight. With current materials industry will reach a maximum point that it will not pass if additional research is undertaken. Innovation: New manufacturing techniques, new materials and new structural design e.g. use of textiles, structural stiffeners. Currently, not many companies look into that (ACT Blade) and additional support is needed. |  | 2020 | 2024 | H | M | H | M |  | if this would be developed in UK to achieve competitive advantage. |  | Results are unknown yet as it will depend on a design
Demonstration of radically different blade structure | Innovation Area | yes | TRL 4 | TRL 7 | Research Technical Organisations | Original Equipment Manufacturers | Enabling disruptive innovation | Background: As blades are increasing in size, they also increase in weight. With current materials industry will reach a maximum point that it will not pass if additional research is undertaken. Innovation: New manufacturing techniques, new materials and new structural design e.g. use of textiles, structural stiffeners. Currently, not many companies look into that (ACT Blade) and additional support is needed. |  | 2020 | 2025 | H | M | H | M |  | If developed in UK to achieve competitive advantage |  | Results are unknown yet as it will depend on a design
Extremely lightweight offshore wind blade | Ongoing R&D project |  | TRL 1 | TRL 1 | Industry/SMEs | Original Equipment Manufacturers | Enabling disruptive innovation | We expect this project to be linked to element "Development of radically different blade structure". The ACT Blade is a modular textile-based composite offshore wind turbine blade. It has a patented innovative manufacturing process that will provide lighter wind turbine blades leading to increased energy production and a decreased the levelised cost of energy (LCOE). In addition, the patent-pending load control system is able to increase blade efficiency and maximise durability. The production of lighter wind turbine blades by ACT Blade will enable larger wind turbines to be deployed within the field, significantly reducing costs per unit of electricity generated. This project aims to design, manufacture, test and validate a prototype of a scaled version of the offshore ACT Blade. The proposed consortium (established by ACT Blade) comprises Offshore Renewable Energy Catapult (OREC), together with the Lightweight Manufacturing Centre (LMC) partners: Advanced Manufacturing Research Centre (AMRC) and the Advanced Forming Research Centre (AFRC). Between them, the consortium has many years of composites, manufacturing, industrial test, commercial and management experience. Note: TRLs for this project have not been updated. | https://gtr.ukri.org/projects?ref=105127 | 2020 | 2020
Advanced testing & validation
Improved full scale testing for 100m+ blade | Innovation Area | no | TRL 4 | TRL 9 | Catapult | Owner Operators | Commercialising >15MW turbine platforms |  |  | 2020 | 2021 | M | M | H | n/a |  |  | It's a core part of our business and we need to continue to innovate to stay relevant | Irrelevant to HSE
Fracture mechanics & condition monitoring | Innovation Area | no | TRL 3 | TRL 5 | Academia | Owner Operators | Commercialising >15MW turbine platforms | Background: Condition monitoring systems (CMS) are designed to collect data for a project owner to assess how their asset is performing. How the owner should actually use the data generated by a CMS system is emerging as a significant challenge across the offshore industry and for many different wind farm components. Innovation: Better understanding on damage growth in blade and use the information generated via CMS to identify and predict the lifetime. Current fracture mechanic model can be used on bond-line but not composite structure. |  | 2020 | 2025 | H | M | L | M |  | Dominated by Overseas, but possibly few jobs created | RTOs already on the way of doing this | Condition monitoring could reduce number of human interventions
Non-destructive testing procedures | Innovation Area | yes | TRL 4 | TRL 9 | Academia | Original Equipment Manufacturers | Commercialising >15MW turbine platforms | Background: Non-destructive testing (NDT) is used to evaluate the blade structure, post-manufacturing and in-field, for defects and damage. Current NDT techniques have limitations for depth penetration due to wave/heat transfer through non-conductive composite materials, the results require timely expert interpretation, and they can be limited outdoors by field conditions. Innovation: New techniques which allow deep penetration in composites with accurate results and easy interpretation of the damage/defects. |  | 2020 | 2027 | M | M | M | L | Difficulties in scanning thick composites |  |  | May reduce number of defects in blades in service which could require repair
Advanced understanding and prediction of failure
Engineering / Simulation validation of tools for WTG behaviour | Innovation Area | no | TRL 5 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Commercialising >15MW turbine platforms | Background: WTG behaviour tools allow to design and certify new wind turbine prototypes. Having an accurate and reliable prediction of their performance, we can optimize these new prototypes at a very early stage minimizing costs. This early optimization will directly benefit the final LCOE of wind energy. Innovation: Tools for wind turbine generator behaviour are available, but as blades are getting longer they need to be updated and validated. E.g. The 7MW Research platform in Levenmouth allows ORE Catapult to compare and validate these tools (namely Bladed, FAST and HAWC2) against real measurements, giving a unique asset to take the state of the art of wind energy design one step further. |  | 2020 | 2023 | H | L | H | n/a | Permits improvements across the whole design chain. | High-low as possibly few jobs created
Improved blade structure models | Innovation Area | no | TRL 5 | TRL 7 | Research Technical Organisations | Original Equipment Manufacturers | Commercialising >15MW turbine platforms | Background: Improve existing shell (blade structure) model to allow calculation through the thickness of the material. Currently designs are based on the material maximum load acceptance limit, but blades seem to fail progressively in real life. Delamination cannot be captured using existing blade structure modelling. Torsion stiffness cannot be properly captured by shell models. Innovation: Existing finite element codes can already do the types of analysis required to capture these effects but creating the mesh is extremely challenging. ORE Catapult has a solid mesh generator which could be built on to create a tool which can create solid, shell or beam models to capture all fidelity levels with the same inputs. |  | 2020 | 2023 | M | L | H | n/a |  | Influences manufacturing so number of jobs can actually drop down | It fits with attempts to create improved blade testing methods | Insignificant materials savings that would improve environmental impact
Disruptive architecture
High Altitude Aerofoil | Innovation Area | yes | TRL 3 | TRL 5 | Academia | Owner Operators | Enabling disruptive innovation | Background: Aerofoil technologies that enable wind capture at high altitudes where high, undisturbed wind conditions occur. A radical method of achieving larger rotors is through the use of circulation control. Innovation: The proposed rotor blades have aerofoil sections of very low solidity which are structurally efficient and of light weight. Being of low solidity and without sharp trailing edges, they have very much reduced lift and drag loading when idling in extreme winds to the extent that the rotor can be ~ 30% larger in diameter within the same loading envelop of a standard design. Challenges include: developing efficient pumping systems, effective aeroelastic modelling of the circulation-controlled rotor and optimisation of control. |  | 2020 | 2035 | H | M | M | M |  |  |  | Technology would need to be brought to ground for inspection and repair
Multi rotor turbines | Innovation Area | yes | TRL 4 | TRL 7 | Research Technical Organisations | Owner Operators | Enabling disruptive innovation | Background: Multi rotor turbines replace large turbines blades with multiple smaller scale rotors on one tower, thus potentially reducing the associated costs of large blades (e.g. testing, transport and assembly). Big advantage of multi-rotor turbines is decrease of costs of maintenance as big jack up vessels are not needed to transport. Also, manufacturing process for smaller blades would be easier and less costly. Innovation: They didn’t dominate initially because of blow effects from wind turbines next to each other and ability to capture energy from the flow, but if they span far enough the effect of interference can be minimised. Still significant challenges in active control and structural vibration alleviation. Also, need to improve reliability due to increased number of components. Forecast finish spans from 15 to 30 years. It needs cooperation between RTO, Industry and Academia. |  | 2020 | 2035 | M | L | M | L | Medium-High, but smaller than kites | Not a target for UK market and not much research attention in UK academics |  | Smaller lifts
Kites - development | Innovation Area | yes | TRL 3 | TRL 7 | Industry/SMEs | Other Suppliers | Enabling disruptive innovation | Background: Kites or Airborne Wind Energy (AWE) Systems are tethered devices that access higher altitudes than conventional wind by flying lightweight kites autonomously. AWE systems offer several advantages over conventional wind turbines. They harness stronger and steadier winds by flying at moderate to high altitudes (above 200m above ground). They are cheaper to manufacture, due to the small amount of material used (removing tower and big foundations) and the simple construction and installation. Innovation: There are numerous technical problems to address: the durability of flexible materials, more convergence required, and rain erosion testing of materials, apart from space restrictions, safety issues and the potential to harm those machines from lightning and thunderstorms. The existing demonstrators heavily rely on supervised operation - lack of proven reliability and operational hours is a significant issue. Developers will need to demonstrate prototype devices before moving into commercialisation. |  | 2020 | 2032 | H | M | H | M | CAPEX is significantly smaller (~80-90% smaller) in comparison to standard turbines | Market is not yet established and UK is well placed to be a leader. |  | Significant materials savings and smaller lifts balanced with increased danger if the device crashes
Kites - commercialisation | Innovation Area | yes | TRL 7 | TRL 9 | Industry/SMEs | Owner Operators | Enabling disruptive innovation | Background: Kites or Airborne Wind Energy (AWE) Systems are tethered devices that access higher altitudes than conventional wind by flying lightweight kites autonomously. AWE systems offer several advantages over conventional wind turbines. They harness stronger and steadier winds by flying at moderate to high altitudes (above 200m above ground). They are cheaper to manufacture, due to the small amount of material used (removing tower and big foundations) and the simple construction and installation. Innovation: Once numerous technical problems are addressed and assuming proof of concept, large scale (multi MW) kites would be competitive with conventional offshore wind if bolstered into commercialisation. |  | 2031 | 2036 | H | M | M | M |  | Market is not yet established and UK is well placed to be a leader. |  | Significant materials savings and smaller lifts balanced with increased danger if the device crashes
Advanced manufacturing
Advanced composite manufacture (automation/quality improvement) | Innovation Area | no | TRL 6 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Commercialising >15MW turbine platforms | Background: Blade manufacturing techniques could be more automated, and the quality of outputs could increase. Innovation: New and advanced manufacturing techniques - removing manual processes, increasing production speed. It is expected that some processes could be automated, especially that learning from other sectors has not been investigated in detail and applied. |  | 2020 | 2022 | H | L | M | L | Removing manual process, increasing production speed. However, small part of lifetime cost overall. Blade cost and TAKT time is a large cost driver |  |  | Automation potential - may reduce exposure time to hazardous materials
Low cost blade moulds | Innovation Area | no | TRL 4 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Commercialising >15MW turbine platforms | Background: Very few companies (both in UK and globally) produce blade moulds. The lead time is very long, and it is a significant part of CAPEX. Innovation: Goal would be to standardise moulds components (e.g. frame, pipes) to allow cost reduction as at the moment they are almost bespoke. |  | 2020 | 2024 | M | L | M | n/a | Reduction in capex cost of the blades |  |  | Irrelevant to HSE
Development of advanced materials
Blade Leading Edge Erosion Solutions | Innovation Area | yes | TRL 5 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Background: Leading Edge Erosion is known to occur when precipitation in the atmosphere and other airborne particulates impinge on wind turbine blades rotating at high velocities. When the smoothness of a blade surface is degraded its aerodynamic performance is known to reduce; this restricts power and revenue generation. LEE increases surface roughness at the outer section of the blade, where the majority of lift, and hence power, is generated. Moreover, if severe enough, LEE can expose the blade materials to damaging levels of UV light exposure and moisture ingress, which can reduce structural integrity. Innovation: Developing LE solution that protects blade LE for blade lifetime and allow higher tip-speed would be highly beneficial to extend blades lifetime. Research needs cooperation between Industry and RTO. |  | 2020 | 2028 | H | M | H | H | Considered to be the highest priority for blades. Repairs significantly boost O&M costs. Best case if improved solutions applied before blades are installed. | Few companies that could deliver this solution exist in UK | There is a need for coordination and step change vision | Reduction in inspection and repairs by rope access
Multifunctional systems AI + LDS + EMI | Innovation Area | yes | TRL 3 | TRL 5 | Academia | Original Equipment Manufacturers | Commercialising >15MW turbine platforms | Background: Combined anti-icing, lightning, and/or electromagnetic interference protection systems. Most probably solutions will be adapted when onshore will develop it - conditions are more extreme and this system would be more applicable. A multi-functional system could reduce weight and manufacturing complexity Innovation: Adaptation of aerospace technologies. Opportunity to improve lightning strike current capability for extreme areas. |  | 2020 | 2025 | L | L | H | n/a |  |  |  | Technology has no impact on WTG access
New blade adhesive bonding solutions | Innovation Area | yes | TRL 4 | TRL 7 | Research Technical Organisations | Original Equipment Manufacturers | Commercialising >15MW turbine platforms | Background: Current wind blade adhesives require mixing and application exposing workers to chemicals. Adhesive bond lines post-production can also require repair from sag during the curing process. Adhesive bond failures especially at the trailing edge are common. Adhesive is one of the weakest links that needs improvement. Innovation: New types of adhesive which don't require mixing and have easy application such as structural tapes. Consistent, higher properties can also be achieved. |  | 2020 | 2025 | M | M | H | L | Medium-High | As UK has SME capabilities that can develop these solutions |  | Small reduction in repairs. Potential for more environmentally friendly materials
Demonstrator for robotic inspection and maintenance of offshore wind turbine blades | Ongoing R&D project |  | TRL 1 | TRL 1 | Industry/SMEs | Owner Operators | Enabling disruptive innovation | Offshore wind turbines operate in harsh and extreme environments such as the North Sea. As blades continue getting larger, their tip speeds can exceed 100m/s. At these speeds, any particulates in the air such as rain, dust, salt, insects, etc. can wear away the surface of a blade's leading edge, a phenomenon known as ""leading edge erosion"" (LEE). This, in turn, alters the blade's aerodynamic shape, affecting its efficiency and potentially exposing the blade to further and more serious damage, thereby reducing its working life. Having successfully proven the concept in Phase 1 of the Innovate UK funding round, in this project, BladeBug Limited will continue its work with the Offshore Renewable Energy Catapult to develop, build and test a complete, walking robotic system designed specifically to carry out a number of these detailed inspections and repetitive repairs on the leading edges of wind turbine blades. The ability to perform these tasks remotely will free up time of skilled rope access technicians to undertake specialist repairs or upgrades to blades that only they can do. More blades could then be inspected and treated in the same time frames, maximising the electrical output of the turbines and, as a result, increasing revenues to turbine owners as well as the environmental benefit to everyone in CO2 savings. Note: TRLs for this project have not been updated. | https://gtr.ukri.org/projects?ref=104833 | 2020 | 2020
Leading Edge For Turbines (LEFT) | Ongoing R&D project |  | TRL 1 | TRL 1 | Industry/SMEs | Owner Operators | Enabling disruptive innovation | This project aims at maturing to TRL 5 a game changing erosion protection solution for large offshore wind turbine blades utilising a technology currently produced for the aerospace industry, namely that of the metallic lifetime erosion protection shield. | https://gtr.ukri.org/projects?ref=104216 | 2020 | 2020
Powertrain
Development of next generation convertors
Silicon Carbide Switches in Convertors | Innovation Area | yes | TRL 4 | TRL 7 | Research Technical Organisations | Original Equipment Manufacturers | Enabling disruptive innovation | Background: High temperature semiconductor makes the converter operating in more energy condense way and high voltage mode. Innovation: Some commercial application already exists, but challenge is testing and proving the technology to convertor manufactures to allow current topology used to operate existing topology convertors at 10kV+. Actor is tier 2 supplier. |  | 2020 | 2023 | H | L | L | L | Potential for reduced cost and volume of control | UK could compete in research with other countries as manufacturing is dominated by overseas entities. CSA Catapult is now coordinating the SiC research in grid application, which could increase the UK benefit. | SiC based converter application in grid connection and power transmission. | Once they are applied, all SiC switches are assembled inside convertor already before shipping.
Multiple sub-converters | Innovation Area | yes | TRL 7 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Maximising operational performance of existing wind farms | Background: When the fault happens in converter, the whole turbine would be switched off until the completion of corrective maintenance. Innovation: Multiple sub-converters are an attractive design for multi-megawatt wind turbine, in which multiple sub converter modules are connected in parallel, providing redundancy and higher fault tolerance. Once a fault happens, the turbine could be still available and operating at derated level by bypassing the faulty module. A maintenance could be arranged immediately thereafter or integrated with routine maintenance plan, which provides great flexibility to maintenance planning especially for bad weather periods and saves O&M cost. |  | 2020 | 2023 | L | M | M | L | Extra cost of circuit breaker and circuit complexity would increase the CAPEX. | UK could benefit from the O&M services of this new technology | This technology would be well integrated with current O&M plan, reducing wind farm OPEX. | Converters have already been assembled before shipping. Very limited impact on HSE.
Parallel powertrains for 20MW+ turbines | Innovation Area | yes | TRL 4 | TRL 6 | Academia | Original Equipment Manufacturers | Enabling disruptive innovation | Background: Multiple generator modules and/or power converter modules are connected in parallel, providing redundancy and higher fault tolerance. Innovation: Parallel powertrain modules can improve availability if: (a) smaller units have lower failure rates, (b) they are quicker to repair and replace and (c) if they are slightly over-rated at 1/(N-1) of the rated power and the powertrain and turbine is able to adapt their torque speed curve for failure states. UK market would not be the biggest beneficiary from this technology as wind resources are sufficient and not intermittent. There is an export potential to e.g. Baltic countries. There is a strong hesitance from the industry and more lower TRL research is needed due to failed concept development in the past. |  | 2020 | 2025 | M | M | M | L | Decreased downtime of electrical systems |  |  | More impact on reliability and cost. Limited impact on HSE.
Increased number of steps in MV convertor | Innovation Area | yes | TRL 5 | TRL 7 | Research Technical Organisations | Original Equipment Manufacturers | Enabling disruptive innovation | High voltage converter is designed by increasing number of voltage steps in order to accommodate the high voltage output from next 10MW generator. Required for either the 10kV generator or Silicon Carbide switches |  | 2020 | 2023 | H | L | L | n/a | Potential for CAPEX reduction. | Leading OEM is outside UK | New algorithm/topology could be forward by UK researcher | Depends on the detailed design, but more impact on cost and reliability than HSE.
Insulation degradation and lifetime of inverter-fed machines with fast switching (high dv/dt) converters | Ongoing R&D project |  | TRL 1 | TRL 1 | Academia | Original Equipment Manufacturers | Enabling disruptive innovation | Rapid and transformative advances in power electronic systems are currently taking place following technological breakthroughs in wide-bandgap (WBG) power semiconductor devices. The enhancements in switching speed and operating temperature, and reduction in losses offered by these devices will impact all sectors of low-carbon industry, leading to a new generation of robust, compact, highly efficient and intelligent power conversion solutions. WBG devices are becoming the device of choice in a growing number of power electronic converters used to interface with and control electrical machines in a range of applications including wind power generators. However, the use of WBG devices produces fast-fronted voltage transients with voltage rise-time (dv/dt) in excess of 10~30kV/us which are at least an order of magnitude greater than those seen in conventional Silicon based converters. These voltage transients are expected to significantly reduce the lifetime of the insulation of the connected machines, and hence their reliability or availability. This, in turn, will have serious economic and safety impacts on WBG converter-fed electrical drives in all applications, including safety critical transportation systems. The project aims to advance our scientific understanding of the impact of WBG devices on machine insulation systems and to make recommendations that will support the design and test of machines with an optimised power density and lifetime when used with a WBG converter. This will be achieved by quantifying the negative impact of fast voltage transients when applied to machine insulation systems, by identifying mitigating strategies that are assessed at the device and systems level and by demonstrating solutions that can support the insulation health monitoring of the WBG converter-fed machine, with support from a range of industrial partners in automotive, aerospace, renewable energy and industrial drives sectors. Note: TRLs for this project have not been updated. | https://gtr.ukri.org/projects?ref=EP%2FS00081X%2F1 | 2020 | 2021
Development of next generation generators
15MW+ powertrain | Innovation Area | yes | TRL 4 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Commercialising >15MW turbine platforms | Background Direct drive and medium-speed geared turbine solutions in ratings up to 9.5MW dominate the market, but 10-12MW size wind turbine are already under development and are expected to be available in the market from 2021. It is expected that turbines can growth further and 15+MW turbine will be the next mainstream size. Innovation To develop a turbine in this range, integration of drivetrain with light weight generator is one of key area [TPWind in the EWI], which only can be achievable with integration of mechanical and electrical components in both theoretical and practical validation. As a result, evaluation of +15MW drivetrain design-combined system test will be a strong requirement between 2020 and 2022. |  | 2020 | 2024 | H | M | H | M | Next generation of offshore wind turbine to boost power generation |  | High cost to upgrade current 15MW test facility for 20MW one | Bigger generators will lead to decreased number of turbines in a single windfarm which will decrease number of marine operations. However, working with heavier components will be more risky.
20MW+ Powertrain | Innovation Area | yes | TRL 3 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Commercialising >15MW turbine platforms | Background: Offshore wind industry rapidly moves to use larger wind turbine to reduce the LCOE. After 10-15MW wind turbines will be the mainstream within the next 5 years, 20MW or even 20MW+ size will follow. Innovation: To develop a turbine in this range, innovation from materials to overall concept of powertrain needs to be evaluated and assessed to reduce the risk of field failures. In detail, rather than increase the size of previous powertrain concept, material development for high loaded bearings, shaft and supporting structures, new powertrain concepts by using new material and components will be required. Evaluation of +20MW powertrain design-combined system test will be a key step to develop a reliable system between 2022 and 2027. |  | 2020 | 2028 | H | M | H | M | Next generation of offshore wind turbine to boost power generation |  | High cost to upgrade current 15MW test facility for 20MW one | Bigger generators will lead to decreased number of turbines in a single windfarm which will decrease number of marine operations. However, working with heavier components will be more risky.
10MW+ generator | Innovation Area | yes | TRL 7 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Commercialising >15MW turbine platforms | Background: Current c9MW platforms use the same power train as the c5MW turbines and industry are at the point where they need to develop the next power train concept that will be suitable for 10-15MW, and higher voltage generators become important for this. Innovation Development of 10MW+ single wind turbine direct drive generator for offshore wind farm. Medium and high-speed generators are still popular, but easier to reach with existing technology because of the lower torque rating. Challenges here include choice and design of different electrical machine types, electrical/ magnetic/ thermal optimisation, structural/mechanical design, material choice and development, design for reliability, maintenance and replacement. |  | 2020 | 2021 | H | M | L | M | Next generation of offshore wind turbine to boost power generation | UK is the largest offshore wind market. Benefit to UK if machines are manufactured in UK |  | Bigger generators will lead to decreased number of turbines in a single windfarm which will decrease number of marine operations. However, working with heavier components will be more risky.
Superconducting wind turbine generator | Innovation Area | yes | TRL 5 | TRL 7 | Research Technical Organisations | Original Equipment Manufacturers | Enabling disruptive innovation | The ability to produce higher shear stress and hence torque density through low loss excitation. Alternative path to the higher MW turbines without using permanent magnet materials. More compact generators. |  | 2020 | 2024 | M | L | M | M | Potential option for 10M+ turbine | Overseas universities and manufacturers are leading in this area | Some work being done by academia and industry through EU; probably needs further support. Definitely needs support to take it through to scale, demonstration, testing and validation | Decreased number of raw materials used
Non-rare earth PM generator | Innovation Area | yes | TRL 5 | TRL 8 | Research Technical Organisations | Original Equipment Manufacturers | Enabling disruptive innovation | Background: As turbines get bigger, the torque rating and hence permanent magnet content of the generator will tend to increase. Usage of NdFeB type magnet material depends on the supply from a single country – China (~90+%) which increases price volatility and decreases security of supply. Innovation: New Permanent Magnet (PM) generator is less dependent on rare earth magnetic material which decreases cost volatility of raw materials. Tests of 250kW generators are accomplished. Innovation area consists of different types of research: materials might be RTO/academia, machine design is likely academia/industry, testing is RTO. |  | 2020 | 2027 | M | H | H | M | Potential can be high if it allows direct drive and lowers weight, but unlikely | Decreased dependency on materials unavailable in the UK | Longer term exposure for whole industry; opportunity to address an international issue; important aspect for decommissioning. | Decreased dependency on rare earth magnetic material
Axial flux permanent magnet generator | Innovation Area | yes | TRL 5 | TRL 8 | Research Technical Organisations | Original Equipment Manufacturers | Enabling disruptive innovation | Background Most of recent PMG for wind turbine uses rare earth metal based conventional generator, which has potential issues from the fluctuation of material cost and weight. Innovation Development of easy-scalable axial flux PM generator by using ferrite material for wind industry. This type of design makes it easy to scale up the capacity by axially adding generator sets along the shaft. |  | 2020 | 2027 | M | M | L | L | High if it allows direct drive and lowers weight, but unlikely | UK is leading in this technology |  | This technology is not directly linked to H&S impact.
Direct drive permanent magnet generator | Ongoing R&D project |  | TRL 5 | TRL 8 | Industry/SMEs | Original Equipment Manufacturers | Enabling disruptive innovation | We expect this project to be linked to element "Non Rare Earth PM Magnets". Direct drive (DD) permanent magnet generators (PMG) are becoming increasingly important for large-scale wind turbines as they remove the need for a gearbox and the high maintenance costs associated with using them. Today, however, all existing large-scale DD PMGs use scarce and expensive rare earth magnets that are sourced almost exclusively from China. The Greenspur DD PMG uses ordinary ferrite magnets which, although less powerful, are 1/30th of the cost by mass of rare earth magnets and can deliver substantial cost savings. Following smaller-scale trials, patent filings and positive feedback from industry, this project will enable to specify, build and test a 250kW generator in collaborative R&D partnerships with the ORE Catapult and Warwick University. The company’s ultimate objective is to licence its technology for the manufacture of multi MW units for use in the rapidly expanding global offshore wind market. | http://gtr.rcuk.ac.uk/projects?ref=102830 | 2020 | 2020
Advanced testing & validation
Representative Bearing Testing for 10MW+ (BART) | Innovation Area | no | TRL 2 | TRL 8 | Catapult | Original Equipment Manufacturers | Enabling disruptive innovation | Background: In the current development practice, the reliability of large size wind turbine drivetrain bearings is normally confirmed by on-ground drive train test with input torque only condition and then, very long turbine prototype commissioning operation is required for certification. Also, bearing endurance test for critical bearings such as pitch bearing, and main shaft bearing is often carried out by using a dedicated bearing test rig, but this test activity typically focuses on RCF failure mode under constant test condition. This test practice is considered insufficient compared to the failure modes experienced in field operation. Innovation: In order to improve this development practice and increase bearing reliability in early development stage, development of accelerated and representative bearing test methodology is suggested by analysing critical field failure modes, identifying associated operating conditions and bringing them into testing environment. |  | 2020 | 2025 | H | M | H | L | Good bearing testing procedure development will be able to allow early design assessment in more reliable way. It is going to affect production/O&M cost reduction by lowering its failure rate and increase efficiency. |  | High cost of large scale test | Bearing reliability increase through improved test method will help to reduce site repair/maintenance operations to small extent
Digital twin of the wind turbine and wind farm | Innovation Area | no | TRL 5 | TRL 7 | Research Technical Organisations | Owner Operators | Commercialising >15MW turbine platforms | Whole systems modelling should integrate the Powertrain with the blades, tower and supporting structure and across the entire wind farm. This becomes imperative as larger machines are deployed into deeper waters and fundamental for floating machines. Key challenges are non-technical but related to confidentiality between OEMs and structural designers and owners/operators. |  | 2020 | 2023 | M | M | H | n/a | Commercial innovation is a key in this element
Powertrain highly accelerated life time test (HALT) | Innovation Area | no | TRL 5 | TRL 8 | Catapult | Original Equipment Manufacturers | Commercialising >15MW turbine platforms | Background: On-ground HALT is key procedure in development stage to shorten the long commissioning period in field and improve the reliability of wind turbine. The current state of art in drive train test is limited by time and methodology which results in conducting only functionality test. Innovation New methodology of on-ground HALT including 6 DOF and high frequency loading is needed. Needs some lower TRL level work to work out accelerated testing based on stressors including mechanical, electrical and thermal. These have different timescales which can compete against each other in accelerating by magnitude or frequency. The required research includes; 1. Stress based life estimation model 2. Damage calculation with 6DOF loading 3. HALT with torsional resonance 4. Representative test load profile for selected failure modes |  | 2020 | 2023 | H | M | H | L | With this test, reliability of wind turbine will be increased which will reduce the cost of Maintenance. Should focus on testing facilities - high frequency testing and 6 DOF loading is already industry standard. Test methodology of high frequency with 6DOF loading needs to be extended to test mechanical and electrical components together. | Improving reliability of wind turbine will reduce the LCOE from wind turbine which will bring benefit to UK | Knowledge and IP from this development with 15MW test facility will makes Catapult be at strong position | This test may reduce unplanned maintenance but not significant impact on H&S
Powertrain design
Disruptive powertrain design | Innovation Area | yes | TRL 3 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Enabling disruptive innovation | Background: The powertrain is the critical component in wind turbines that convert the aerodynamic loads on the rotor to useful energy in the form of electricity. Over the years, the design of commercial offshore wind turbines has converted to a few popular configurations. Several non-conventional powertrain designs are being researched to address specific shortcomings of the conventional design. Innovation: Issues such as reliability can be addressed by modularisation and innovative designs for components such as bearings. The focus could also move from mechanical/electromagnetic/electric design with capital cost/efficiency/mass optimisation paradigm to one which gives increased emphasis on design for techniques that increases availability and decreases O&M costs. |  | 2020 | 2033 | M | M | M | L | Technologies such as multiple generators or Ricardo Multilife will improve reliability | Potential IP owned by UK companies but parts manufacturing most likely to happen outside of UK |  | Design is unknown, but most likely similar components will be used and impact will be low
Hydraulic gearing for 10MW+ turbine | Innovation Area | yes | TRL 3 | TRL 5 | Academia | Original Equipment Manufacturers | Maximising operational performance of existing wind farms | Background Conventional gearbox uses metal to metal contact to transmit the speed and torque, which is frequently subject to failure. Innovation Use of hydraulic torque-speed converter alternatives to mechanical gearboxes. Avoids gearbox failures and facilitates use of existing scale generators. Tests for 2MW prototypes have been finished and successful. |  | 2020 | 2026 | M | M | M | n/a |  | UK based design team |  | Hydraulic gear will use more lubricant oil, which will increase the risk of oil leakage
Magnetic gearing | Innovation Area | yes | TRL 5 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Enabling disruptive innovation | Background In floating wind turbine, the maximum acceleration caused by structural movement can reach around 0.3G which can cause severe churning effect on the conventional gearbox oil and results reduced reliability of gearbox. Innovation Use of magnetic and hence non-contact torque-speed converter alternatives to mechanical gearboxes. Avoids gearbox failures and facilitates use of existing scale generators. Magnetic gearing fundamentally doesn't need to use oil-based lubrication because no metal to metal contact is required to transmit the energy from rotor to generator. So, if this technology can prove efficiency and reliability with competitive cost, it can be disruptive innovation to increase the reliability of floating wind and decrease the LCOE. |  | 2020 | 2030 | M | H | H | L |  | Thought leadership in UK | This technology is ideal for floating wind turbine which will has major market share after 2030. | This technology can minimise the amount of oil in wind turbine, which will reduce the risk of environmental effect from oil leakage
Journal bearing development for wind turbine drivetrain | Innovation Area | yes | TRL 4 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Enabling disruptive innovation | Background: Rolling element bearing failures have been a persistent issue for the wind industry. Although the severity and frequency of bearing failures have reduced, challenges remain for bearing and wind industry is still suffering from high O&M cost and huge loss of energy production associated with the premature bearing failures. Innovation: Journal bearings have been successfully used in marine and other industrial sectors however, it is seldom used for wind turbine system. Successful journal bearing development, by incorporating advantages of matured journal bearing technology from other industrial sectors into a new design and material solution specifically for hostile wind turbine application, will be able to tackle current distressing bearing premature failures, increase the system reliability and deliver significant OPEX reduction. |  | 2020 | 2030 | M | M | H | L | Especially O&M cost reduction by increase of bearing reliability | Journal bearing manufacturers with supply chain exist in UK | There would be a need in supporting financially large-scale demonstration test | Reliability improvement from journal bearing application which is matured technology in other industry will lead to reduction of bearing failure rate and easy replacement, but decrease H&S risk to small extent
Advanced understanding and prediction of failure
Disruptive acoustic emissions condition monitoring analysis | Innovation Area | no | TRL 3 | TRL 5 | Academia | Owner Operators | Maximising operational performance of existing wind farms | Background: Many of the failures in wind turbines drivetrains can be attributed to rolling element bearings. Numerous bearing failures initiate at the sub-surface of the rolling surface. Popular monitoring techniques such as vibration monitoring rely on vibration caused after subsurface damage has progressed to the surface. AE monitoring on the other hand can detect subsurface damage hence provide predict failure well before conventional techniques. Innovation: Methods for processing AE signals are currently being investigated in academia with many successes. However, many innovations are required in the development of algorithms to removing background noise and operational variations that may cloud the AE measurements and novel sensor and data processing techniques. For slow moving powertrain components such as pitch and main bearings, disruptive AE monitoring could detect incipient failures far more effectively than vibration methods. |  | 2020 | 2027 | M | H | L | L | Condition monitoring has been effectively used to aid the optimisation of O&M activities and increase operational availability in many industries, including offshore wind, which led to O&M cost reduction. | Many UK Research institutions are involved with AE technology |  | AE technology will prevent from failures that are not of high H&S risk. Sensors and signal analysis components for AE analysis are not hazardous to the environment
Acoustic emissions condition monitoring analysis | Innovation Area | no | TRL 6 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Background: One of the condition monitoring techniques that is increasingly being used in wind turbine powertrain is Acoustic Emission (AE). AE monitoring has been around for decades and can deliver fault diagnosis in a similar fashion to vibration monitoring but its potential benefit for detecting wind turbine drivetrain damage remains to be realised for widespread use. While vibration monitoring is widespread in wind turbine drivetrains more can be done to demonstrate the use of acoustic emissions in wind turbine drivetrains. Innovation: The development of versatile and effective algorithms for data interpretation, diagnostics and prognostics is still the subject of ongoing research. Most technological challenges are solved but business models need to be established for a demonstration at large scale to happen. |  | 2020 | 2021 | M | M | M | L | The technique does not actively prevent failure but will reduce O&M cost by early detection |  | AE is able to detect incipient (subsurface) failures before conventional techniques and easier to install compared to ultrasonic techniques. | AE technology will prevent from failures that are not of high H&S risk. Sensors and signal analysis components for AE analysis are not hazardous to the environment
Prognostic condition monitoring for powertrain | Innovation Area | yes | TRL 4 | TRL 7 | Research Technical Organisations | Owner Operators | Maximising operational performance of existing wind farms | Background Wind industry has been operating for over 30 years and experienced numerous powertrain failures. There is a lesson to be learned from critical failure mods to enable prognostic condition monitoring systems (CMS). The current CMS enabled to detect these failure modes after these happen and support corrective maintenance. Innovation Prognostic CMS development for both of wind turbine and wind farm which can reduce the O&M cost by using early detection and predicting remaining useful life. To improve the availability of wind turbine and lower the LCOE, wind industry keeps developing prognostic condition monitoring system which can detect the early failure signals which can help operators to plan required maintenance with minimum cost. |  | 2020 | 2021 | H | H | M | L | One of Key function to meet LCOE target | UK has biggest offshore wind capacity, and this technology can lower the LCOE of wind | Limited by the reliability of sensing technology | By reducing the number of unplanned maintenance, this technology can reduce the risk of human related incidents
In-depth investigation of IGBT failure mechanism | Innovation Area | no | TRL 6 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Enabling disruptive innovation | Background: The failure mechanism of Insulated Gate Bipolar Transistors (IGBT), the key component for power conversion, has been well examined across academic study. However, there is very limited successful application in industry Innovation: In-depth investigation will provide industry a solution of IGBT on-line condition monitoring. Then the IGBT loading will be controlled according to the monitored health condition. The converter lifetime will be also optimised by balancing the lifetime usage across all IGBTs in a converter. Moreover, the condition monitoring information could be considered to make preventative maintenance plan for converter and wind turbine, which will help reduce O&M cost. |  | 2020 | 2022 | L | M | L | n/a | Extra cost of condition monitoring circuit might increase the cost of IGBT modules. | O&M plan would be optimised based on improved understanding of IGBT physics of failure | At this moment, the main activity comes from academic involvement. Need more input from industrial partner. | Very limited H&S impact
Condition monitoring in direct-drive generators | Innovation Area | yes | TRL 6 | TRL 8 | Industry/SMEs | Original Equipment Manufacturers | Maximising operational performance of existing wind farms | Background Bulk of powertrain condition monitoring to date has concentrated on gearbox and induction generators. Some different failure modes in direct-drive and not much operating experience. Innovation Bespoke condition monitoring systems for these very large generators. For example, larger direct drive generators have large forces with potential to deform rotor and stator and close airgaps. Monitoring of these airgaps to diagnose issues. Using this information to change generator operation and eventually (lower TRL) flux weaken/strengthen to limit peak forces. |  | 2020 | 2022 | M | H | H | L | Many new direct drive machines going into UK waters |  | Seems like a significant market opportunity and helps with a potential future threat | By reducing the number of unplanned maintenance, this technology can reduce the risk of human related incidents
Floating Wind
Drivetrain design for floating conditions | Innovation Area | yes | TRL 2 | TRL 9 | Industry/SMEs | Original Equipment Manufacturers | Enabling disruptive innovation | Background: Conventional drive train designs (optimised for bottom-fixed turbines) are reasonably suitable for floating wind use. However, lifetime of components might vary from their bottom fixed counterparts due to specific issues related to accelerations and displacements present in floating turbines. As more data is collected on offshore wind turbines new drivetrain configurations which are better suited for floating turbines will be developed. Innovation: Component-level progress in industries such as heavy automotive, marine transport, aerospace and industrial machines will continue to be applied in the offshore wind industry. Innovative solutions to adapts conventional drivetrains from industrial configurations to offshore wind will be required. The benefits include increased reliability and decreasing unplanned maintenance costs and downtime losses. In comparison to fixed-bottom offshore wind, this innovation may be more important as floating is less mature and so there is more scope for innovation. It is doubtful new drivetrains for FW will be developed before 2035. |  | 2020 | 2035 | H | M | L | L | Improved reliability will lead to reduced OPEX and lost power. | ORE Catapult facilities in Blyth are uniquely placed to perform HALT for drivetrains to go on floating wind turbines. | To be led by WT OEMs once the FOW market is sufficiently large and 25-30 year design life projects are developed. | The main impact would be on reduced maintenance (H&S), with some positive impact on environment (few spares required if components can be shown to live 25-30 years).
Advanced floating WTG controller design | Innovation Area | no | TRL 2 | TRL 9 | Industry/SMEs | Owner Operators | Enabling disruptive innovation | Background: Controllers are used to manipulate wind turbine to generate maximum power while ensuring drivetrain safety and reliability. In the case of floating offshore wind, the controller can also affect maximum angle of heel, dynamic behaviour and mooring system loads. Control strategies are conservative as they are designed in advance and drive trains, support structures and mooring systems are sized to withstand the worst-case extreme and fatigue loads. Innovation: As more data is generated from operational floating turbines, and computing power improves, controllers are likely to become more sophisticated, taking information about loading history, actual operating conditions and data from the turbine sensors to calculate what loading the drivetrain, support structure and mooring systems can experience. Specialised controller techniques will need to be developed to deal with the highly dynamic behaviour of floating turbines. A natural progression will be moving from controlling a single turbine to a fleet-wide control to maximise power generation |  | 2023 | 2028 | H | M | M | M | "Smart WTG control" could be very useful in expending WTG life (modifying the control algorithm to account for the turbines ages). Use of live data could be used to optimised control mechanisms on each WTG in farms, as to meet specific requirements (e.g. increase power production, reduce loads). | There are a few very well-respected WTG specialists based in the UK (ex-Sgurr Control, ex-Garrad Hassan, University of Strathclyde) | WTG OEMs are key to adopting this technology. Research organisations will be well placed in develop this technology to medium TRLs, before development is taken over by OEMs. | Extended life of wind turbine assets (environment). Load regulation to reduce interventions (H&S).
Testing methodologies for floating wind components (drivetrain) | Innovation Area | no | TRL 2 | TRL 8 | Research Technical Organisations | Original Equipment Manufacturers | Enabling disruptive innovation | Background: The verification and approval of turbine components for floating wind use has occurred, but it is not standardised and has been limited in scope and in the ability to simulate accurate loading regimes. Newer, larger and more dynamic test rigs of offshore wind turbines are being commissioned but standards are still to be settled. Innovation: The development of standardised functional, performance and reliability tests for components and systems up to complete drive trains is widely viewed by industry as a route to deliver increased reliability, especially when combined with monitoring turbines under deployment. |  | 2022 | 2030 | M | M | H | L | Reduced risk which should results in lower insurance costs and project financing, reduced OPEX costs, but could lead to increased CAPEX. | ORE Catapult facilities in Blyth are uniquely placed to perform HALT for drivetrains to go on floating wind turbines | It is expected that the development will be spearheaded by testing facilities. | High reliability drivetrains requiring fewer remedial works (fewer human involvement).
Enabling Research
Digital
Artificial Intelligence | Innovation Area | No | TRL 1 | TRL 6 | Academia | Owner Operators | Enabling disruptive innovation | Artificial Intelligence can have multiple applications in all stages of windfarm lifecycle. Taking O&M as an example – AI application involves a supervisory system that utilises conventional design and operation rules combined with Machine Learning/Deep learning from big data from the internet of things. AI could be a decision support system or a complete framework for collecting information and acting upon this without human intervention. Challenges are verification/validation of AI systems and quantitative assessment of confidence in AI performance. Other examples could include design optimisation, turbine control, Turbine Yaw Error and Control, Grid Balancing or Transmission Fault Diagnostics and Prognostics. |  | 2020 | 2036 | H | M | M | H
Cybersecurity | Innovation Area | No | TRL 6 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Cybersecurity is a crucial component of digitalisation. Protecting data (such as asset designs, operational information and company IP) from attack is of interest across the supply chain. A proactive approach to cybersecurity is required to be able to respond to the ever-increasing threat of digital attack. These threats appear in forms such as theft of company IP and data or the ‘hijacking’ of operational assets. As the renewables industry increases its reliance on digital technology, the requirement for robust cybersecurity measures will become ever more prevalent. This will require coordination between Industry and Academia. |  | 2020 | 2025 | L | H | L | M |  |  | May be forced to do this from a data breach or asset ‘hijacking’. Operators will have to be proactive to make sure they have the necessary protections in place. | Not in the conventional sense of ‘safety’, but cybersecurity will protect against theft of personnel IP and, more importantly, asset hijacking
Machine learning / deep learning from big data | Innovation Area | No | TRL 3 | TRL 9 | Academia | Owner Operators | Enabling disruptive innovation | Machine learning and drawing benefit from disparate data sources promises both benefits to optimisation of control and operation strategies towards optimal O&M intervention in addition to better understanding of design and modelling assumptions which should lead to improved design of future structures and machines. Issues to be addressed include the integration of numerical models with sensor data to interpolate within individual machines and across arrays, sensor reliability and algorithm and parameter characterisation. A challenge will always be the confidence in which results can be relied upon and so verification and validation cases/methods will be critical. |  | 2020 | 2025 | M | H | H | M |  | Potentially an area where the UK can be a real leader |  | Optimised O&M operations
Internet of things | Innovation Area | No | TRL 3 | TRL 9 | Industry/SMEs | Owner Operators | Enabling disruptive innovation | Internet of Things involves components and assets communicating between each other and is an evolution of condition and structural health monitoring technologies. This should include the transducers along with signal conditioning and low -level data processing/reduction. Major issues are the reliability of sensors and calibration of sensor systems. It will need coordination between RTOs, Academia and Industry/SMEs. |  | 2020 | 2030 | M | M | H | L | This will involve system integration of SCADA and SHM systems | Unlikely to involve protected IP, more likely to result in communications protocols and standards/best practice.
Advancing Underwater Vision for 3D Phase 2 | Ongoing R&D project |  | TRL 1 | TRL 1 | Industry/SMEs | Owner Operators | Enabling disruptive innovation | Safe and efficient construction, operation and decommissioning of subsea assets is critically important to UK and worldwide energy production. From construction to decommissioning, underwater survey provides the data to monitor condition, predict asset life and ensure the environment is protected. We aim to deliver a step change in efficiency and safety by delivering live, dense, 3D point cloud data from small, Remotely Operated Underwater Vehicles. This will enable smaller vessels to be used with fewer crew, no divers, and removing the need to put people at risk. Compared to traditional visual survey, 3D data allows accurate measurement and repeatable, reliable metrics for asset condition monitoring and automatic monitoring from autonomous underwater vehicles (AUVs). Ultimately, live 3D enables accurate navigation for fully autonomous inspection AUVs reducing manpower and increasing efficiency yet further. Currently, AUVs do not possess the detailed mapping and localisation required for visual inspection work. Quality 3D visual data is also a prerequisite to applying artificial intelligence and deep learning solutions to 3D images thereby enabling greater autonomy and reliably repeatable measurements. Note: TRLs for this project have not been updated. | https://gtr.ukri.org/projects?ref=104828 | 2020 | 2020
New Materials
Alternative materials | Innovation Area | Yes | TRL 2 | TRL 5 | Academia | Original Equipment Manufacturers | Enabling disruptive innovation | Alternative fibres or materials that are better in terms of costs, tensile strength, light weighting, easiness to manufacture, environmental emissions or improved environmental performance. Potential cost reduction from this element are material cost or damage resistance that would decrease maintenance cost. In substructures, hybrid solutions using both steel and concrete and the use of alternative materials such as wood, aluminium or especially composites (e.g. reinforced materials, sandwich structures) can offer similar advantages in performance. Some drawbacks that need to be considered are related to manufacturing (e.g. more complex processes, welding and surface treatment) and currently significantly higher prices of high-performance materials. The weight reduction is especially interesting for innovative floating wind turbine solutions. |  | 2020 | 2031 | M | H | M | L |  | Supply chain potential |  | Small changes may come from new materials or manufacturing techniques with lower exposure
Self healing materials | Innovation Area | Yes | TRL 3 | TRL 5 | Academia | Original Equipment Manufacturers | Enabling disruptive innovation | Development of materials that can maintain their integrity and self-heal when deficiencies occur due to material degradation. Materials could be applicable to any asset that's exposed to weather or environmental conditions: blades, tower, substructures, cables. |  | 2020 | 2036 | H | H | M | L |  |  |  | May reduce number of minor repairs
Plasma based manufacture of CNT Fibre | Ongoing R&D project |  | TRL 1 | TRL 1 | Industry/SMEs | Original Equipment Manufacturers | Commercialising >15MW turbine platforms | The project delivers an innovative manufacturing technique to the UK for the commercial manufacture of high performance carbon nanotube fibre. The project will demonstrate the commercial potential of the technique to produce material. Success will embed this technology in the UK, facilitating investment in future UK based capacity.This project represents industrial research which will enable the commercial production of high strength carbon nanotube fibre in the UK. These materials offer exceptional mechanical properties, as well as high electrical and thermal conductivity. This highly functional material has numerous uses in Automotive, Defence, Wind Energy, Aerospace, Battery, Filtration and Sports industries for applications such as electrical wiring, sensing, heat transfer and mechanical support. The IUK funding will allow the rapid development and commercialisation of the production process to meet these demands.This IUK project supports critical developments in carbon nanotube fibre manufacturing to allow increased mass production within a reactor and allows for better carbon nanotube handling. The result will be a robust and environmentally acceptable process which can be scaled to full production levels. The project is international in it's application and builds on innovation and research from grant funded work at the University of Cambridge; its successful completion will ensure that this globally important technology is anchored in the UK. Importantly, this work links carbon nanotube fibre manufacturing with the multinational industries seeking to use the materials in their innovative products. The close links between consumer and producer allow for rapid prototyping and manufacturing development for acceleration of industrial impact. Our consortium involving University of Cambridge and Q Flo Limited have strong connections with international and UK based end users. Although not part of the application, these end user companies will test materials and therefore will provide a research-to-production approach that will fast-track the manufacture of the best material by providing a feedback loop between production and testing. Manufacture of these materials will enable advancement of the critical UK strategic objective for high value, high performance production in the UK.Carbon fibre manufacturing processes generate approximately 25 te of CO2 per te of Carbon Fibre produced. The proposed CNT Fibre process, when combined with power generation from the hydrogen rich off-gas, can reduce CO2 by 80% from carbon fibre and a high value product. Note: TRLs for this project have not been updated. | https://gtr.ukri.org/projects?ref=105046 | 2020 | 2024
Design
Product environmental design | Innovation Area | Yes | TRL 2 | TRL 4 | Academia | Original Equipment Manufacturers | Enabling disruptive innovation | Resource security is a growing issue for low-carbon infrastructures that depend on a combination of raw materials (rare earth metals, lithium, cobalt), copper and aluminium. All components and materials in a turbine should be designed for durability, recycling and disassembly. A balance must be found between cost, durability, extending the lifetime of components and the ability to recover materials at end-of-use. This requires material and component design that enables disassembly, recycling and, following that, the use of recycled materials in low-carbon infrastructures. Design for maintaining the value of components and materials for longer offers opportunity to reduce costs and opens new business opportunities. Material recycling solutions and tools that incorporate CO2 emissions into the design are technically available but too costly in practice and generally not yet deployed at a large scale. |  | 2020 | 2023 | L | H | H | H | Extending the lifetime of components can increase return on investment and material recycling should reduce decommissioning and resource recovery costs and/or open new business opportunities. | Academic excellence in material design and recycling technologies is high. | Under current market conditions of high material recycling costs and underdeveloped markets for secondary resources there is little incentive for Owner Operators to demand components and materials designed for recycling. Regulation and/or incentives are needed to spark demand from operators, and the R&D requires cooperation between OEMs and Academia. | High impact on environmental issues and it is yet to become a mainstream approach to design process.
Total system design | Innovation Area | Yes | TRL 5 | TRL 9 | Industry/SMEs | Owner Operators | Commercialising >15MW turbine platforms | Background:Offshore wind turbines (fixed or floating) are coupled systems, however to date these have often been designed as two independent systems (a foundation and a wind turbine). This has resulted in suboptimal designs of foundations. While monopile foundations are project specific, floating foundations are more likely to be able to have a common standard foundation. Innovation:A more open relationship between foundation designers and wind turbine OEMs can improve foundation designs, ultimately lowering the LCOE of offshore wind. First collaborative initiatives (e.g. i4Offshore project, MHI Vestas and Ramboll tool) kickstarted to address this challenge. |  | 2020 | 2025 | H | H | M | H |  | Optimised structure in terms of steel, construction, installation, O&M and decommissioning. | Benefits have to be clear and quantified to enable data sharing | If a system is optimised not only for CAPEX, it can lead to significant improvements in HSE. For example, a system that has been designed to improve O&M could require fewer visit to the site by technicians. The same argument is valid for fabrication, installation and decommissioning.
Innovation in design concepts | Innovation Area | Yes | TRL 1 | TRL 4 | Academia | Owner Operators | Enabling disruptive innovation | Large arrays of far-from-coast wind farms (and also tidal and wave harvesters) might lead to different optimal design concepts than those adopted so far. |  | 2020 | 2034 | H | H | H | M |  | Totally new design concept could be developed and UK could export knowhow, R&D and potentially manufacture of new-concept turbines. | Due to the low TRL, this must be driven by academia, but the participation of industry is critical to assure significance and relevance of the proposed concepts. | Results are unknown yet as it will depend on a design
Design for marine life and aquaculture | Innovation Area | Yes | TRL 2 | TRL 5 | Academia | Owner Operators | Enabling disruptive innovation | Currently, the design process of a turbine, an array and associated infrastructure does not take into account the potential to enhance marine life (biodiversity), contribute to fisheries sustainability or aquaculture production. This process may have conservation value and may provide nursery areas for commercially relevant fish and shellfish, but there is a need to undertake research to assess the potential value of this process. In the longer term, this could contribute to the sustainability of local fishing opportunities. The use of offshore renewable sites for aquaculture has been explored in principle and through some limited trials, but there are likely to be significant logistical, biological and economic challenges to successful, commercial deployment. There is opposition to renewables developments that are perceived or in reality compromise fishing activity. Developing clear and demonstrable pathways to achieving these objectives could potentially help to streamline consenting and licencing processes and perhaps more importantly secure social license. There are potentially significant cost savings in this process. |  | 2020 | 2030 | L | M | M | H | This element wouldn’t drive LCOE down but could enable additional revenue generation. Successful design could boost fishing industry confidence to go back to fishing grounds. | Links to sustaining a strong commercial fishing industry
Data
Utilising data | Innovation Area | No | TRL 3 | TRL 6 | Research Technical Organisations | Original Equipment Manufacturers | Maximising operational performance of existing wind farms | Data utilisation is an overarching term used to describe a wide range of concepts and techniques aimed at exploiting available information. In the offshore renewables industry, data utilisation techniques can include: post-event analysis, use of current operational data and forecasting of future trends. The level of data utilisation is varied across industry, providing the opportunity for innovation and collaboration between offshore wind stakeholders. In substructures, data sharing is the most burning issue - components in substructures are manufactured by more parties than in blades or powertrain so data sharing and alignment is more difficult. Foundation designers don’t get enough data from operational assets to optimise their future work e.g. natural frequency is measured in commissioning for each wind turbine and data could be used to feedback into optimisation of future design. |  | 2020 | 2031 | M | H | H | L | This depends on the engagement by OOs and the impact their use of data has. | UK has high expertise in this field and can actively engage in data and digital activities. | Although some OOs do actively engage in data utilisation activities, some will need external bodies to help kickstart a culture change within their organisation. | Optimised O&M operations
Classifying data, meta-data | Innovation Area | No | TRL 3 | TRL 7 | Research Technical Organisations | Owner Operators | Maximising operational performance of existing wind farms | Classifying data involves labelling and grouping datasets to provide context. In offshore renewables this could involve the creation of common taxonomies between turbine types or mapping alarms to specific turbine components. This metadata would allow for direct comparison of different technologies, could be used to optimise O&M processes and would provide a means of industry-wide benchmarking. This level of understanding would enable Owner Operators to have a better understanding of the performance of their assets and could be used to optimise operation and maintenance processes. |  | 2020 | 2025 | L | H | H | L | Wouldn’t significantly reduce LCoE but in long term it would allow industry to optimise their operations. | The main driver for this is collaboration between industry. This could be done in any country but is UK well positioned to do that with an independent moderator such as the Catapult. | An independent body will need to organise industry to be able to collaborate in this way.