## Version Control
Document name | Turbines Innovation Roadmap
Document Number | PN000384-ANA-004
Issue Number | 7
Issue No: | Date Issued: | Author | Approver | Revision History
1 | 2018-02-28 | K. Stefaniak | J. Flowers | First Issued
2 | 2018-10-25 | K. Stefaniak | A. Stormonth-Darling | Second Issued
3 | 2019-04-05 | K. Stefaniak | A. Stormonth-Darling | Third Issued
4 | 2020-01-31 | K. Stefaniak | A. Stormonth-Darling | Fourth Issued
5 | 31/09/2020 | K. Stefaniak | A. Stormonth-Darling | Fifth Issued
6 | 2021-01-21 | K. Stefaniak | A. Stormonth-Darling | Sixth Issued
7 | 2021-08-19 | C. Wilson | K. Stefaniak | Seventh Issued
Disclaimer Notice
Whilst the information contained in this report has been prepared and collated in good faith. The Offshore Wind Innovation Hub makes no representation or warranty (express or implied) as to the accuracy or completeness of the information contained herein nor shall we be liable for any loss or damage resultant from reliance on same.

## OanM and Windfarm Lifecycle
Description | Type of Entry | Requires implementation offshore | Start TRL | Target TRL | Enabler | Beneficiary | Strategic Outcome | Notes | Website | Forecast Start | Forecast Finish | Potential to Reduce LCoE | UK Benefit | Case for Intervention | HSE Impact | Potential to Reduce LCoE (comments) | UK Benefit (comments) | Case for Intervention (comments) | HSE impact (comments)
O&M and Windfarm Lifecycle
Project Development
Project Development
Multivariable windfarm design tool | Innovation Area | NO | TRL 5 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Background: The optimisation of a layout for a windfarm in development is dependent on many variables. These include wake interactions from turbine spacing and layout, cable routes and sizing, substations, geology and seabed conditions, navigation routes and other environmental constraints. At present the layout of a site in development will seek to optimise the design by iteration in a rather manual process. Innovation: In future, a truly multivariable software solution which enables a layout optimised automatically for either lowest lifetime cost, maximum yield, longest life or some combination of these attributes. Rapid developments aided by advances in ICT and machine learning are anticipated to drive developments at pace in this area. |  | 2021 | 2025 | M | M | L | L |  |  |  | HSE will be of low priority for this tool
Lifetime common data and information platform | Innovation Area | NO | TRL 4 | TRL 9 | Other | Other Suppliers | Maximising operational performance of existing wind farms | Over the lifetime of an offshore wind farm, data and information is passed between the different phase of the project lifecycle, from design and construction through to operations and maintenance, lifetime extension and eventually, decommissioning. The responsibility for each stage can also pass between the Developer, Turbine OEM, Owner/Operator and Independent Service Provider. These stages are often developed in silos, using separate software and information management systems; they rarely interoperate and do not allow seamless data and information flows between the partners leading to significant process inefficiencies and wastes. Thus, knowledge of the stock of materials and components in current low-carbon infrastructures is limited. There is significant scope to apply principles of Building Information Modelling (BIM), proven to reduce costs in the construction of buildings, to the development and management of offshore wind farms. Digital tools which enable seamless flows of data and information between the different project stages and parties, and enable traceable data-driven decision making, are required. Research should be aligned with broader initiatives such as the new National Materials Database to develop an inventory system. |  | 2021 | 2025 | L | M | H | L | The added value of better data on material flows within low-carbon infrastructures is primarily in unlocking investment, formulating better business models and improving policy and regulation. | There are economy wide efforts to improve material flow tracking and the low-carbon infrastructure inventory would be mutually beneficial. The benefits for UK industry and government are of strategic value regarding resource security underpinning clean growth ambitions. | For viable low-carbon infrastructure sectors and the economy as a whole it is necessary to be proactive in maintaining access to (near) critical materials and to limit impacts on the environment through resource exploitation and waste generation. These aspects emerge at a system level and the challenges are complicated, making it unlikely that this element would be addressed by industry actors in isolation. | Insignificant impact on waste reduction
Geophysical and geotechnical surveying | Innovation Area | YES | TRL 2 | TRL 9 | Industry/SMEs | Owner Operators | Commercialising>15MW turbine platforms | Background: Historically, seabed (geotechnical and geophysical) surveys and data collection start many years before the planned operation of the wind farm. Often data is available only at turbine locations and with a focus on properties far below the sea bed, leading to significant uncertainties relating to cable design and installation. Innovation:Best practices in surveying are yet to be determined: how many of them should be undertaken, could they be standardised, or will they have to be dependent on a substructure type, type of mooring and design. An improved knowledge of sea bed can lead to cost reductions in array electrical and construction CAPEX. This is because it can prevent conservative overdesign or late design changes. |  | 2021 | 2030 | M | M | M | L | A better understanding of seabed conditions across the whole site could help to between design cabling systems, as well in case were sudden changes in wind farm layout had to be made. | Project location dependent. However, particularly due to strength in O&G, is leading the development of autonomous systems for seabed surveys. | Designs/standards/best practices typically require input from RTOs or classification societies. | Potential reduction in cable installation time (reduced time offshore) and reduced cable failures.
Climatic resource measurement modelling | Innovation Area | NO | TRL 5 | TRL 9 | Research Technical Organisations | Owner Operators | Commercialising>15MW turbine platforms | Shifts in climate patterns will alter the seasonal profile for generation. There will be increasing need to take this into account in resource management models for planning annual service campaigns. |  | 2021 | 2023 | M | L | L | L | Existing models are critically inaccurate for extreme rare events, hence there would be LCOE saving over a year but low |  | Advanced climate modelling is an area of active academic research that will need to be incorporated into operational planning over time | Mostly a cost concern
Social and economic impact
Generating & standardising social and economic impact methodology | Innovation Area | NO | TRL 5 | TRL 7 | Academia | Other Suppliers | Commercialising>15MW turbine platforms | Difficulties with identifying, assessing, mitigating and managing potential cumulative social and economic impacts from offshore marine energy developments and changes to existing activities. Developers and supply chain should be engaged to provide predictions of the number and type of workers that will be required to support planned developments. This should include indicative timescales, consider project phasing etc. It will become crucial if offshore wind is to become a dominating energy generation source. |  | 2021 | 2023 | n/a | M | H | n/a | This element does not relate directly to the LCoE, rather delays and risk to gaining consent. | No direct benefits to the UK, but understanding the economic and social benefits that will accrue to the UK | This element requires significant conceptual thinking which is likely to demand input from outside industry. Thus support is needed to ensure the industry gets the relevant technical input to improve assessments
Mitigating an impact on shipping, navigation and commercial fisheries | Innovation Area | NO | TRL 5 | TRL 7 | Academia | Other Suppliers | Commercialising>15MW turbine platforms | Difficulties with assessing and mitigating the potential cumulative impacts on shipping and navigation due to uncertainty around risks that may arise from OSW projects. There is also a lack of standardised approach to assessing the availability of alternative fishing grounds (outside development areas) and their ability to sustain existing /displaced commercial fishing levels. It will need a cooperation of Academia and Industry. |  | 2021 | 2025 | L | H | H | L | This element wouldn’t drive LCOE down but could enable additional revenue generation. Successful development of methodology could boost fishing industry confidence to go back to fishing grounds. | Links to sustaining a strong commercial fishing industry | Growth of offshore wind (particularly floating wind) will exacerbate the negative impacts on shipping, navigation and commercial fisheries
Reducing ecological impact uncertainty
Coordinated environmental monitoring | Innovation Area | NO | TRL 2 | TRL 9 | Academia | Owner Operators | Commercialising>15MW turbine platforms | There is a need for different types of models (individual behaviour, population level and ecosystem level), real data for whole range of spatial scales: near device (behaviour change of animals), near array (population changes due to construction and O&M) and cumulative effects of multiple arrays and industries (wind, wave and tidal on ecosystem functioning). After agreeing on high risk issues, coordinated environmental monitoring would standardise methods of collection and use of spatial scales to coordinate data collection at different scales. Next step would be collation of data into an open data base and a clear roadmap to the use of data in population level models to prevent 'sample everything'. This element is desirable to enable high deployment of OSW. Enabler would include academia, SNCBs, NGOs and industry. |  | 2021 | 2028 | L | M | H | H | Generation cost not impacted, rather delays and risk to gaining consent. |  | Without funding work on this element can slip over and it will take more time than the forecast. The desire is strong across management, developers and groups that manufacture equipment, but needs funding and coordination body.
Ornithology monitoring | Innovation Area | NO | TRL 5 | TRL 9 | Research Technical Organisations | Owner Operators | Commercialising>15MW turbine platforms | There is limited robust data available for the quantification of collision or displacement rates, and no empirical data on the consequences of displacement/ barrier effects on individual seabirds or populations. These are key constraints on marine renewable developments, resulting in the application of overly precautionary approaches, delays, increased costs, or the refusal of consents. Quantifying the avoidance and displacement responses of seabirds to marine renewables could ease those constraints. The element would need buy in from industry, government and academia to maximise likelihood of success. Only delivery of few large projects would enable delivery in timescales provided. |  | 2021 | 2026 | L | H | M | H | Generation cost not impacted, rather delays and risk to gaining consent. | Very significant expertise exists in the UK. Ornithology a prime ecological concern/ constraint on offshore renewables in UK, and this will only increase as cumulative effects across all constructed/ consented windfarms increases, risking future marine renewables development. Huge potential to export expertise and methods overseas to existing and emerging marine renewables markets (financial and 'soft power' potential). | Risk to future offshore renewables will only increase as cumulative assessments have increasing likelihood of identifying impacts on seabird populations as not acceptable
Marine life monitoring | Innovation Area | NO | TRL 5 | TRL 9 | Research Technical Organisations | Owner Operators | Commercialising>15MW turbine platforms | Understanding multiple and cumulative effects between species and across trophic levels by understanding indirect effects on ecosystem functioning. Example: change in water column mixing from extraction of energy changes the level of primary production which influences the food chain. Potential collaboration with national data collection for MSFD GES descriptors. Academia would need to collaborate with RTOs and industry. Only delivery of few large projects would enable delivery in timescales provided. |  | 2021 | 2026 | L | M | M | H | Generation cost not impacted, rather delays and risk to gaining consent. | Very significant expertise exists in the UK. Of relevance to wide range of industries beyond renewables, and UK and international obligations. Potential to export expertise and methods overseas to existing and emerging marine renewables markets. | Risk to future offshore renewables will only increase as cumulative assessments have increasing likelihood of identifying impacts on marine populations as not acceptable
Ecological survey techniques | Innovation Area | NO | TRL 3 | TRL 6 | Academia | Owner Operators | Commercialising>15MW turbine platforms | New ecological survey techniques that would result in better data collection and more accurate modelling impact to environment. Surveys and sampling of ecological issues (i.e. use of boats and airplanes for targeted areas and/or making use of national data collection - such as fisheries or seabird surveys). Tagging of mobile animals for offshore site use and knowledge of genetic connectivity. Also use of autonomous platforms, gliders, buoys, attachments to monopiles. There is a need for clear roadmap to use of data in population level models. Actor would include academia, Catapult, SME and industry. |  | 2021 | 2040 | L | M | M | H | Generation cost not impacted, rather delays and risk to gaining consent. | Very significant expertise exists in the UK. Of relevance to wide range of industries beyond renewables, and UK and international obligations. Potential to export expertise and methods overseas to existing and emerging marine renewables markets. | It will require a tight cooperation of academia and industry. A significant constraint on collection of these data is cost, health and safety.
Ecological monitoring using remote, autonomous platforms | Innovation Area | YES | TRL 6 | TRL 9 | Industry/SMEs | Owner Operators | Commercialising>15MW turbine platforms | Ecological monitoring using remote, autonomous platforms would allow efficient gathering of data on abundance, distribution and behavioural consequences of construction activity at offshore wind farms. Main aim would be detecting, locating and identifying cetaceans and pinnipeds to species level. It would then feed back into impact assessments undertaken by developers and strategic planning undertaken by government. |  | 2021 | 2024 | L | H | M | H | Generation cost not impacted, rather delays and risk to gaining consent. | Very significant expertise exists in the UK. Of relevance to wide range of industries beyond renewables, and UK and international obligations. Potential to export expertise and methods overseas to existing and emerging marine renewables markets. | It will require a tight cooperation of academia and industry. A significant constraint on collection of these data is cost, health and safety.
Floating Wind
Optimisation of design during FEED | Innovation Area | NO | TRL 3 | TRL 7 | Industry/SMEs | Owner Operators | Enabling disruptive innovation | Background: FEED study follows conceptual/feasibility study, meaning that detailed design and optimisation occur during this stage which enable the basic concept and component size to be chosen based on simplified design activities. Usually, this is completed for a variety of design options to compare economically viable solutions. Additionally, industry is lacking tools to optimise a floating windfarm layout that differs to bottom-fixed in terms of wake effects, cabling design and costs of support structures (e.g. moorings). Innovation: Additional studies at the FEED stage could offer substantial reductions in the LCOE. It involves the use of additional survey data, such as those gathered through a greater level of geotechnical and geophysical surveying, and increased depth of design for the foundation and installation methods for a number of turbine and foundation designs. This would enhance the accuracy of cost estimates for wind farm design solutions with variables such as water depth, soil conditions and wind speed, as well as choice of turbine. |  | 2021 | 2030 | n/a | n/a | n/a | n/a | Optimised designs can lead to lower CAPEX and/or OPEX. It would also reduce the risk, bringing down the contingency fund. | This will be mainly performed by substructure designers. However, UK has a number of engineering consultancies with experience in performing this kind of work. | This is an area that substructure developers need to do to be successful. However, for some specific parts of the design, they could team up with research organisations to tap into their knowledge or to limit their costs. | Optimised designs should lead to fewer interventions offshore, meaning reduced offshore risks for technicians. Similarly, if optimised for survivability, it should be less likely to fail and pose environmental damage.
Environmental impact of floating substructures | Innovation Area | NO | TRL 3 | TRL 9 | Academia | Owner Operators | Enabling disruptive innovation | Background: Environmental impact of floating substructures will differ to fixed due to moving catering system, chain dragging and anchor line collisions. The number of FOWT substructures will be significantly bigger than O&G platforms so the cumulative effect of wind turbines will have to be examined in detail (fishing stocks, noise etc.) . It will require collaboration between Academia and NGOs (e.g. Marine Scotland and SAMS). Innovation: Tools and methodologies to measure the impact need improvement and industry & academia agreement. Innovation in this area would focus on shortening the time of environmental impact studies while maintaining the high quality of outputs. |  | 2021 | 2033 | L | H | M | H |  | Information from Scottish FOW farms together with wind farms in France could drive the development of the methodologies. This is an area of interest in the UK, with various organisation already looking into this (Equinor, SAMS, Strathclyde) and a potential for learning from O&G sector. | Environmental methodologies are typically not designed by the industry, but 3rd independent parties to technologies. | Strong environmental impact on seabed fauna and creatures, possible positive impact on fish stock, unclear impact on sea mammals.
Installation
Turbines
Advanced lifting | Innovation Area | YES | TRL 4 | TRL 9 | Industry/SMEs | Owner Operators | Commercialising>15MW turbine platforms | Background: Turbines are becoming more powerful, and with that extra power comes greater height. Currently the biggest wind turbines can only be installed and maintained by specific vessels due to the lifting height limitation of the vessel. When we are looking at next generation turbines, 15MW+ on floating platforms, very few vessels are able to access these heights and the ones that can come with a large price tag. Innovation There is room for a vessel or component that can lift heavy components (blades, transformers etc.) at high heights. This solution should not be limited by water depth as industry is looking at turbines installed in ~60m deep water, or deeper in the case of floating wind. The solution should also not come with a day rate comparable to that of a floating heavy lift vessel. A solution like this would allow for the maintenance or installation of floating wind turbines at site, reducing costs. |  | 2021 | 2040 | M | M | L | L | By creating innovative lifting solutions the need to hire costly heavy lift vessels is reduced, reducing operating costs. | The UK has a history of ship building and engineering innovation. By creating lifting solutions in the UK the vessels port of home will be UK, increasing jobs and income in the area | It is likely that industry will create these technologies without an intervention as there is strong market push. Intervention may help SMEs take more of a leading role, instead of solely the large companies. | increased lifting capabilities may reduce incidents surrounding lifting
Optimised offshore assembly | Innovation Area | YES | TRL 3 | TRL 7 | Industry/SMEs | Owner Operators | Commercialising>15MW turbine platforms | Background: With turbines and components ever increasing in size, novel techniques for assembling turbine components and substructures should be investigated. These techniques should not be restricted by turbines size or water depth. It is seen that optimised assembly will reduce construction times and costs. Innovation There is significant room for improvement when it comes to devising new methods for installation. New methods should not only be more effective and reduce cost and time but should also have minimised environmental impact, including noise. |  | 2021 | 2035 | L | M | L | n/a | By optimising WTG assembly costs will be stripped during the construction phase, this may also lead to optimisations in the operations phase. | Utilising the existing UK infrastructure and expertise will see this technology bring more learning to the UK. The UK is already well suited to accommodate the advancement of this technology. | It is likely that industry will create these technologies without an intervention as there is strong market push. Intervention may help SMEs take more of a leading role, instead of solely the large companies.
Foundations
Transportation of foundations | Innovation Area | YES | TRL 6 | TRL 9 | Industry/SMEs | Owner Operators | Commercialising>15MW turbine platforms | Background: Reducing installation costs by doing more work in less time by reducing transit times of relatively slow and costly installation vessels does offer potential to reduce costs, if an installation vessel can spend more of its time conducting installations and less time shuttling to/from port then savings could result. Innovation: Larger installations may be the answer to this, and may emerge if there is market demand, but it is also possible that more novel approaches will offer a solution. Note that due to level of investment required to design, build and commercialise new vessels and/or lifting solutions the barriers to entry in this area are relatively high. |  | 2021 | 2040 | M | L | L | M | If a new approach is developed which requires less equipment/less capable vessels/less time then this may also be a means to reduce LCOE. Could be increased to Medium, if significant | There are a small number of UK installation contractors, but the majority of this work is conducted by large European players, it looks relatively unlikely that new UK flagged installation vessels would result | Barrier to entry for new installation concepts is high. Many people can generate concept designs, but securing investment to build a new type of vessel will be extremely challenging and likely beyond the scope of typical R&D funding calls. | If people are removed from the point of work by a new approach then HSE risks reduced considerably.
Noise effects (including piling) | Innovation Area | YES | TRL 3 | TRL 6 | Academia | Owner Operators | Enabling disruptive innovation | Background: The noise of ORE is due to the pile driving during the installation, and to the aero/hydrodynamics of the blades during the operation. Noise is a concern for both people and animals. Innovation: The main challenges are to develop technology that mitigates noise, and to understand the ecological impact of noise. The main barrier to the development of technology is that the complex physics involved often requires complex analysis and highly specialised knowledge. The barrier to understanding the ecological impact is that comprehensive biological data is difficult to be gathered from offshore sites. Involvement of industry, government and academia likely to be required. Alternatives to pilling are under development (e.g. vibration pilling, bluepilling & Adbm). Regulations in this area in the UK are not as strict as overseas e.g. Germany. |  | 2021 | 2040 | L | M | M | H | This element is a project enabling activity. It may increase LCOE but it is needed to make large-scale deployments environmentally viable. | Very significant expertise exists in the UK. The benefit of developing new technology for noise mitigation include export potential, jobs created, intellectual property, etc. The benefit of understanding the environmental impact is providing global leadership on sustainable innovation. | Risk to future marine renewables will only increase as cumulative assessments have increasing likelihood of identifying effects of pile driving noise on marine mammals as not acceptable. Environmental study requires collaboration between industry and academia and intervention can enable this collaboration.
Integrated installation of TP, foundations and tower | Innovation Area | YES | TRL 7 | TRL 9 | Industry/SMEs | Owner Operators | Commercialising>15MW turbine platforms | Background: The current process of wind turbine installation consists of installation of foundation, transition piece, tower and rotor-nacelle assembly. This is a relatively lengthy process. Innovation: Whilst less applicable to monopiles, an integrated transition piece and foundation assembly could help to shorten the time required to install wind turbines by reducing the number of operations to be performed offshore e.g. telescopic foundations. It would enable an assembly in port and towing the structure offhore for installation independent of offshore cranes and specialised heavy lift vessels. This would have a knock-on effect of decreasing the H&S risk profile and lowering the LCOE of the technology. |  | 2021 | 2025 | H | M | L | M | Significantly reduced installation times. | One large structure so would have to be assembled close to the installation site (i.e. in the UK case using UK ports). | The pressure to reduce LCOE will push designers to innovate. | Reduced number of tasks to perform offshore
Alternatives to grouted connection | Innovation Area | YES | TRL 4 | TRL 9 | Industry/SMEs | Owner Operators | Commercialising>15MW turbine platforms | Background: Grouted connections (GCs) have been extensively used in offshore applications over the last decades and are widely used today in offshore monopile wind turbines. The effectiveness of the connections on monopiles was questioned recently after several substructures were reported to have insufficient performance in wind farms over Europe |  | 2021 | 2026 | L | M | M | M | If a new approach is developed that requires less CAPEX and OPEX from heavy lift vessels in position, there is a very good opportunity to reduce overall installation costs, which will have a residual impact on LCOE | There are a number of companies within the UK that have the capability to provide alternative solutions | The barrier to entry is significant. In order to test a novel application requires a developer or operator to allow the use of a new monopile or jacket structure, representing a significant cost and potential risk. | The HSE benefit is medium due to the benefit of reduced time at sea during installation. Reducing time at sea for technicians comes with an inherent risk reduction.
Cables
Improved quality of cables installation | Innovation Area | YES | TRL 3 | TRL 9 | Industry/SMEs | Owner Operators | Commercialising>15MW turbine platforms | Background: The poor installation of cables leads to many failures and lost production for a wind farm. These failures come from excessive bending and fatigue caused in the installation phase. It is vital that these installation techniques are better understood and more effective means are implemented, to reduce failures. Innovation The innovative element to this area is rather broad, new installation techniques could be derived or current installation techniques could be better understood, allowing for reduced damage during the installation phase. |  | 2021 | 2030 | M | M | M | n/a | Cables are costly to install and even more costly to repair. By optimising this process to reduce damage to the cable's costs could be vastly cut. | By developing this installation techniques not only will the UK benefit from this learning and jobs created but will also aid windfarms in UK waters. | Although industry know this is an issue it is likely that little will be done to aid the clean installation. Intervention will be needed to push industry in the right direction.
Faster cables installation | Innovation Area | YES | TRL 3 | TRL 7 | Industry/SMEs | Owner Operators | Commercialising>15MW turbine platforms | Background: Laying of cable can be a time-consuming process, the vessels used for the process are bespoke and so costly to charter. Optimised installation process would allow for quicker installations with less damage put onto the cables. Innovation The new innovation should allow for more cable to be laid in a day, perhaps by laying at a greater speed or having the ability to work in greater wave heights. This should not have a detrimental effect to the quality of the installation, in fact the opposite should be sought. |  | 2021 | 2030 | H | M | L | L | Cables are costly to install, by optimising this process we will see reduction to CAPEX of wind farms. The installation vessels used are expensive to charter, so reducing this chartering time will reduce costs. | By keeping this learning in-house (within UK) the vessels used will be UK vessels and the impact will benefit UK wind farms. | Owner Operators are constantly looking to reduce costs of installation and se they will be looking at optimising the installation process. | Faster installation will lead to less time offshore, this in turn will lead to health and safety benefits
Logistics and novel technology
Optimised dispatching | Innovation Area | NO | TRL 5 | TRL 9 | Research Technical Organisations | Owner Operators | Commercialising>15MW turbine platforms |  |  | 2021 | 2030 | L | M | L | L
Port logistics | Innovation Area | NO | TRL 4 | TRL 9 | Industry/SMEs | Owner Operators | Commercialising>15MW turbine platforms | Background: Total number of installations may significantly increase in forthcoming years as the industry's ambition is to develop at least 30GW by 2030. This will require an installation of ~2GW per year and a significant workload for ports that will have to service installation vessels. Innovation: Port logistics issue must be addressed in order to installation run smoothly. It will require cooperation with RTOs. |  | 2021 | 2030 | L | M | M | M
Disruptive installation techniques | Innovation Area | YES | TRL 2 | TRL 9 | Industry/SMEs | Owner Operators | Enabling disruptive innovation | Background: Novel installation techniques cover new methods for the installation of cables (duct or tunnel), turbines and substructures. Innovation would come in the form of new and improved installation techniques, such as self-installing blades with drones, new cable trenching techniques, etc. These innovations could speed up and reduce cost of turbine installation and reduce H&S risks for workers. |  | 2021 | 2040 | M | M | M | L | Lifetime cost of an offshore wind farm is split about 70/30 (Ioannou et al., 2018) between CAPEX and OPEX. Novel installation techniques could be key in driving down the CAPEX, therefore reducing overall cost | Limited UK benefit from a manufacturing point of view, but good potential IP benefits. | Further research will be required to determine whether this is actually a good idea or not, perhaps some funding for feasibility type work | Potential to reduce work in hazardous environment by speeding installation up. Also potential to remove worker from dangerous situations through robotics and automation.
Floating Wind
Mooring systems connection | Innovation Area | YES | TRL 4 | TRL 9 | Industry/SMEs | Owner Operators | Enabling disruptive innovation | Background: Connection and disconnection of floating structures takes place as two stages: the mooring and the array cable. The (dis)connection is performed when turbine is installed, if repairs off the site and during decommissioning. Innovation: With improvements in the design of the mooring and connection system, the connection and disconnection of the mooring will get faster, meaning that installation and major unplanned operations can be done more quickly. This will reduce cost and in the case of operations should also reduce downtime. Where standard tug vessels are used, only minor vessel change will occur. Where larger vessels are used, these will become more specialised to their floating offshore wind application. Connection technologies will significantly differ between mechanical and electrical elements. |  | 2021 | 2030 | M | M | M | M | Ability to reduce time to connect and disconnect, leading to reduced installation expenditure, OPEX, DECEX. | UK is based to a number of companies that could develop this technology and offer on the market. | PPI has developed a technology for quick (dis)connection, but it is not proprietary to them. There is a benefit of developing the technology that would be applicable and available on the market. | Reduced time offshore by personnel.
Floating electrical systems connection | Innovation Area | YES | TRL 4 | TRL 9 | Industry/SMEs | Owner Operators | Enabling disruptive innovation | Background: Connection and disconnection of floating structures takes place as two stages: the mooring and the array cable. The (dis)connection is performed when turbine is installed, if repairs off the site and during decommissioning. Innovation: With improvements in the design of the mooring and connection system, the connection and disconnection of the array cable will get faster, meaning that installation and major unplanned operations can be done more quickly. This will reduce cost and in the case of operations should also reduce downtime. Where standard tug vessels are used, only minor vessel change will occur. Where larger vessels are used, these will become more specialised to their floating offshore wind application. Connection technologies will significantly differ between mechanical and electrical elements. |  | 2021 | 2030 | M | M | M | M | Ability to reduce time to connect and disconnect, leading to reduced installation expenditure, OPEX, DECEX. | UK is based to a number of companies that could develop this technology and offer on the market. | PPI has developed a technology for quick (dis)connection, but it is not proprietary to them. There is a benefit of developing the technology that would be applicable and available on the market. | Reduced time offshore by personnel.
Introduction of turbine assembly strategies for generic harbours | Innovation Area | NO | TRL 3 | TRL 9 | Industry/SMEs | Owner Operators | Enabling disruptive innovation | Background: One of the major advantages of floating wind turbines over bottom-fixed wind is the ability to assemble these onshore (substructure assembled at quay side, loaded out into water and wind turbine installed atop of it). However, very few ports currently exist that can accommodate construction of a large floating wind farm. Innovation: There are several solutions available: onshore cranes, innovative lifting equipment and heavy lift vessels (HLVs). HVLs could form an artificial quayside adjacent to a small-medium harbour which opens up more harbours as suitable assembly locations. An investment in port facilities to increase their soil bearing capacity, installation of large cranes, staging area development and other requirements will be required. Solutions will probably be very port dependent. |  | 2021 | 2030 | H | H | L | L | Ability to get away from using expensive installation vessels, improving weather windows (onshore > offshore) and having a larger choice of ports to use on the project (proximity to the project). | Use of UK ports for floating wind fabrication, assembly and staging. | Ports/yards already looking into this. ORE Catapult working with Hunterston. | Very low to negligible impact on HSE, as floating wind turbines (except for spars) will be assembled in port whether using onshore crane or jack-up vessel.
Offshore floating assembly activities | Innovation Area | NO | TRL 4 | TRL 9 | Industry/SMEs | Owner Operators | Enabling disruptive innovation | Background: One way of installing the support structure is installation of the turbine onto the support structure in a sheltered sea area near to port (for spar-buoy). Innovation: Improvements will come through increased accuracy of installation activities allowing for vessels to be used in closer proximity, through dynamic positioning vessels having better station keeping while at site reducing time at sea and associated cost. With increased understanding of the motions of the devices when under tow, the towing speeds will increase, reducing installation time. Further reductions could come with Feeder barges transporting turbine components to the heavy lift vessel in sheltered waters. |  | 2021 | 2030 | M | M | L | L
Floating heavy lift vessels | Innovation Area | YES | TRL 2 | TRL 9 | Industry/SMEs | Owner Operators | Enabling disruptive innovation | Background: When a major unplanned maintenance work is required at a floating windfarm, either a very large, floating heavy-lift vessel (HLV) is used to fix the problem offshore, or the device is towed back to port. If for any reason (e.g. location, unavailability of ports, number of turbines to repair) major repairs have to be performed offshore, possibly a new bespoke floating HLV will need to be used. Floating wind sites could have weather windows that are smaller than for an average bottom-fixed wind site. Innovation: Next generation heavy-lift vessels will be designed for major offshore wind activities and not using O&G standards. The ability to perform major component exchanges will increase with better wind speed / wave height limits. Technology exists now, but the cost of usage is very significant. Optimisation work together with the increasing availability of these vessels should bring the costs down. Further reduction will be available with the addition of alternative systems, such as internal and climbing cranes. |  | 2021 | 2040 | M | n/a | L | n/a | Increased weather windows leading to reduced power loss. | HLV design and fabrication is typically performed offshore. The majority of HLV are owned by foreign companies. | Vessels to be developed by vessel suppliers | Could be negative, as now repairs would be performed offshore compared to towing the unit to port and performing work onshore.
Operations
Commercial & Strategy
Trade & Yield Optimisation
Grid notification tools | Innovation Area | NO | TRL 7 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Background: The drive for cost reduction will push operational wind farms into a new paradigm where marginal gains are vital to commercial success. This combined with periods of negative electricity pricing will make it important to incorporate the price of electricity into day to day operational decisions at wind farm sites. An accurate short-term prediction (few hours - one day) of the power output is needed both to bid at energy auctions (where energy companies sell power) and to plan maintenance or to divert generation of the energy harvesters into a stored form such as batteries or hydrogen. The power output is due to a combination of the weather forecast and the control system of the farm. It requires advanced integrated modelling of the whole weather-farm system. |  | 2021 | 2028 | L | L | M | n/a | Existing models are critically inaccurate for extreme rare events, hence there would be LCOE saving over a year but low | Area led by the US where areas of wind farms are bigger and hence this issue is more critical | The control of the wind farm is typically developed by industry while specialist expertise on weather forecast (statistics) and advanced control theory is in academia. Hence intervention can facilitate joint project. Given the intermediate TRL, Catapult is in a good position to lead. | Mostly a cost concern
Advanced met ocean, weather & power forecasting | Innovation Area | NO | TRL 4 | TRL 6 | Academia | Owner Operators | Maximising operational performance of existing wind farms | Background: Weather is a key driver of both power production and maintenance activities. It is suggested that a better understanding and prediction of the relationships involved could lead to more efficiently executed maintenance activities. Innovation: The profitability of an operational offshore wind farm could likely be increased if there were more accurate forecasts of weather conditions ahead of time. Development of new generation tools would result in optimisation of O&M (reduction of the number of wasted trips), reduced cost of downtime, increased availability, increased energy production or an increase in production at times of high demand/market price. Better forecasting would also help the National Grid in frequency balancing, allowing windfarms to be curtailed less frequently. |  | 2021 | 2024 | M | M | M | H | O&M Cost Drivers report anticipated that this Innovation Area could have a £273 /MW / Year impact on O&M cost of an average current fleet windfarm. Read more in HERE |  |  | HSE scored as high because of the potential to reduce wasted trips on CTV, particularly in times of marginal conditions.
Coordination & People
Access
Disruptive access planning tools | Innovation Area | NO | TRL 4 | TRL 7 | Research Technical Organisations | Owner Operators | Maximising operational performance of existing wind farms | Background: Tools are required to accurately forecast the opportunity for safe access across a wind farm site that takes account for met ocean conditions at specific turbine locations and vessel limitations. Lack of advanced meteorological prediction reduces this opportunity and significantly increases risk associated with small weather windows. Innovation: With more advanced meteorological forecasting advanced route planning can take place to take advantage of precise route planning, reducing turbine down time by opening up more opportunities to service turbines safely. |  | 2021 | 2027 | M | M | H | H | Additional windows to carry out maintenance operations in changing weather conditions will reduce downtime and maximise revenues from production |  | With the advent of Floating Offshore Wind turbines additional weather windows will be important in more hostile sea states | HSE scored as high because of the potential to reduce wasted trips on CTV, particularly in times of marginal conditions.
Offshore crew accommodation (including oil & gas platforms) | Innovation Area | YES | TRL 6 | TRL 9 | Industry/SMEs | Owner Operators | Enabling disruptive innovation | Background: Currently, when a wind farm needs maintenance, a CTV is dispatched from shore. As wind farms are deployed in locations further from shore, it will soon become expensive and inefficient to send technicians out in this way on a regular basis. Therefore, new solutions will be required in order to maintain the same standards of service and maintenance we have now. Innovation: The next logical step is for large motherships or SOVs that will be stationed at a site for several weeks as smaller vessels enable transfer from the mothership to the turbines. Once a wind farm is of a sufficient size that there is sufficient work to be carried out at site that demands continuous attention, it will become appealing to build a fixed offshore base to house accommodation and O&M materials. There is also an opportunity to repurpose retired oil & gas platform that are in proximity to wind farms and utilise infrastructure that would normally require decommissioning. |  | 2021 | 2030 | M | M | L | M | Potential to reduce cost of maintenance – lower cost than transferring crew from shore also making it more feasible to perform proactive maintenance, reducing the risk of breakdowns. | Most ships of this type are built in the far east, so there's little benefit to the UK supply chain in their manufacture, however, there will be a benefit to the UK ports that will be docking and supplying vessels. Potential economic benefit from the repurposing of existing assets such as disused O&G platforms | It is in industry's best interests to reduce O&M costs, crew transfer is a significant cost that will only increase as wind farms move further from shore. Large "floatel" vessels already exist but are currently too expensive to be cost-effective for use in the offshore wind sector. | This innovation area is not H&S driven but will decrease transit times and operations from boat to ladders. It will also be more environmentally friendly to repurpose old oil & gas platform to remove them.
Improved access systems | Innovation Area | YES | TRL 7 | TRL 9 | Industry/SMEs | Other Suppliers |  | Background: Availability of offshore wind turbines is driven by the ability (or not) of the maintenance team to access to the turbine to carry out reactive or planned maintenance tasks. If an access system could be improved to enable technicians to gain access across a wider range of weather (wave height is usually the limiting factor) conditions safely then in theory turbine availability and hence production could be increased. Innovation A key challenge for innovations in access systems remains ensuring that they are cost efficient when offering only marginal gains over traditional systems. Safety of personnel should also be a strong theme here. |  | 2021 | 2022 | M | M | L | H |  |  | Considered low because high technology access systems have sometimes been perceived to be expensive whilst offering marginal improvements, and that new solutions need to balance cost and benefit rather than being developed simply to be technically better (whilst coming at prohibitively high cost).
Marine coordination
Advanced crew & vessel optimisation tools | Innovation Area | NO | TRL 5 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Background: Ensuring that vessels (primarily CTV at present) are utilised most efficiently could either reduce operating costs for a windfarm operator or potentially increase the productivity of maintenance teams. For example, is a CTV has 18 seats and technicians work in teams of 2 per turbine, which is most efficient; 1 vessel with 9 teams making multiple drop off/pick up stops, or 2 vessels with 3 - 4 teams making many fewer stops and hence spending less time in transit? Innovation: As with many marine operations there is likely not a single best fit for all sites, and hence tools that utilise AI and machine learning to aid optimisation and efficiency could add value. There are some commercial providers who would offer to do this now, but research is needed in terms of next level tools that will use AI and machine learning. |  | 2021 | 2025 | M | M | M | M | O&M Cost Drivers report anticipated that this Innovation Area could have a £1,458 /MW / Year impact on O&M cost of an average current fleet windfarm. Read more in HERE
Advanced communication infrastructure & hardware | Innovation Area | YES | TRL 6 | TRL 9 | Research Technical Organisations | Owner Operators | Maximising operational performance of existing wind farms | Background: As wind turbines increase in size and complexity, there will be a relentless increase in the volume of data generated by each asset. This will create significant demands on the communication infrastructure and hardware necessary for signals to be shared throughout a wind farm and transmitted back to base for monitoring, control and analysis. Innovation: Examples of Tampnet in O&G or Equinor’s installation of offshore communications across the continental shelf has demonstrated the technology at commercial levels - this is mostly a commercial rather than technological issue. Further improvements will be required for lower cost versions. |  | 2021 | 2028 | L | H | M | M | It would enable use of augmented reality offshore |  | Requires The Crown Estate attention
Machine Learning for autonomous mission planning | Innovation Area | NO | TRL 4 | TRL 9 | Research Technical Organisations | Owner Operators | Maximising operational performance of existing wind farms | Background: Mission Planning for robotics will typically involve one or more semi-autonomous 'drones' and a human operator. Utilising Machine Learning Techniques will result in optimal allocation of drones to tasks. |  | 2021 | 2030 | L | M | M | M | While utilisation of ML techniques for mission planning is likely to have a low overall impact on LCOE reduction, it will act as an enabler for increased deployment of simultaneous drone operations in offshore wind farms | The UK has relative strength in developing ML solutions looking at its broad application in other sectors, for example FinTech. Developing solutions for mission planning will be vital to the OW sector in the future, and could result in new IP and significant export potential for successful commercial solutions. | The industry is likely to seek out solutions to support operational efficiencies through mission planning, but supporting the sector will accelerate the outcomes. | Improved mission planning due to ML developments will enable optimise Human-Machine offshore operations. It could therefore improve efficiency of those operations and support a safe working environment.
Search and rescue | Innovation Area | NO | TRL 4 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Existing wind farms are laid out in linear or grid arrangements to ensure clear routes through (lines of orientation) in one or two directions for SAR helicopters. This is not an optimal layout for wind farm performance. A compromise may be possible if rapid and effective SAR can be conducted via autonomous craft on the sea surface or in the air. |  | 2021 | 2024 | H | M | H | M | If the MCA accept alternative layouts to wind farms this could reduce the time it takes to achieve consent (reducing payments made during the Agreement fo r Lease) and increase revenue by improving yield from a layout optimised for production | Significant potential for increasing the electricity generation from sites ear-marked for future development, enabling UK to reach electricity generation targets more easily. | Collaboration needed between industry, MCA and CAA (in case of autonomous drones of larger mass than currently permitted) | An effective solution should be at least as good as what it replaces
Smart inventory management systems | Innovation Area | NO | TRL 7 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Background: Increasing the efficiency of warehousing and logistics operations could reduce operating costs and increase the productivity of maintenance teams. Innovation: A more data-driven approach to equipment tracking and warehousing and logistics operations could improve the efficiency and cost of O&M activities. This would require the digitisation of tools, materials, parts and spares as well as the development of improved and optimised inventory management systems. Case studies from the aerospace sector found that the adoption of smart inventory management systems led to a reduction in stock levels, the cost of holding spares and the time taken for manual order processing. It is assumed that these benefits could be replicated in the offshore wind sector. |  | 2021 | 2025 | M | M | L | M | O&M Cost Drivers report anticipated that this Innovation Area could have a £555 /MW / Year impact on O&M cost of an average current fleet windfarm. Read more in HERE | It is unlikely that there will be significant UK company benefit. The major players in the industry (Mobile Industrial Robotics, Amazon, Boston Dynamics) have the most sophisticated equipment |  | Potential to reduce exposure to hazard through more productive operations. Safety will be an important consideration in the development of intelligent systems
Human factors
Robotic hubs and swarms | Innovation Area | YES | TRL 5 | TRL 9 | Catapult | Owner Operators | Enabling disruptive innovation | Background: Reducing the time spent offshore by manned vessels and technicians is a main cost driver for offshore wind farm O&M. Deploying robots and autonomous systems, such as drones, underwater vehicles and climbing robots to perform inspection, maintenance and repair (IMR) tasks has potential to reduce costs. Incremental cost reduction is possible whereby these robots are deployed, recharged and recovered by manned vessels i.e. semi-autonomous. However, significant cost reduction is possible when these tasks are remotely supervised. One option is to use unmanned vehicle hubs that can autonomously transport, deploy, recover and recharge multiple robots for conducting IMR tasks. Further efficiencies are possible through the simultaneous deployment of different robots from the hub, working together in teams or swarms to deliver tasks both topside and subsea. Innovation This innovation should be capable of working with many different robot types, all using different operating software and working in different terrains. The solution should be a full encompassing solution, flexible and capable of expanding if required. |  | 2021 | 2030 | M | H | M | H |  |  | Multiple robotic vehicle operation and associated mission planning will require extensive verification & validation in representative environments for end users to trust in the capabilities and operational envelope of the systems. | Significant potential to reduce personnel time at sea
Technician’s welfare solutions | Innovation Area | YES | TRL 7 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Background: As temporary work environments, essential welfare requirements on other sites, have not been considered necessary. In-turbine toilets will provide long overlooked technician welfare facilities. Other areas of investigation are the negative physiological and psychological effects of sea sickness and repeated ladder climbs. |  | 2021 | 2024 | L | M | M | H | In turbine welfare facilities can reduce the number of boat transfers and reduce the overall downtime as technicians can work more efficiently without transferring back and forth to the boat to use the facilities. | UK SME developer designed and manufactured welfare units |  | Signifcantly reducing the number of boat transfers per turbine service.
Human - Robot interface technologies | Innovation Area | NO | TRL 4 | TRL 8 | Academia | Owner Operators | Enabling disruptive innovation | Background: Robotic solutions are becoming ever more common in the offshore industry. Some of these methods can be confusing and require expert level knowledge to work with. New innovations are needed to ensure that the robotic solutions are easy to interact with. Innovation This may range from natural language translation, interfacing of autonomous systems with existing workflows, such as marine control or even remote interactive teleoperation of specific robotic technologies. Innovations should be easy and intuitive to work with. With offshore wind expanding internationally, the innovations should take into account the multi-lingual nature of the industry. |  | 2021 | 2035 | L | H | L | L |  |  |  | This does not directly have an HSE effect but aids in the development of technologies that could have a very high HSE impact
Augmented reality applications | Innovation Area | YES | TRL 4 | TRL 9 | Research Technical Organisations | Owner Operators | Enabling disruptive innovation | Background: Offshore technicians perform a wide range of scheduled and unscheduled maintenance. Understanding the layout, requirements and condition of every system is an increasingly challenging task. The application of augmented reality (AR) technology – overlaying digital content onto the real world – provides a means to achieve this. Innovation AR headsets or devices with AR capability can be used as a support tool for onsite technicians; providing specialist advice, reducing risk and increasing the efficiency of offshore operations. Enabler will be RTOs with a help from Industry. |  | 2021 | 2023 | L | M | M | M | Will not significantly affect LCoE as AR technology will primarily be used to increase efficiency and reduce risk. | UK has developed VR technology for offshore wind and has some capability in this area. | AR technology will need to be tested/verified by technology providers first, prior to adoption by Owner Operators. | Can bring significant improvements in training technicians and minimise number of O&M trips
Decision making tools to reduce impact on H&S | Innovation Area | NO | TRL 5 | TRL 7 | Research Technical Organisations | Owner Operators | Maximising operational performance of existing wind farms | Creating tools that primarily consider health & safety when making operational and maintenance decisions. Examples include personnel transfer, blade lift and rope access. |  | 2021 | 2025 | M | H | H | H
UK Robotics and Artificial Intelligence Hub for Offshore Energy Asset Integrity Management | Ongoing R&D project | NO | TRL 3 | TRL 5 | Academia | Owner Operators | Enabling disruptive innovation | We expect this project to be linked to element "Robotics & autonomous systems to total replacement of human working". The Hub will provide game-changing, remote solutions using robotics and AI that are readily integratable with existing and future assets and sensors, and that can operate and interact safely in autonomous or semi-autonomous modes in complex and cluttered environments. We will develop robotics solutions enabling accurate mapping of, navigation around and interaction with offshore assets that support the deployment of sensors networks for asset monitoring. Human-machine systems will be able to co-operate with remotely located human operators through an intelligent interface that manages the cognitive load of users in these complex, high-risk situations. Robots and sensors will be integrated into a broad asset integrity information and planning platform that supports self-certification of the assets and robots. | https://gtr.ukri.org/projects?ref=EP%2FR026173%2F1 | 2021 | 2022
Drone Swarm for Unmanned Inspection of Wind Turbines (Dr-SUIT) | Ongoing R&D project | NO | TRL 1 | TRL 1 | Academia | Owner Operators | Maximising operational performance of existing wind farms | We expect this project to be linked to element "Robotic hubs and swarms. This partnership will develop drone swarming capabilities and an operational platform for an autonomous inspection in offshore wind farms (OWF). The project will focus on building drone swarm resilience and maximising safety especially when addressing the O&M challenges including access and deployment within remote and hostile environments hazards, increasing O&M costs, and improving drone performance. A live demonstration of an optimised drone swarm deployment performing blades inspections in a wind farm will conclude this Phase 2 project. Note: TRLs for this project have not been updated. | https://gtr.ukri.org/projects?ref=75238 | 2021 | 2022
Next generation vehicles
Autonomous vehicles | Innovation Area | YES | TRL 5 | TRL 9 | Industry/SMEs | Owner Operators |  | Sea surface remote vehicles are fully commercial applications available to offshore wind. Stand-alone sub-surface and air-borne vehicles are following at lower TRLs. There remains an opportunity to further reduce the cost and human risk of these activities by increasing the amount of 'intelligence' in the devices themselves. For example, a vehicle which can navigate and carry out tasks without a human actively controlling it at all times would mean a single operator could control multiple vehicles or perhaps that no operator is required at all. |  | 2021 | 2040 | M | H | M | H |  |  |  | This innovation could improve safety by reducing exposure to hazards, by displacing manned offshore activity. There will also be a strong safety case element to the development of intelligence and automation, e.g. how to ensure that intelligent systems will always make the best decision?
Reducing crew transfer vessels costs | Innovation Area | YES | TRL 6 | TRL 9 | Other | Other Suppliers |  | Background: Crew Transfer Vessels (CTVs) are used to transport wind farm technicians and other personnel out to sites on a daily basis. The majority of them have been designed and built to work in the sector. Current technical CTV limitations are restricting inspections and maintenance hence leading to downtime. Innovation: Even as the offshore wind sector continues to grow in scale, many sites will continue to be accessed by crew transfer vessels (CTVs) for service and maintenance activities. Advancements could still be made in terms of cost reduction, increased access heights and speed and comfort of transit. |  | 2021 | 2040 | H | M | M | L | O&M Cost Drivers report anticipated that this Innovation Area could have a £1,458 /MW / Year impact on O&M cost of an average current fleet windfarm. Read more in HERE |  |  | Small H&S potential if it improves access to farms
Next generation CTVs | Innovation Area | YES | TRL 4 | TRL 9 | Industry/SMEs | Owner Operators |  | 'Background: The maintenance of an offshore wind farm is inherently energy intensive. To ensure these wind farms are as environmentally friendly as possible it is essential that the maintenance fleet is considered and energy consumption is reduced here. Next generation CTVs should consider new hull forms for increased efficiency and investigate alternative propulsion and fuelling methods. Additionally, next generation CTVs should be capable of transporting larger parts for a turbine, minimising time required for an SOV or a jack up vessel. Innovation: What makes a CTVs next generation can be considered in many different aspects: the propulsion method (for example water jet), fuel being used (for example electricity, LNG or hydrogen), hull shapes or even looking at autonomous vessels and remote piloting. This has the possibility of increasing health and safety as well as reducing costs. |  | 2021 | 2025 | M | H | M | M | Future fuelling methods may be remarkably cheaper than current methods, especially if carbon tax becomes active. The ability to use Hydrogen or electricity (both of which may be produced at site) could see costs reduced dramatically. Additionally, new hull forms may increase the efficiency of ships. | By keeping this learning in-house (within UK) the innovations gained will be UK IP and this could lead to the UK being the centre of excellence for new propulsion methods for small vessels | The maritime industry is infamously slow to move and think in an environmentally conscious manner. Without appropriate push, these innovations may come too late or already be old technology by the time their implemented. | More efficient transport means could lead to more stable vessels, providing more security for personnel being transported.
Offshore charging capability | Innovation Area | YES | TRL 5 | TRL 9 | Industry/SMEs | Owner Operators |  |  |  | 2021 | 2024 | M | H | H | H | Systems with storage capabilities could be banking vessel powers in times of negative pricing
Assets & Technical
Survey & Inspection
VLOS autonomous systems | Innovation Area | YES | TRL 8 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Background: Majority of external blade inspections are currently conducted by rope access technicians; a team of three would conduct inspections at a rate of one turbine per day via this method. Speeding up this inspection without compromising on the quality would reduce costs associated with turbine downtime. Innovation: Visual Line of Sight autonomous systems could be one of the solutions. Example blade inspection drone which will fly a programmed route under its own control but where an operator is present to launch, monitor and recover the vehicle. |  | 2021 | 2024 | L | H | M | M | O&M Cost Drivers report anticipated that this Innovation Area could have a £166 /MW / Year impact on O&M cost of an average current fleet windfarm. Read more in HERE
BVLOS autonomous systems | Innovation Area | YES | TRL 6 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Background: Majority of external blade inspections are currently conducted by rope access technicians; a team of three would conduct inspections at a rate of one turbine per day via this method. Speeding up this inspection without compromising on the quality would reduce costs associated with turbine downtime. Innovation: Beyond Visual Line of Sight autonomous systems (e.g. the use of blade inspection drones where the pilot does not need to be able to see the vehicle) has significant technical challenges but avoids the cost of transporting technicians to the turbines. A human operator would still be required to monitor the mission progress via a human-machine interface and to review the results of the survey data but potentially this could be carried out from a safer location or from shore. This would still require regulatory approval from the relevant air authority, which is currently assessed case-by-case basis in segregated airspace only. |  | 2021 | 2031 | M | H | M | H | O&M Cost Drivers report anticipated that this Innovation Area could have a £326 /MW / Year impact on O&M cost of an average current fleet windfarm. Read more in HERE |  | Demonstrating the capabilities of the technologies in commercial environments is crucial for the eventual acceptance of BVLOS autonomous systems by the air authority. | Significant potential to reduce personnel time at sea
Data structure and landscaping | Innovation Area | NO | TRL 4 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Background: Windfarms like most industrial plant generate significant data as part of their day to day operation. The reluctance to share data and data analytical methodology in the offshore wind industry is a barrier to the development of new methods. Industry is lacking standards in how to structure the data and enable landscaping. Innovation: It is likely that additional insight and hence improved operational behaviour could be enabled if the data structure was standardised. It could also facilitate the data processing. |  | 2021 | 2030 | L | H | L | n/a | Potential to improve O&M decision making, prolonging lifetime of windfarms and reducing maintenance costs. | Most O&M services for UK windfarms are conducted from the UK. Any improvements in the way data is handled and analysed would help those UK-based companies | The reluctance to share data and data analytical methodology in the offshore wind industry is a barrier to the development of new methods. A case for intervention could be made if an independent 3rd party could act as a confidential data holder similar to SPARTA and WEBS programmes. | Minimal beyond potentially reducing time spent servicing offshore through O&M optimisations
Automated data processing | Innovation Area | NO | TRL 6 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Background: Windfarms like most industrial plant generate significant data as part of their day to day operation. SCADA data and CMS data has to be processed by qualified maintenance technicians at the onshore base. Innovation: It is likely that additional insight and hence improved operational behaviour could be enabled by machine data analysis. It would facilitate the data processing in an automated manner decreasing the need for technician’s involvement. |  | 2021 | 2040 | L | M | H | M | O&M Cost Drivers report anticipated that this Innovation Area could have a £262 /MW / Year impact on O&M cost of an average current fleet windfarm. Read more in HERE | The UK has a strength in resource within the data science region and solutions for automated data processing could be a cornerstone industry going forwards | The opportunity to develop private commercial opportunities that are exportable across the industry | Survey is not a high-risk activity, but less manned vessel time will reduce exposure to risk
Non-diver based substructure inspection | Innovation Area | YES | TRL 6 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Background: Majority of substructure inspections currently conducted by a team of dive technicians operating from a dive support vessel. ROV General Visual Inspections (GVI) are the standard method for subsea inspection. ROV inspection involves sending a team offshore to pilot the ROV and interpret the Video / Data results. Residency systems are at lower TRLs Innovation: The deployment of advanced camera systems, sensor systems and unmanned subsurface vessels could help to reduce the cost and risk of relying on human divers. Inspection of underwater foundations will be commercialised first, but cables buried underwater represent a further challenge. It is assumed that by 2030, AUV inspections will have offset at least 50% of human dive inspection activities. |  | 2021 | 2035 | M | H | H | H | O&M Cost Drivers report anticipated that this Innovation Area could have a £950 /MW / Year impact on O&M cost of an average current fleet windfarm. Read more in HERE |  |  | One of the highest H&S priorities in the sector
Non-visual and non-contact sensing | Innovation Area | YES | TRL 6 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Background: Wind turbine blades are complex composite structures which are subject to complex loading. Conducting non-destructive testing (NDT) highlights defects not visible on either inner or outer surface of the blades is heavily dependent on the use of rope access technicians, which is both costly and a H&S risk. Innovation: The innovation challenge is to develop techniques for performing non-visual, NDT inspections of composite wind turbine blades remotely and ideally without rope access technicians on blades. It could be also used for internal transition piece and substructure inspections. The displacement of humans from repetitive and/or high-risk tasks by deployment of entirely autonomous robotic systems could result in faster automated inspection tasks, where a human operator is only informed in event of an anomaly or event requiring their attention. |  | 2021 | 2026 | M | H | L | H | O&M Cost Drivers report anticipated that this Innovation Area could have a £352 /MW / Year impact on O&M cost of an average current fleet windfarm. Read more in HERE | With the UK currently having the largest amount of installed offshore wind capacity, any advancements in O&M techniques would have a large impact on the sector. Furthermore, many of the universities working in this area are UK-based. | Both academia and industry are already investing in new testing and maintenance techniques. | Opportunity to reduce rope access activity, which whilst not a large source of accidents does involve exposure to significant risks
Autonomous Aquatic Inspection and Intervention (A2I2) | Ongoing R&D project | NO | TRL 1 | TRL 1 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | We expect this project to be linked to element "Non-diver based substructure inspection". Underwater robots are increasingly utilised for commercial and scientific applications to make measurements and interact with the underwater environment. The A2I2 (Autonomous Aquatic Inspection and Intervention) robots will operate in hazardous underwater environments, for offshore renewables, oil and gas, and nuclear applications. Two specific intervention use-cases will be addressed through demonstrators; offshore coring, and wet nuclear storage pond inspections and interactions. These demonstrators are significantly different and therefore enable the project to address multiple market opportunities. This project will address the need for new approaches that are required to permit operation near to critical infrastructure. These will include increased intelligence on the underwater robots to enable them to position themselves and navigate avoiding collision with the surrounding environment. Note: TRLs for this project have not been updated. | https://gtr.ukri.org/projects?ref=104822 | 2021 | 2021
Project Starling | Ongoing R&D project | NO | TRL 1 | TRL 1 | Academia | Owner Operators | Maximising operational performance of existing wind farms | We expect this project to be linked to "BVLOS autonomous systems" Innovation Area. Flylogix provides low-cost, long-range Unmanned Aerial System (UAS) operating Beyond Visual Line of Sight (BVLOS). They currently service the offshore energy sector in the UK. This project with leading telecoms developer, Cambridge Consultants, and the leading offshore drilling contractor, Transocean, enables a centralised command and control capability from headquarters by solving integration, cost and reliability engineering problems to deliver a low-cost communications system, infrastructure and associated concept of operations. This product and service improvement is achieved by tackling the command & control component within the complex system of UAS operation. This facilitates the remote piloting of a UAS from a central control centre. Critically this project reconciles the competing requirements of high reliability demanded by regulators and low-cost demanded by customers.Note: TRLs for this project have not been updated. | https://gtr.ukri.org/projects?ref=44448 | 2021 | 2023
CleanWinTur – An ultrasonic system for anti-fouling and condition monitoring of offshore wind turbines | Ongoing R&D project | NO | TRL 1 | TRL 1 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | We expect this project to be linked to element "Non-diver based substructure inspection". Increasing depth and distance from the shore continue to drive maintenance costs up, particularly those associated to the substructure, limiting the sector's growth potential. In particular, dealing with marine growth and corrosion through traditional means (i.e. divers) becomes increasingly costly, challenging, dangerous, and ineffective. CleanWintur will automate this process with a permanently installed system that uses ultrasound to prevent marine growth on the substructure while periodically monitoring the integrity of the structure. This way manual inspection and maintenance will be cut to half, reducing respective costs and dangers. Note: TRLs for this project have not been updated. | https://gtr.ukri.org/projects?ref=104218 | 2021 | 2022
Control Optimisation
Disruptive wind farm wide control | Innovation Area | NO | TRL 3 | TRL 5 | Academia | Owner Operators | Maximising operational performance of existing wind farms | Background: Wind turbine controllers are designed by the OEM to optimise their chosen balance of production, loading and design life. There is limited/no consideration made to how individual turbines operate within an array or whole farm, for example how the wake of one machine may influence another. It is likely that advantages in both energy production (operator concern) loading (OEM concern) as well as the provision of services to the grid (grid operator concern) could be enabled by adopting a control strategy which optimises the operation of the whole farm as a single entity. A holistic view of this nature may also help to describe potentially more efficient maintenance behaviours. Innovation: Provision of power system requirements should be integrated with the provision of O&M requirements by wind farm control. Thus, would then provide a systems level solution where the system is a large wind farm that can be extended to clusters and beyond to provide the flexible operation required to meet future scenarios. It will require cooperation between academia, through development of tools and optimisation of algorithms (these may need to be adaptive), and Industry through O&M data etc. |  | 2023 | 2028 | M | H | M | L | O&M Cost Drivers report anticipated that this Innovation Area could have a £754 /MW / Year impact on O&M cost of an average current fleet windfarm. Read more in HERE | The UK is at the leading edge of development of wind farm controllers and is developing the most advanced analysis and design tools.
Evolution of current wind farm wide control | Innovation Area | NO | TRL 6 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Background: Wind turbine controllers are designed by the OEM to optimise their chosen balance of production, loading and design life. There is limited/no consideration made to how individual turbines operate within an array or whole farm, for example how the wake of one machine may influence another. It is likely that advantages in both energy production (operator concern) loading (OEM concern) as well as the provision of services to the grid (grid operator concern) could be enabled by adopting a control strategy which optimises the operation of the whole farm as a single entity. A holistic view of this nature may also help to describe potentially more efficient maintenance behaviours. Innovation: A holistic view of this nature may also help to describe potentially more efficient maintenance behaviours. The inputs to these controllers would include site information (site lay-out, wind and atmospheric conditions, time of year),turbine health information (maintenance schedules, SCADA data, CM data, failure log data and repair schedules), power generation supply and demand. It will require cooperation between academia, through development of tools and optimisation of algorithms (these may need to be adaptive), and industry, through O&M data etc. |  | 2021 | 2024 | M | M | L | n/a | O&M Cost Drivers report anticipated that this Innovation Area could have a £754 /MW / Year impact on O&M cost of an average current fleet windfarm. Read more in HERE | The UK is at the leading edge of development of wind farm controllers and is developing the most advanced analysis and design tools.
Proactive turbine control | Innovation Area | NO | TRL 4 | TRL 6 | Academia | Original Equipment Manufacturers | Maximising operational performance of existing wind farms | Background: Currently wind turbines are controlled to achieve a strategy that depends on the wind speed. In addition to the wind farm wide control, an individual turbine could introduce the health of the turbine as an input. This would give the operator another lever to use in the long-term management of the wind farm. Innovation Many of the basic building blocks are at TRL3+ with others still at TRL1. These need to be combined into a single holistic system. |  | 2021 | 2023 | M | M | M | L | In long term potential might be High |  |  | Limited HSE impact
FarmConners - Paving the Way for Wind Farm Control in Industry | Ongoing R&D project | NO | TRL 1 | TRL 1 | Research Technical Organisations | Owner Operators | Maximising operational performance of existing wind farms | Increasing the overall performance of wind plants composed of many multi-megawatt turbines requires modelling capability to assess individual turbine performance as well as turbine-turbine interactions. Wind farm control technology brings a collaborative approach to wind power plant design and operation, mitigating losses due to turbine-turbine interactions. It promises an increase in power production and a decrease in structural loads, while providing better integration of wind power in the grid. The EU-funded FarmConners project will develop a unique platform to boost market acceptance of wind farm control. Bringing together research institutes, industry and certification agencies, FarmConners will boost understanding of wind plant performance and shed insight into the dynamics of wind at scales important for wind plants. Note: TRLs for this project have not been updated. | https://cordis.europa.eu/project/id/857844 | 2021 | 2022
Total Control: Advanced integrated supervisory and wind turbine control for optimal operation of large Wind Power Plants | Ongoing R&D project | NO | TRL 1 | TRL 1 | Research Technical Organisations | Owner Operators | Maximising operational performance of existing wind farms | In the Total Control project the COE reduction will be pursued by developing and validating advanced integrated WPP/WT control schemes, where all essential interactions between the WPP WT’s are accounted for including both production and load aspects. Optimal WPP control is traditionally formulated as a one-parameter optimization problem focusing on the WPP production only. However, ultimately the optimal WPP performance should result from a multi objective optimization problem, where the optimal economic performance of a WPP is pursued over the WPP life time, conditioned on external grid demands. The suggested integrated WPP/WT control approach seeks the optimal economical WPP revenue – i.e. the optimal economic balance between WPP power production and WPP operational costs. This is done by developing hierarchically coupled WPP and WT control schemes conditioned on a set of superior grid operator demands. In the WPP control design phase information is only fed from the WPP controller to the individual WT controllers, whereas in on-line operational control available WT and WPP flow field information will be assimilated into the WPP control for optimal system performance. Furthermore, the WPP controller will also make use of current market information (e.g. energy price, demand for ancillary services etc.) as well as information about the state of individual turbines (e.g. current operational state, maintenance requirements and component lifetime consumption) to allow COE objectives to be optimised dynamically. Note: TRLs for this project have not been updated. | https://cordis.europa.eu/project/id/727680 | 2021 | 2022
Goal-Oriented Control Systems (GOCS): Disturbance, Uncertainty and Constraints | Ongoing R&D project | NO | TRL 1 | TRL 1 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | GOCS will develop analysis and design tools for goal-oriented control systems, build up a unified framework for the next generation of control systems in performance specifications, constraint representation and problem formulating, investigate its performance and other properties in the presence of disturbance, uncertainties and constraints, and benchmark their applications. Temporal logic will be used to represent high level specifications and a wide range of complex constraints. By combining temporal logic with rich representation of dynamic systems in control engineering, it aims to develop a complete new analysis and design framework for GOCS that involves both rich dynamics and complex specifications in performance and constraints, and to provide analysis tools for the propagation of information errors, environmental disturbances and dynamic uncertainties into the high level performance specifications and fulfilment of constraints, and the interplay of these terms with a feedback strategy and controlled dynamics. Note: TRLs for this project have not been updated. | https://gtr.ukri.org/projects?ref=EP%2FT005734%2F1#/tabOverview | 2021 | 2022
Accurate modelling of wind turbine wake spreading through consideration of realistic turbulent entrainment: revolutionising wind farm optimisation | Ongoing R&D project | NO | TRL 1 | TRL 1 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Since wind turbines which lie in the wakes of upstream machines produce less power and experience higher fatigue loading than those upstream, there is scope to achieve this goal by improving our ability to predict the wakes generated by wind turbines and thereby design an optimally laid out wind farm given knowledge of the prevailing wind conditions. Our ability to optimise wind farms is currently hampered by an over-reliance on out-of-date empiricism. This proposal seeks to rectify this by developing physics-based modelling tools to better describe individual wind-turbine wakes as well as the interactions between interacting wakes within a wind farm. Offshore wind farms are particularly amenable to optimisation due to the stability of the prevailing wind conditions in comparison to onshore sites. Optimal spacing of wind turbines revolves around several factors. These are the desire to produce as much power as possible from a given site whilst at the same time minimising maintenance costs in response to fatigue damage caused by turbines sitting in the highly unsteady, turbulent wake of an upstream machine. This requires confident prediction of the spreading of wind turbine wakes plus a methodology to estimate the fatigue lifetime of wind turbine components in response to their predicted inflow conditions. In addition, there is the problem of predicting the global blockage in which the wind farm as a whole has the effect of diverting the wind over/around the wind farm meaning that the true inflow wind speed to the farm is not the same as the prevailing wind. | https://gtr.ukri.org/projects?ref=EP%2FV006436%2F1#/tabOverview | 2021 | 2025
Lifetime Management
Windfarm lifetime management tool | Innovation Area | NO | TRL 5 | TRL 8 | Catapult | Owner Operators | Maximising operational performance of existing wind farms | Background: Related to the point on whole wind farm control. Modelling tools that enable an operator to understand the asset lifetime implications of certain behaviours could enable a business case to be made for a project’s life extension. Innovation: The introduction of machine learning and AI could assist with the management of data generated by a turbine’s CMS and help to inform predictive maintenance strategies by giving advanced notice of failures and defects Having a reliable evidence base upon which to base predictions of actual and remaining life will be the key challenge here. Automated component prognosis could facilitate a reduction in the frequency of planned and inspection of these components. A reduction in the repairs of these components could be achieved as a result of intelligent, early component prognosis. |  | 2021 | 2024 | L | M | M | L | O&M Cost Drivers report anticipated that this Innovation Area could have a £458 /MW / Year impact on O&M cost of an average current fleet windfarm. Read more in HERE
Holistic wind farm CMS and SHM | Innovation Area | NO | TRL 6 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Background: A significant challenge for wind farm owners and operators is to accurately calculate the remaining useful life of the assets. The data required for such analyses is generated by condition monitoring systems (CMS) and structural health monitoring (SHM) systems. Towards the end of life, this data will be critical to make the business case for life extension. Innovation: There is a potential for reduction in O&M costs by implementing robust strategies to analyse remaining useful life and take a risk-based approach to. As Machine Learning algorithms become more widely used and well understood within the context of offshore wind, the opportunity to analyse the individual condition of each component and how it serves the overall health of the asset can be understood. |  | 2021 | 2025 | M | M | H | M | Potential to reduce LCOE is only Medium as developers are more willing to replace turbines and install bigger equivalent instead of extending life of existing ones. This procedure may stop once the nominal power of turbines will reach maximum. | UK has significant strength in the data and digital sector, and many universities are focussed on prognosis and health monitoring and CMS. There is strong opportunity for commercialisation of some solutions in the sector. | By accurately calculating and extending remaining useful life for turbines using data driven solutions means when the asset reaches the end of its life, it can be upgraded by the most effective state-of-the art replacement - improving efficiency and cost effectiveness. Furthermore, extending RUL reduces the environmental impact across the full lifecycle of the turbine, from extraction as raw earth materials to installation in the sea. | This could result in safer assets, although risk associated with retrofit of systems is significant
Monitoring
Satellite remote monitoring | Innovation Area | YES | TRL 5 | TRL 7 | Research Technical Organisations | Owner Operators | Maximising operational performance of existing wind farms | Background: It is considered likely that data with value to the optimisation of wind farm operations is being collected or could be available from satellite platforms. Innovation Examples include visual imaging, sea state monitoring, ground conditions and vessel movements and communications. |  | 2021 | 2024 | L | M | M | L |  |  |  | Could provide better wave height forecasting which minimised unsafe CTV transfer risks.
Condition monitoring systems of balance of plant | Innovation Area | NO | TRL 6 | TRL 9 | Catapult | Owner Operators | Maximising operational performance of existing wind farms | Background: Balance of plant covers any part of the wind farm that is not the wind turbine system. The main components are substructures and cables. These components require good condition monitoring systems (CMS) to ensure the healthy operation of the wind farm. In the longer term, the data form these CMS will be critical for making the case for life extension. Innovation: Advanced Data Analytics and technician experience is allowing more robust and reliable condition monitoring systems to be developed with the aim to implement a transition towards a predictive maintenance framework in offshore wind and will have a significant impact on O&M costs in offshore wind. |  | 2021 | 2025 | M | H | H | M | High if it allows faults to be detected before occurring in subsea conditions | Many UK companies active in the sector and are focussed on finding solution. Particularly if solutions for Dynamic Cable CMS can be developed prior to large-scale roll out of Floating Wind. | Even with the additional cost to retrofit a subsea CMS for balance of plant, the money saved over asset lifecycle is significant | This could result in safer assets, although risk associated with retrofit of systems is significant
Low cost metocean measurement infrastructure | Innovation Area | YES | TRL 6 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Background: Accurate forecasting of site met conditions and consequent plans and decisions about work at site are typically based on a small number of in site devices coupled with algorithms to extrapolate across the site. With a reduction in cost, many more sensors could be deployed leading to much better information about the conditions at site (e.g. wind speed, wind direction, wave height, wave period etc.). Innovation: Innovation in the sector would optimise the offshore logistics and improving power forecasting. It could be also used for improving access forecasting, life extension or improving conservative design assumptions. |  | 2021 | 2026 | M | H | M | M | The opportunity to carry out power forecasting and plan operations on a far more accurate basis will help develop digital twins which will impact on remaining useful life. | Significant benefit to UK electricity generation predictability and reliability. Additionally, many companies active in the sector looking to reduce costs of sensors that can capitalise on investment in the area | Low cost metocean measurements will impact on O&M costs which currently are up to 30% of total lifecycle costs. Therefore, the opportunity to reduce this is significant. Furthermore, reliability and predictability of power supply is attractive. | More predictable operating conditions for offshore technicians will reduce the HSE risk.
Digital twins for improved dynamic design | Ongoing R&D project | NO | TRL 5 | TRL 7 | Academia | Owner Operators | Maximising operational performance of existing wind farms | The aim of this project is to create a robustly-validated virtual prediction tool called a "digital twin". This is urgently needed to overcome limitations in current industrial practice that increasingly rely on large computer-based models to make critical design and operational decisions for systems such as wind farms, nuclear power stations and aircraft. The digital twin is much more than just a numerical model: It is a "virtualised" proxy version of the physical system built from a fusion of data with models of differing fidelity, using novel techniques in uncertainty analysis, model reduction, and experimental validation. In this project, we will deliver the transformative new science required to generate digital twin technology for key sectors of UK Industry: specifically power generation, automotive and aerospace. The results from the project will empower Industry with the ability to create digital twins as predictive tools for real-world problems that (i) radically improve design methodology leading to significant cost savings, and (ii) transform uncertainty management of key industrial assets, enabling a step change reduction in the associated operation and management costs. Ultimately, we envisage that the scientific advancements proposed here will revolutionise the engineering design-to-decommission cycle for a wide range of engineering applications of value to the UK. | https://gtr.ukri.org/projects?ref=EP%2FR006768%2F1 | 2021 | 2023
Adaptable design for low cost LIDAR | Ongoing R&D project | NO | TRL 8 | TRL 8 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | We expect this project to be linked to element "Low cost met ocean measurement infrastructure". This project seeks to reduce the costs of offshore wind by targeting the wind monitoring infrastructure used at multiple stages of wind energy projects. By developing a factory adaptable laser wind sensor design the costs of such remote sensor systems can be reduced - by using a modular approach to the subsystem design, maintenance and down time costs can be reduced. The outputs from this project will include field demonstrators of different wind profilers set up for different applications. These wind profilers are based on LIDAR - (LIght Detection And Ranging) and the project brings together wind LIDAR developers, optical product designers, ruggedised optical instrumentation engineers as well as the wind industry end user. The project will make use of wind energy test sites in the UK and also in Germany - where a parallel project - looking at wind LIDAR vertical profiling and validation methods is being set up. Note: TRLs for this project have not been updated. | https://gtr.ukri.org/projects?ref=103895 | 2021 | 2022
Floating Wind
O&M strategy for dynamic floating conditions | Innovation Area | NO | TRL 4 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Background: O&M strategy depends on multiple factors e.g. distance to shore, water depth, type of substructure, turbine size. Using a floating platform introduces additional motions that must be reflected in the component design stage. Innovation: Some components will experience higher loads and may require more frequent interventions if it won’t be addressed during design stage. It is vital to understand motion effect of dynamics on components and consequent requirements of adjustments in O&M strategies/component design. |  | 2021 | 2030 | M | M | M | M |  | Important industry, but not many jobs supported
Balance of plant condition monitoring for floating wind | Innovation Area | NO | TRL 4 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Background: Limited experience in inspections of floating substructure, moorings and anchors results in increased time of annual inspection. Typically, 120 person-hours of annual inspection visits are required for a floating support structure compared with 20 for a monopile and 60 for a jacket. Innovation: With increasing time in operation, experience is developed such that standards for inspections may be safely relaxed. On top of that, person-hours can be additionally reduced by having the remaining life of the support structure measured by installing permanent sensors at critical points, including for mooring and array cables. |  | 2021 | 2030 | M | M | M | H | Spot onset of failures and prevent them before them happen - reduced OPEX. | A large number of sensor and data analytics suppliers are UK based. Transfer of O&G technology. | RTO and academia acting as a middle man to identify and develop technologies (together with industry). | Ability to prevent major failures - improved HSE.
Floating substructures lifetime assessment - established methodology and technology | Innovation Area | YES | TRL 2 | TRL 9 | Other | Owner Operators | Maximising operational performance of existing wind farms | Background With ageing assets offshore, the evaluation of remaining life of the foundations, anchors and moorings is key. There are currently first steps in developing standard methods for the assessment of remaining life of monopile foundations in the offshore wind industry. Such a method / assessment would enable a standardised and agreed approach for asset owners to make informed analysis as to the potential remaining operating life of their turbine (hence revenue forecast) and also enable the potential for life extension justification. Innovation: A number of simple approaches are available which could give substantial value immediately if OEM (who perform the coupled design iterations) are involved form an early stage, some of these have been developed based on the lifetime extension of onshore WTGs. A methodology for floating wind is expected to happen after a ramp up in installation and after the standards for bottom-fixed will be established. |  | 2021 | 2040 | H | M | H | H | Spot onset of failures and prevent them before them happen - reduced OPEX. Improved understanding of the asset that could be used in end of life management for decision making. Closing the design loop to see if the technology is over- or under-engineered. | Academia, research organisation and classification societies are well placed to develop this, particularly if working together with existing floating wind design (Kincardine and Hywind). | The work should be driven by a 3rd independent party. | Ability to prevent major failures - improved HSE. Extend the life of assets - extract more from a finite resource.
Optimised O&M major component change strategies | Innovation Area | YES | TRL 3 | TRL 9 | Industry/SMEs | Owner Operators | Enabling disruptive innovation | Background: Major Repairs are defined as any corrective actions which, if occurring on a bottom-fixed offshore windfarm, would require the use of a jack-up or heavy lift vessel (HLV). It involves repairs at height, typically replacing blades or nacelle components. Innovation: One of the expected benefits of floating wind is the ability to disconnect turbines and tow back to shore to conduct major repairs. This will allow major repairs to be carried out onshore or at the quayside which would decrease the amount of work done offshore and avoid the need for expensive heavy-lift vessels. However, there are a number of uncertainties relating to this O&M strategy. The availability and cost of suitable onshore or quayside areas and crane capacity; the types of electrical cable connectors and mooring connectors required to allow efficient uncoupling and re-coupling of the turbine and the need for additional electrical cabling to maintain the flow of power through the array when one turbine is removed. |  | 2021 | 2030 | H | M | H | H | Understanding O&M strategies and being able to choose the cheapest can have significant OPEX implications. | Using UK ports to provide major repairs for UK projects. For on-site repairs, these will most likely be dominated by international companies. | A need for a 3rd independent party to review both options and highlight benefits and drawbacks of each. | Decision of whether to perform major repairs offshore or off site has major H&S implications.
Access & egress for floating offshore wind | Innovation Area | YES | TRL 7 | TRL 9 | Industry/SMEs | Owner Operators | Enabling disruptive innovation | Background: O&M access and egress for floating wind turbine have to be performed in a floating-to-floating configuration. In the case of crew transfer vessel this can lead to large relative motions between the vessel and the floating wind turbine, putting maintenance personnel at risk. Innovation: CTVs, service operations vessels but also helicopters will require modifications to their positioning system to account for the motion of floating wind turbines to minimise personnel’s risk. |  | 2021 | 2025 | M | L | L | M
Maintenance
Service
Statutory inspections
Decrease variations in between countries | Innovation Area | NO | TRL 7 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Background: Offshore wind is an international industry, with much of the workforce at least semi-transient across the Europe. Despite this training, certification, legislation, best practices and safety behaviours amongst other things are understood to vary significantly between countries and individual projects. Innovation: If these could be streamlined it would help to improve the efficiency and cost of O&M practice. |  | 2021 | 2023 | L | M | M | M |  |  |  | Significant potential to ensure that highest standards from various areas are universally adopted
Planning
Smart maintenance planning tools | Innovation Area | NO | TRL 7 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Background: Dispatching maintenance teams and scheduling of maintenance activities is at present not optimised and will commonly rely on human judgement. Innovation Making planned tasks more systematic and also helping a site management team to understand what the implications of individual actions will be could enable more productive or efficient maintenance activities. This could be a software tool which optimises the planning of activities based on the anticipated outcomes and available resources. |  | 2021 | 2022 | L | M | L | L |  |  | There is already competition in the market for organisations offering such systems. | Slightly reduced H&S impact by minimising human judgment
Servicing
Automated Servicing | Innovation Area | YES | TRL 4 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Background: Wind Farm scheduled maintenance (aka servicing) involved every single turbine receiving the same checks, top ups, tightenings etc every year. It can take a long time and involves the same tasks annually. Currently an annual service would typically take up to four days per turbine, requiring the turbine shutdown throughout. Innovation: There is a very big opportunity to automate many of these tasks to minimise H&S risks by avoiding people transiting and visiting turbines, furthermore, the technicians can then spend more time troubleshooting and optimising performance. Innovations that introduce efficiencies and enable the automation of repetitive tasks such as bolt torqueing, lubrication replenishment and other standard checks could reduce the duration of an annual service down to two days. |  | 2021 | 2031 | H | H | L | H | O&M Cost Drivers report anticipated that this Innovation Area could have a £3,850 /MW / Year impact on O&M cost of an average current fleet windfarm. Read more in HERE |  |  | Reduces requirement for personnel in offshore environment
Reactive Maintenance
Planned Corrective
Advanced coatings for substructures | Innovation Area | YES | TRL 4 | TRL 9 | Industry/SMEs | Owner Operators | Commercialising>15MW turbine platforms | Background: During the lifespan of a windfarm, substructures might suffer damages and corrosion. Innovation: The development of coatings for substructures in the marine environment that reduce and even eliminate the need for repair (through self-healing means or otherwise) could reduce maintenance costs (remediation of damage, primarily corrosion) and increase operational life. |  | 2021 | 2035 | L | M | M | H | By implementing advanced coatings and self-healing coatings for substructures there is an opportunity to reduce interventions in an offshore marine environment. Subsea interventions have significant cost, and for recoating substructures could require a human diver as well as ROV's/AUV's. O&M Cost Drivers report anticipated that this Innovation Area could have a £72 /MW / Year impact on O&M cost of an average current fleet windfarm. | Medium-low : Research is being carried out in the sector within the UK, however the TRL is still at early demonstration phase | The benefits of developing an advanced coating polymer with the ability to self-heal will have a huge impact on the market | Reduced need for subsea human intervention
Autonomous systems for subsea survey & environmental tasks | Innovation Area | YES | TRL 4 | TRL 9 | Research Technical Organisations | Owner Operators | Enabling disruptive innovation | Background: Robotics and autonomous systems (RAS) applied to offshore wind farm surveys and inspections are gaining traction in the Industry, there are commercial options available for remote seabed survey, but not in other areas such as full cable depth of burial. Using RAS for interventions, including maintenance and repair and environmental sampling, is still in the R&D phase. Innovation: There is significant potential for reduction in costs and H&S risks by mitigating the need to send humans offshore to conduct environmental sampling work. A range of subsea activities are required during the operational phase of an offshore wind farm. It is possible that advanced RAS could eventually be deployed to conduct some of these tasks, particularly relating to surveying cables routes for damage and scour as well as conducting environmental monitoring, for example during the consenting phase. Further into the future robotic systems deployed from unmanned surface vessels are a possibility. |  | 2021 | 2038 | H | H | M | H | O&M Cost Drivers report anticipated that this Innovation Area could have a £2,382 /MW / Year impact on O&M cost of an average current fleet windfarm. Read more in HERE
Autonomous systems for external blade repairs & interventions | Innovation Area | YES | TRL 3 | TRL 9 | Other | Owner Operators | Enabling disruptive innovation | Background: Robotics and autonomous systems (RAS) applied to offshore wind farm surveys and inspections are gaining traction in the Industry, however using RAS for interventions, including maintenance and repair, is still in the R&D phase. A wind turbine’s rotor system is the focus of regular repairs and maintenance tasks throughout a wind farm’s lifecycle. Currently, testing and minor blade repairs and blade LPS are conducted by rope access technicians. Innovation: There is significant potential for reduction in costs and H&S risks if RAS could replace humans to conduct some maintenance and repairs work (e.g. addressing light erosion or surface defects, conducting routine checks of the blade lightning protection system (LPS). Further into the future robotic systems deployed from unmanned surface vessels are a possibility. |  | 2021 | 2038 | H | H | M | H | O&M Cost Drivers report anticipated that this Innovation Area could have a £1,498 /MW / Year impact on O&M cost of an average current fleet windfarm. Read more in HERE
Autonomous systems for internal nacelle repairs & interventions | Innovation Area | YES | TRL 3 | TRL 9 | Industry/SMEs | Owner Operators | Enabling disruptive innovation | Background: Robotics and autonomous systems (RAS) applied to offshore wind farm surveys and inspections are gaining traction in the Industry, however using RAS for interventions, including maintenance and repair, is still in the R&D phase. Currently, all internal nacelle tasks are conducted entirely by technician teams as access is limited which is a potential barrier to automation. Innovation: The development of advanced RAS with the ability to gain access to and navigate the interior of a turbine nacelle would be required in order to automate some of the more routine service tasks (e.g. bolt torque checks, lubrication replenishments, NDT tests and minor cosmetic repairs). Further into the future robotic systems deployed from unmanned surface vessels are a possibility. |  | 2021 | 2038 | M | H | M | H | O&M Cost Drivers report anticipated that this Innovation Area could have a £916 /MW / Year impact on O&M cost of an average current fleet windfarm. Read more in HERE |  |  | Will lead to many health and safety benefits: less time on turbines, safer working conditions and more
Major Repairs
CMS and machine learning for component prognosis | Innovation Area | NO | TRL 5 | TRL 7 | Research Technical Organisations | Owner Operators | Maximising operational performance of existing wind farms | Background: Condition monitoring systems (CMS) are designed to collect data for a project owner to assess how their asset is performing. How the owner should actually use the data generated by a CMS system is emerging as a significant challenge across the offshore industry and for many different wind farm components. Innovation One of the most promising areas is the application of machine learning and artificial intelligence (e.g. Neural networks, SVMs, Logistic recession, GP etc). These algorithms allow the identification of sub-optimal performance and the advanced notice of failures and issues (predictive maintenance). |  | 2021 | 2023 | L | M | M | L |  |  |  | A critical step in predictive maintenance that reduces personnel at site.
Novel heavy lift systems | Innovation Area | YES | TRL 4 | TRL 6 | Research Technical Organisations | Owner Operators | Enabling disruptive innovation | Background: One pinch point in the end to end process of getting a turbine component from the factory to an operational site is the lack of access to the necessary heavy-lifting tools to manipulate the major components. Innovation: With more transparency and better lifting tools, a market could be developed around this process which would ultimately reduce the time taken and cost of installation and major component O&M. Innovative heavy lift techniques could include rigging solutions or climbing cranes and used for major component replacements, thereby negating the dependency on jack up vessels for these tasks. Multipurpose crew vessels could be used to transport some components (e.g. a 3.6MW turbine gearbox) to site, representing a cost saving on the vessel day rate. |  | 2021 | 2022 | M | L | L | L | O&M Cost Drivers report anticipated that this Innovation Area could have a £707 /MW / Year impact on O&M cost of an average current fleet windfarm. Read more in HERE
Blade habitat systems | Innovation Area | YES | TRL 7 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Background: Light repairs for turbine blades are likely to be conducted by rope access technicians, while heavier, more structural blade fabric repairs may require a suspended working platform. Innovation: Enclosing the working environment to protect technicians and materials from environmental conditions, including control of temperature and humidity would help to reduce risk, assure repair quality and increase the available working windows. Alongside a habitat to enclose the working environment also consider whether/if an access system is also involved/required. Some systems have been used in full scale commercial work (e.g. GEV habitat and Rotos 360 repair bubble), but technology is not yet at full scale maturity. |  | 2021 | 2025 | L | H | M | M | O&M Cost Drivers report anticipated that this Innovation Area could have a £192 /MW / Year impact on O&M cost of an average current fleet windfarm. Read more in HERE | With the UK currently having the largest amount of installed offshore wind capacity, any advancements in O&M techniques would have a large impact on the sector. | Many of these systems already exist in some form, but are either prototypes or too expensive to be cost-viable for windfarms yet. | Having technicians working from a more secure and sheltered platform should reduce any risk to health and safety in comparison to standard rope access maintenance. May improve containment of environmental contaminants during repair process.
Decommissioning
Cables extraction | Innovation Area | YES | TRL 3 | TRL 6 | Other | Owner Operators | Maximising operational performance of existing wind farms | Background: New equipment and methodologies need to be developed to enable decommissioning and resource recovery. Assets under sea bed (part of foundations and cables) present a further challenge as currently it is assumed that they will be left in the seabed, regardless their value. This will be driven by the Crown Estate (TCE), but it is currently unclear what will be the requirements. Innovation: This is an area for innovation as e.g. maybe during site repowering the route for cables will be the same. |  | 2021 | 2024 | L | M | M | H | Progress on this element is most urgently needed because current decommissioning and initial processing equipment ahead of reuse, remanufacturing and recovery is either absent or expensive. | There is potential in the UK to create space in deep-water ports for receipt and initial processing of decommissioned components with, for as far as it has been developed already, sites where further processing can take place in the hinterland. | This is an urgent issue that needs to be addressed in a coordinated manner, while currently there is a lack of joined up thinking on where to locate these activities considering economical viability (closely related to transport costs), embedding in existing industrial structures and skilled labour, and environmental impacts.
Foundations extraction and decommissioning equipment | Innovation Area | YES | TRL 3 | TRL 6 | Academia | Owner Operators | Maximising operational performance of existing wind farms | Background: New equipment needs to be developed to enable decommissioning and resource recovery. Dismantling and transporting installations can be costly and current techniques require expensive, short in supply, vessels to facilitate the work. New vessels need to be developed to facilitate transport of decommissioned components. Innovation: Research into operating without cranes would provide useful technical export expertise. Suitable locations for storage and deconstruction/remanufacturing of components is another pressing issue. This is exemplified by some areas of the Humber which lack quays and port facilities able to accept larger vessels and heavier turbine materials, yet it is at the heart of the largest installation developments. The latter requires mobile plants (cranes, vessels, temporary processing facilities ahead of land-transport) to transform components ready for transport to further reuse, remanufacturing and recovery infrastructure. |  | 2021 | 2024 | M | M | H | H | Progress on this element is most urgently needed because current decommissioning and initial processing equipment ahead of reuse, remanufacturing and recovery is either absent or expensive. | There is potential in the UK to create space in deep-water ports for receipt and initial processing of decommissioned components with, for as far as it has been developed already, sites where further processing can take place in the hinterland. | This is an urgent issue that needs to be addressed till 2023 and in a coordinated manner, while currently there is a lack of joined up thinking on where to locate these activities considering economical viability (closely related to transport costs), embedding in existing industrial structures and skilled labour, and environmental impacts.
Resource recovery, reuse and remanufacturing | Innovation Area | NO | TRL 3 | TRL 5 | Academia | Owner Operators | Maximising operational performance of existing wind farms | Background: There are a number of options for components when windfarms have been decommissioned. At end-of-use a component would ideally be reused or remanufactured, if this is not possible then materials should be recycled and, as last resort, the energy value could be recovered. This introduces circular economy technologies and business models into the low-carbon sector. However, infrastructures to process turbine components are underdeveloped. Innovation: Solutions for direct reuse need to be developed from concept stage upwards. Remanufacturing is in early development and challenging due to new and better designs entering the market. Material recycling solutions for composites in blades are technically available but not yet deployed at a large scale (the issue will be most probably solved onshore first). This results in capacity issues and higher transport costs; towers could be melted and recycled; solutions for nacelles have not been commercially deployed meaning (near) critical materials are lost for direct use domestically and add to dependence on raw material imports. |  | 2021 | 2023 | M | M | M | H | Reuse, remanufacturing and material recycling potentially generates additional value, thereby reducing overall decommissioning and resource recovery costs. This is important because these costs are likely to be strongly underestimated. | UK is well-placed to build on its existing infrastructure for e.g. vehicle recycling, steel recycling, ports; new infrastructure could be co-located with these and extend low-carbon infrastucture supply chains generating more jobs and added value. | Regulation must increase robustness of decommissioning plans and inclusion of more realistic cost estimates for decommissioning and resource recovery. This will drive demand to reduce costs and explore circular economy opportunities (and associated infrastructures) to generate more economic value, jobs, and resource security.
Site restoration | Innovation Area | YES | TRL 3 | TRL 6 | Academia | Owner Operators | Maximising operational performance of existing wind farms | Background: After 25-30 years of wind farm lifetime a site can be either fully decommissioned or partially/fully repowered. Partial repowering involves extending the operational life of some turbine and array components by reconditioning or replacing other less durable components of the turbine (e.g. retaining foundations, sub-sea cabling, towers and replacing nacelle and/or blades). With the growth in turbine size and consequent capacity, full repowering can involve a reduction in the total original number of turbines whilst still retaining the farm’s operational capacity, or an increase in the capacity of the array with a complete replacement of all turbines. Innovation: More work is needed on the limits to attaching a higher capacity nacelle to a tower and to a foundation designed for older, smaller capacity components. Similar work is needed in respect of the safety and long-term operational efficiency limitations of placing larger rotors onto older drives, particularly geared models. Given that most farms are placed in what were deemed at the time to be the windiest and most accessible areas, and the rapid advances in turbine technologies and LCOE, there is also work needed on the environmental and revenue benefits and costs of early partial or full repowering of current farms. |  | 2021 | 2025 | L | H | M | H | Assuming site restoration starts from the point where wind turbines and other components of the windfarm aside from the bases and cables have been removed, there is less potential to generate economic value from the remaining materials that can be recovered. | Given the regulatory frameworks in place and the high level of consultancy services, the UK is well place to realise the benefits. | The anticipated benefits are low and offer little incentive to fully restore sites. Academia must collaborate with consultancies to develop transparent, evidenced assessments of the most optimal site restoration scenario from a whole system perspective. This initiative must be backed by regulation.
Site repowering | Innovation Area | YES | TRL 4 | TRL 8 | Research Technical Organisations | Owner Operators | Maximising operational performance of existing wind farms | Background: If a windfarm at end-of-use will not be repowered, then the complete site needs to be decommissioned and the site restored to its “natural” state. Innovation Assessments need to be carried out to analyse impacts of decommissioning scenarios on the established ecosystems on the windfarm e.g. the extent to which substructures and cables in the seabed will be removed. Studies should be undertaken early on, especially with regard to ground conditions both technical (e.g. the amount of overburden to be removed) and ecological (e.g. assessing what the pre-installation ecology is, so that one has a baseline for a ‘return to natural state’). The benefits of site restoration, such as the economic and functional value of recovered materials, restored environment must be compared to the costs, such as damage to newly established flora and fauna on the windfarm. |  | 2021 | 2023 | M | M | M | M | There is the potential to uprate the complete array or sections of array to achieve same power generation capacity with less turbines. | UK is lagging behind in repowering compared to other countries in Europe where demand for repowering may emerge sooner. | There is still potential for UK companies to enter the repowering market. Expertise in offshore repowering is generally underdeveloped and there is an early mover opportunity.
Enabling Research
Digital
Artificial Intelligence | Innovation Area | NO | TRL 1 | TRL 6 | Academia | Owner Operators | Enabling disruptive innovation | Artificial Intelligence can have multiple applications in all stages of windfarm lifecycle. Taking O&M as an example – AI application involves a supervisory system that utilises conventional design and operation rules combined with Machine Learning/Deep learning from big data from the internet of things. AI could be a decision support system or a complete framework for collecting information and acting upon this without human intervention. Challenges are verification/validation of AI systems and quantitative assessment of confidence in AI performance. Other examples could include design optimisation, turbine control, Turbine Yaw Error and Control, Grid Balancing or Transmission Fault Diagnostics and Prognostics. |  | 2021 | 2036 | H | M | M | H
Cybersecurity | Innovation Area | NO | TRL 6 | TRL 9 | Industry/SMEs | Owner Operators | Maximising operational performance of existing wind farms | Background: Cybersecurity covers the processes, practices, and systems in place to protect computers, networks, programs and data from unauthorised access or attacks. These attacks can take many forms, such as denial of service, malware, ransomware or phishing attacks. The rapid implementation of connected devices, the Internet of Things (IoT), creates new opportunities for exploitation and increases the impact of attacks. This has opened the door for hacking and tampering of devices and processes which were never vulnerable to interference in the past. Innovation: A proactive approach to cybersecurity is required to be able to respond to the ever-increasing threat of digital attack. This will require an increased awareness of threats and current cybersecurity best-practice. Developing a security conscious workplace culture that is as robust and marketed as health and safety culture is key. Innovation in this area will require coordination between Industry and Academia. |  | 2021 | 2025 | L | H | L | M |  |  | May be forced to do this from a data breach or asset ‘hijacking’. Operators will have to be proactive to make sure they have the necessary protections in place. | Not in the conventional sense of ‘safety’, but cybersecurity will protect against theft of personnel IP and, more importantly, asset hijacking
Machine learning / deep learning from big data | Innovation Area | NO | TRL 3 | TRL 9 | Academia | Owner Operators | Enabling disruptive innovation | Machine learning and drawing benefit from disparate data sources promises both benefits to optimisation of control and operation strategies towards optimal O&M intervention in addition to better understanding of design and modelling assumptions which should lead to improved design of future structures and machines. Issues to be addressed include the integration of numerical models with sensor data to interpolate within individual machines and across arrays, sensor reliability and algorithm and parameter characterisation. A challenge will always be the confidence in which results can be relied upon and so verification and validation cases/methods will be critical. |  | 2021 | 2025 | M | H | H | M |  | Potentially an area where the UK can be a real leader |  | Optimised O&M operations
Internet of things | Innovation Area | NO | TRL 3 | TRL 9 | Industry/SMEs | Owner Operators | Enabling disruptive innovation | Internet of Things involves components and assets communicating between each other and is an evolution of condition and structural health monitoring technologies. This should include the transducers along with signal conditioning and low -level data processing/reduction. Major issues are the reliability of sensors and calibration of sensor systems. It will need coordination between RTOs, Academia and Industry/SMEs. |  | 2021 | 2030 | M | M | H | L | This will involve system integration of SCADA and SHM systems | Unlikely to involve protected IP, more likely to result in communications protocols and standards/best practice.
New Materials
Alternative materials | Innovation Area | YES | TRL 2 | TRL 5 | Academia | Original Equipment Manufacturers | Enabling disruptive innovation | Alternative fibres or materials that are better in terms of costs, tensile strength, light weighting, easiness to manufacture, environmental emissions or improved environmental performance. |  | 2021 | 2031 | M | H | M | L |  | Supply chain potential |  | Small changes may come from new materials or manufacturing techniques with lower exposure
Self healing materials | Innovation Area | YES | TRL 3 | TRL 5 | Academia | Original Equipment Manufacturers | Enabling disruptive innovation | Development of materials that can maintain their integrity and self-heal when deficiencies occur due to material degradation. Materials could be applicable to any asset that's exposed to weather or environmental conditions: blades, tower, substructures, cables. |  | 2021 | 2036 | H | H | M | L |  |  |  | May reduce number of minor repairs
High Volume Manufacture and Inspection Processes for Composite Pipes | Ongoing R&D project | NO | TRL 1 | TRL 1 | Academia | Owner Operators | Maximising operational performance of existing wind farms | Thermoplastic composites are gaining favour in place of traditional thermoset versions for their toughness, ease of recycling and ability to be manufactured in high volume without autoclaves. The High Volume Manufacture and Inspection Processes for Composite Pipes project aims to develop novel manufacturing and inspection processes for production of cost-effective thermoplastic composite tube, and to fully qualify the material. The consortium comprises Sigma Precision Components (lead), Pultrex, Laser Optical Engineering and University of Manchester. The project will develop a pultrusion process to make high-quality thermoplastic composite tube and a semi-automatic laser shearography inspection system to check for flaws. The carbon /thermoplastic material will also be one of the first to be fully characterised for aerospace use. The partners will need to ensure the processes are capable of achieving cost and productivity targets while maintaining product quality. Note: TRLs for this project have not been updated. | https://gtr.ukri.org/projects?ref=113221 | 2021 | 2022
Plasma based manufacture of CNT Fibre | Ongoing R&D project | NO | TRL 1 | TRL 1 | Industry/SMEs | Original Equipment Manufacturers | Commercialising>15MW turbine platforms | The project delivers an innovative manufacturing technique to the UK for the commercial manufacture of high performance carbon nanotube fibre. The project will demonstrate the commercial potential of the technique to produce material. Success will embed this technology in the UK, facilitating investment in future UK based capacity.This project represents industrial research which will enable the commercial production of high strength carbon nanotube fibre in the UK. These materials offer exceptional mechanical properties, as well as high electrical and thermal conductivity. This highly functional material has numerous uses in Automotive, Defence, Wind Energy, Aerospace, Battery, Filtration and Sports industries for applications such as electrical wiring, sensing, heat transfer and mechanical support. The IUK funding will allow the rapid development and commercialisation of the production process to meet these demands.This IUK project supports critical developments in carbon nanotube fibre manufacturing to allow increased mass production within a reactor and allows for better carbon nanotube handling. The result will be a robust and environmentally acceptable process which can be scaled to full production levels. The project is international in it's application and builds on innovation and research from grant funded work at the University of Cambridge; its successful completion will ensure that this globally important technology is anchored in the UK. Importantly, this work links carbon nanotube fibre manufacturing with the multinational industries seeking to use the materials in their innovative products. The close links between consumer and producer allow for rapid prototyping and manufacturing development for acceleration of industrial impact. Our consortium involving University of Cambridge and Q Flo Limited have strong connections with international and UK based end users. Although not part of the application, these end user companies will test materials and therefore will provide a research-to-production approach that will fast-track the manufacture of the best material by providing a feedback loop between production and testing. Manufacture of these materials will enable advancement of the critical UK strategic objective for high value, high performance production in the UK.Carbon fibre manufacturing processes generate approximately 25 te of CO2 per te of Carbon Fibre produced. The proposed CNT Fibre process, when combined with power generation from the hydrogen rich off-gas, can reduce CO2 by 80% from carbon fibre and a high value product. Note: TRLs for this project have not been updated. | https://gtr.ukri.org/projects?ref=105046 | 2021 | 2024
Design
Product environmental design | Innovation Area | YES | TRL 2 | TRL 4 | Academia | Original Equipment Manufacturers | Enabling disruptive innovation | Resource security is a growing issue for low-carbon infrastructures that depend on a combination of raw materials (rare earth metals, lithium, cobalt), copper and aluminium. All components and materials in a turbine should be designed for durability, recycling and disassembly. A balance must be found between cost, durability, extending the lifetime of components and the ability to recover materials at end-of-use. This requires material and component design that enables disassembly, recycling and, following that, the use of recycled materials in low-carbon infrastructures. Design for maintaining the value of components and materials for longer offers opportunity to reduce costs and opens new business opportunities. Material recycling solutions and tools that incorporate CO2 emissions into the design are technically available but too costly in practice and generally not yet deployed at a large scale. |  | 2021 | 2023 | L | H | H | H | Extending the lifetime of components can increase return on investment and material recycling should reduce decommissioning and resource recovery costs and/or open new business opportunities. | Academic excellence in material design and recycling technologies is high. | Under current market conditions of high material recycling costs and underdeveloped markets for secondary resources there is little incentive for Owner Operators to demand components and materials designed for recycling. Regulation and/or incentives are needed to spark demand from operators, and the R&D requires cooperation between OEMs and Academia. | High impact on environmental issues and it is yet to become a mainstream approach to design process.
Total system design | Innovation Area | YES | TRL 5 | TRL 9 | Industry/SMEs | Owner Operators | Commercialising>15MW turbine platforms | Background:Offshore wind turbines (fixed or floating) are coupled systems, however to date these have often been designed as two independent systems (a foundation and a wind turbine). This has resulted in suboptimal designs of foundations. While monopile foundations are project specific, floating foundations are more likely to be able to have a common standard foundation. Innovation:A more open relationship between foundation designers and wind turbine OEMs can improve foundation designs, ultimately lowering the LCOE of offshore wind. First collaborative initiatives (e.g. i4Offshore project, MHI Vestas and Ramboll tool) kickstarted to address this challenge. |  | 2021 | 2025 | H | H | M | H |  | Optimised structure in terms of steel, construction, installation, O&M and decommissioning. | Benefits have to be clear and quantified to enable data sharing | If a system is optimised not only for CAPEX, it can lead to significant improvements in HSE. For example, a system that has been designed to improve O&M could require fewer visit to the site by technicians. The same argument is valid for fabrication, installation and decommissioning.
Innovation in design concepts | Innovation Area | YES | TRL 1 | TRL 4 | Academia | Owner Operators | Enabling disruptive innovation | Large arrays of far-from-coast wind farms (and also tidal and wave harvesters) might lead to different optimal design concepts than those adopted so far. |  | 2021 | 2034 | H | H | H | M |  | Totally new design concept could be developed and UK could export knowhow, R&D and potentially manufacture of new-concept turbines. | Due to the low TRL, this must be driven by academia, but the participation of industry is critical to assure significance and relevance of the proposed concepts. | Results are unknown yet as it will depend on a design
Design for marine life and aquaculture | Innovation Area | YES | TRL 2 | TRL 5 | Academia | Owner Operators | Enabling disruptive innovation | Currently, the design process of a turbine, an array and associated infrastructure does not take into account the potential to enhance marine life (biodiversity), contribute to fisheries sustainability or aquaculture production. This process may have conservation value and may provide nursery areas for commercially relevant fish and shellfish, but there is a need to undertake research to assess the potential value of this process. In the longer term, this could contribute to the sustainability of local fishing opportunities. The use of offshore renewable sites for aquaculture has been explored in principle and through some limited trials, but there are likely to be significant logistical, biological and economic challenges to successful, commercial deployment. There is opposition to renewables developments that are perceived or in reality compromise fishing activity. Developing clear and demonstrable pathways to achieving these objectives could potentially help to streamline consenting and licencing processes and perhaps more importantly secure social license. There are potentially significant cost savings in this process. |  | 2021 | 2030 | L | M | M | H | This element wouldn’t drive LCOE down but could enable additional revenue generation. Successful design could boost fishing industry confidence to go back to fishing grounds. | Links to sustaining a strong commercial fishing industry
Data
Utilising data | Innovation Area | NO | TRL 3 | TRL 6 | Research Technical Organisations | Original Equipment Manufacturers | Maximising operational performance of existing wind farms | Background: Data utilisation is an overarching term used to describe a wide range of concepts and techniques aimed at exploiting available information. In this context data utilisation is performed with the aim of data-driven decision making. Innovation: In the offshore renewables industry, data utilisation techniques can include: post-event analysis, use of current operational data and forecasting of future trends. The level of data utilisation is varied across industry, providing the opportunity for innovation and collaboration between offshore wind stakeholders. |  | 2021 | 2031 | M | H | H | L | This depends on the engagement by OOs and the impact their use of data has. | UK has high expertise in this field and can actively engage in data and digital activities. | Although some OOs do actively engage in data utilisation activities, some will need external bodies to help kickstart a culture change within their organisation. | Optimised O&M operations
Classifying data, meta-data | Innovation Area | NO | TRL 4 | TRL 7 | Research Technical Organisations | Owner Operators | Maximising operational performance of existing wind farms | Background: Classifying data involves labelling and grouping datasets to provide context. In the renewables industry the wide range of Original Equipment Manufacturers (OEM) and technology platforms available has prevented the use of common taxonomies in asset data. Although the data available from these assets (such as SCADA and alarm logs) are similar, direct comparison across the industry is not possible due to a lack of consistent data formats and the unavailability of meta-data. Innovation: In offshore renewables, classifying data could involve the creation of common taxonomies between turbine types or mapping alarms to specific turbine components. This metadata would allow for direct comparison of different technologies, could be used to optimise O&M processes and would provide a means of industry-wide benchmarking. This level of understanding would enable Owner Operators to have a better understanding of the performance of their assets and could be used to optimise operations and maintenance (O&M) processes. |  | 2021 | 2025 | L | H | H | L | Wouldn’t significantly reduce LCoE but in long term it would allow industry to optimise their operations. | The main driver for this is collaboration between industry. This could be done in any country but is UK well positioned to do that with an independent moderator such as the Catapult. | An independent body will need to organise industry to be able to collaborate in this way.